## Cover
NISOC |  |  | افزایش تولید میدان نفتی بینک سطح الارض احداث ردیف تراکم گاز در ایستگاه جمع آوري بینک
CABLE SCHEDULE FOR PABX
شماره پیمان: |  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 1 از 3
9184 – 073 - 053 |  |  | BK |  | GCS | PEDCO | 120 |  | TE | LI | 0003 | D00
طرح نگهداشت و افزایش تولید 27 مخزن
CABLE SCHEDULE FOR PABX نگهداشت و افزایش تولید میدان نفتی بینک
D00 |  | June .2022 |  | IFC |  |  |  | H.Shakiba |  |  | M.Fakharian |  | M.Mehrshad
Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
Class: 2 |  |  |  | CLIENT Doc. Number: |  |  | F0Z-709093
status: | IDC: Inter-Discipline Check
IFC: Issued For Comment
IFA: Issued For Approval
AFD: Approved For Design
AFC: Approved For Construction
AFP: Approved For Purchase
AFQ: Approved For Quotation
IFI: Issued For Information
AB-R: As-Built for CLIENT Review
AB-A: As-Built –Approved

## REVISION
NISOC |  |  | افزایش تولید میدان نفتی بینک سطح الارض احداث ردیف تراکم گاز در ایستگاه جمع آوري بینک
CABLE SCHEDULE FOR PABX
شماره پیمان: |  |  | پروژه | بسته کاری |  | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 2 از 3
9184 – 073 - 053 |  |  | BK | GCS |  | PEDCO | 120 | TE | LI | 0003 |  | D00
REVISION RECORD SHEET
Page | D00 | D01 | D02 |  | D03 |  | D04 |  | Page |  | D00 |  | D01 |  | D02 | D03 | D04
1 | X | [7 empty] | 51
2 | X | [7 empty] | 52
3 | X | [7 empty] | 53
4 | [8 empty] | 54
5 | [8 empty] | 55
6 | [8 empty] | 56
7 | [8 empty] | 57
8 | [8 empty] | 58
9 | [8 empty] | 59
10 | [8 empty] | 60
11 | [8 empty] | 61
12 | [8 empty] | 62
13 | [8 empty] | 63
14 | [8 empty] | 64
15 | [8 empty] | 65
16 | [8 empty] | 66
17 | [8 empty] | 67
18 | [8 empty] | 68
19 | [8 empty] | 69
20 | [8 empty] | 70
21 | [8 empty] | 71
22 | [8 empty] | 72
23 | [8 empty] | 73
24 | [8 empty] | 74
25 | [8 empty] | 75
26 | [8 empty] | 76
27 | [8 empty] | 77
28 | [8 empty] | 78
29 | [8 empty] | 79
30 | [8 empty] | 80
31 | [8 empty] | 81
32 | [8 empty] | 82
33 | [8 empty] | 83
34 | [8 empty] | 84
35 | [8 empty] | 85
36 | [8 empty] | 86
37 | [8 empty] | 87
38 | [8 empty] | 88
39 | [8 empty] | 89
40 | [8 empty] | 90
41 | [8 empty] | 91
42 | [8 empty] | 92
43 | [8 empty] | 93
44 | [8 empty] | 94
45 | [8 empty] | 95
46 | [8 empty] | 96
47 | [8 empty] | 97
48 | [8 empty] | 98
49 | [8 empty] | 99
50 | [8 empty] | 100

## TECHNICAL
افزایش تولید میدان نفتی بینک سطح الارض احداث ردیف تراکم گاز در ایستگاه جمع آوري بینک
CABLE SCHEDULE FOR PABX
NISOC
|  |  | پروژه | بسته کاری | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال | نسخه
شماره پیمان: 9184 – 073 - 053
|  |  | BK | GCS | PEDCO | 120 | TE | LI | 3 | D00
|  |  | FROM |  |  | TO |  |  |  |  | SIGNAL | CABLE DETAIL
Item | Rev. | Cable Tag No. | EQUIPMENT TAG No. | LOCATION | EQUIPMENT DESCRIPTION | EQUIPMENT DESCRIPTION |  |  | LOCATION | CABLE CONNECTOR/ GLAND SIZE |  | SIZE | DESCRIPTION | ESTIMATED LENGTH (m) | DRUM
Telephone Multipair Cable Between New Control Building and Exist Telephone MDF at exist TELECOM ROON
1 | D00 | MDF-01-T-01 | MDF-01 | GCS Control Building(new) | NEW TELEPHONE MDF | MDF-02 |  |  | EXISTTELECOM MDF AT Exist CCB | M20 | Analouge Telephone | 50X2X0.6 mm | CU/PVC/(SC)/SWA/ (OUTDOOR) | 60
Telephon Cable Between New Control Building and Field Area
2 | D00 | GCS-TJB-TC-01 | MDF-01 | GCS Control Building(new) | TELEPHONE SET | CGS-TJB-01 |  |  | GCS Field Area | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 500
3 | D00 | GCS-TJB-TC-02 | MDF-01 | GCS Control Building(new) | TELEPHONE SET | CGS-TJB-02 |  |  | GCS Field Area | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 250
4 | D00 | GCS-TJB-TC-03 | MDF-01 | GCS Control Building(new) | TELEPHONE SET | CGS-TJB-03 |  |  | GCS Field Area | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 600
5 | D00 | GCS-TJB-TC-04 | MDF-01 | GCS Control Building(new) | TELEPHONE SET | CGS-TJB-04 |  |  | GCS Field Area | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 650
POWER Cable Between UPS Distribution Panel AND Field Area(For Flasher of Analouge Telephone)
6 | D00 | GCS-PJB-PC-01 | UPS | GCS Control Building(new) | UPS Panel | CGS-PJB-01 |  |  | Telephone PowerJB | M20 | Power Cable | 3 Core 2.5 mm2 | CU/PVC/SWA/PVC | 500
7 | D00 | GCS-PJB-PC-02 | UPS | GCS Control Building(new) | UPS Panel | CGS-PJB-02 |  |  | Telephone PowerJB | M20 | Power Cable | 3 Core 2.5 mm2 | CU/PVC/SWA/PVC | 250
8 | D00 | GCS-PJB-PC-03 | UPS | GCS Control Building(new) | UPS Panel | CGS-PJB-03 |  |  | Telephone PowerJB | M20 | Power Cable | 3 Core 2.5 mm2 | CU/PVC/SWA/PVC | 600
9 | D00 | GCS-PJB-PC-04 | UPS | GCS Control Building(new) | UPS Panel | CGS-PJB-04 |  |  | Telephone PowerJB | M20 | Power Cable | 3 Core 2.5 mm2 | CU/PVC/SWA/PVC | 650
Telephon Cable Between New Control Building and Hotline Telephone
10 | D00 | GCS-HJB-TC-01 | MDF-01 | GCS Control Building(new) | TELEPHONE MDF | GCS-HJB-01 |  |  | Hotline Telephone JB | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 500
11 | D00 | GCS-HJB-TC-02 | MDF-01 | GCS Control Building(new) | TELEPHONE MDF | GCS-HJB-02 |  |  | Hotline Telephone JB | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 700
12 | D00 | GCS-HJB-TC-03 | MDF-01 | GCS Control Building(new) | TELEPHONE MDF | GCS-HJB-03 |  |  | Hotline Telephone JB | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 600
Telephon Cable Between New Control Building and Electrical Building
13 | D00 | GCS-TJB-TC-01 | MDF-01 | GCS Control Building(new) | TELEPHONE MDF | CGS-TJB-01 |  |  | GCS Field Area | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 60
14 | D00 | GCS-PJB-PC-01 | UPS | GCS Control Building(new) | UPS Panel | CGS-PJB-01 |  |  | Telephone PowerJB | M20 | Power Cable | 3 Core 2.5 mm2 | CU/PVC/SWA/PVC | 60
15 | D00 | GCS-TJB-TC-05 | MDF-01 | GCS Control Building(new) | TELEPHONE MDF | TSO-01 |  |  | Telephone Socket | M20 | Analouge Telephone | 2X2X0.6 mm | CU/PVC/(SC)/SWA/PVC (OUTDOOR) | 100