## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No:BK-SSGRL-PEDCO-110-IN-DT-0001 |  |  |  |  | NISOC Contractor Tr. No.: BK-HD-PEDCO-T-0374 |  |  | Transmittal Date: 21 Dec 2021
Document Title:Data Sheets For WHCP/HPU - Wellheads |  |  |  |  | NISOC Tr. No.: BK-PEDCO-NISOC-0008-IN-TR-0374 |  |  | Transmital Date: 21 Dec 2021
[5 empty] | CRS No:PEDCO-CRS-BK-SSGRL-PEDCO-110-IN-DT-0001_D02 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | موارد 1و2و3و4و5و6 مطلب خاصی مطرح نمی باشد. |  | 1400-2294-352435 | 1400/10/16 | -
2 | مورد 7 هنوز پابرجا است. مدرک Instrumentation & control system design criteria پس از نهایی شدن جز مدارک مرجع آورده شود. |  | 1400-2294-352435 | 1400/10/16 | مدرک با توجه به تغییرات مدارک پیش نیاز اصلاح و به روز رسانی گردید.
3 | مطابق قرارداد، زبان تولید مدارک فنی ، انگلیسی می باشد. |  | 1400-2294-352435 | 1400/10/16 | مدرک کامل انگلیسی می باشد و تنها سر برگ آن فارسی است. فرمت مدرک مطابق توافقات، نهایی گردیده و امکان تغییر آن نمی باشد.
4 | نهایی سازی مدرک این ترنسمیتال بدون نهایی سازی مدارک مرجع و انجام تصحیحات لازم امکان پذیر نمی باشد. |  | 1400-2294-352435 | 1400/10/16 | مدرک مطابق آخرین نسخه از مدارک مرجع بروز رسانی گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: | Signature
| Date: |  |  |  |  | Date: