## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No:BK-GCS-PEDCO-120-IN-PY-0007-D00 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-0792 |  |  | Transmital Date: 4/9/2022
Document Title: Telecom Equipment Layout For Area |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0102-TE-TR-0792 |  |  | Transmital Date: 4/9/2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-IN-PY-0007-D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با توجه به قرار گیری تجهیزات در داخل حوضچه و زیر سایبان به نظر می رسد دید کافی و صد درصدی بر روی تجهیزات وجود ندارد |  | 1401-2294-88587 | 1401-03-16 | دوربین های فرایندی به زیر شلتر منتقل و با نوت نیز تاکید گردید .(در سایت نیز دوربینها جهت دید کافی تجهیزات فرایندی تنظم میگردند.
3 | عدم بررسی توسط حراست محترم |  | 1401-2294-88587 | 1401-03-16 | نام مدرک به Process CCTV Layout در واحد تقویت فشار گاز بینگ تغییر یافت
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: AP.Golrang | Signature |  |  |  | Clarified By: | Signature
| Date: May-10th-2022 |  |  |  |  | Date: