## Cover
NISOC |  |  | افزایش تولید میدان نفتی بینک سطح الارض احداث ردیف تراکم گاز در ایستگاه جمع آوري بینک
CABLE SCHEDULE FOR PROCESS CCTV
شماره پیمان: |  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 1 از 3
9184 – 073 - 053 |  |  | BK |  | GCS | PEDCO | 120 |  | IN | LI | 0010 | D00
طرح نگهداشت و افزایش تولید 27 مخزن
CABLE SCHEDULE FOR PROCESS CCTV نگهداشت و افزایش تولید میدان نفتی بینک
D00 |  | Jun .2022 |  | IFC |  |  |  | H.Shakiba |  |  | M.Fakharian |  | M.Mehrshad
Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
Class: 2 |  |  |  | CLIENT Doc. Number: |  |  | F0Z-708976
status: | IDC: Inter-Discipline Check
IFC: Issued For Comment
IFA: Issued For Approval
AFD: Approved For Design
AFC: Approved For Construction
AFP: Approved For Purchase
AFQ: Approved For Quotation
IFI: Issued For Information
AB-R: As-Built for CLIENT Review
AB-A: As-Built –Approved

## REVISION
NISOC |  |  | افزایش تولید میدان نفتی بینک سطح الارض احداث ردیف تراکم گاز در ایستگاه جمع آوري بینک
CABLE SCHEDULE FOR PROCESS CCTV
شماره پیمان: |  |  | پروژه | بسته کاری |  | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 2 از 3
9184 – 073 - 053 |  |  | BK | GCS |  | PEDCO | 120 | IN | LI | 0010 |  | D00
REVISION RECORD SHEET
Page | D00 | D01 | D02 |  | D03 |  | D04 |  | Page |  | D00 |  | D01 |  | D02 | D03 | D04
1 | X | [7 empty] | 51
2 | X | [7 empty] | 52
3 | X | [7 empty] | 53
4 | [8 empty] | 54
5 | [8 empty] | 55
6 | [8 empty] | 56
7 | [8 empty] | 57
8 | [8 empty] | 58
9 | [8 empty] | 59
10 | [8 empty] | 60
11 | [8 empty] | 61
12 | [8 empty] | 62
13 | [8 empty] | 63
14 | [8 empty] | 64
15 | [8 empty] | 65
16 | [8 empty] | 66
17 | [8 empty] | 67
18 | [8 empty] | 68
19 | [8 empty] | 69
20 | [8 empty] | 70
21 | [8 empty] | 71
22 | [8 empty] | 72
23 | [8 empty] | 73
24 | [8 empty] | 74
25 | [8 empty] | 75
26 | [8 empty] | 76
27 | [8 empty] | 77
28 | [8 empty] | 78
29 | [8 empty] | 79
30 | [8 empty] | 80
31 | [8 empty] | 81
32 | [8 empty] | 82
33 | [8 empty] | 83
34 | [8 empty] | 84
35 | [8 empty] | 85
36 | [8 empty] | 86
37 | [8 empty] | 87
38 | [8 empty] | 88
39 | [8 empty] | 89
40 | [8 empty] | 90
41 | [8 empty] | 91
42 | [8 empty] | 92
43 | [8 empty] | 93
44 | [8 empty] | 94
45 | [8 empty] | 95
46 | [8 empty] | 96
47 | [8 empty] | 97
48 | [8 empty] | 98
49 | [8 empty] | 99
50 | [8 empty] | 100

## TECHNICAL
|  |  | FROM |  |  | TO |  |  | SIGNAL | CABLE DETAIL
Item | Rev. | Cable Tag No. | EQUIPMENT TAG No. | LOCATION | EQUIPMENT DESCRIPTION | EQUIPMENT DESCRIPTION | LOCATION | CABLE CONNECTOR/ GLAND SIZE |  | SIZE | DESCRIPTION | ESTIMATED LENGTH (m) | DRUM
Power Cable Between NEW CONTROL BUILDING AND FIELD AEA
1 | D00 | GCS-CJB-02-P-1 | UPS | GCS Control Building(new) | ELEC PDP | GCS-CJB-02 CCTV JINCTION BOX | Field Area | M25 | CCTV | 3 Core 4 mm2 | CU/PVC/XLPE/SWA | 250
2 | D00 | GCS-CJB-03-P-2 | UPS | GCS Control Building(new) | ELEC PDP | GCS-CJB-03 CCTV JINCTION BOX | Field Area | M25 | CCTV | 3 Core 4 mm2 | CU/PVC/XLPE/SWA | 550
3 | D00 | GCS-CJB-05-P-3 | UPS | GCS Control Building(new) | ELEC PDP | GCS-CJB-05 CCTV JINCTION BOX | Field Area | M25 | CCTV | 3 Core 4 mm2 | CU/PVC/XLPE/SWA | 500
Power Cable Between Junction Box To CAMERA
4 | D00 | GCS-PPTZ-02-P-1 | GCS-CJB-02 | Field Area | JUNCTION BOX | GCS-PPTZ-02 | Field Area | M20 | CCTV | 3 Core 2.5 mm2 | CU/PVC/XLPE | 6
5 | D00 | GCS-PPTZ-03-P-2 | GCS-CJB-03 | Field Area | JUNCTION BOX | GCS-PPTZ-03 | Field Area | M20 | CCTV | 3 Core 2.5 mm2 | CU/PVC/XLPE | 6
6 | D00 | GCS-PPTZ-01-P-3 | GCS-CJB-05 | Field Area | JUNCTION BOX | GCS-PPTZ-01 | Field Area | M20 | CCTV | 3 Core 2.5 mm2 | CU/PVC/XLPE | 6
FIBER OPTIC CABLE Between CCTV Panel AND PROCESS Field Area
7 | D00 | GCS-CJB-02-F-01 | CCTV-FO-01 | GCS Control Building(new) | FO PATCH PANEL | GCS-CJB-02 CCTV JINCTION BOX | Field Area | SC/LC | CCTV | 6 CORE FO | SM/SWA | 250
8 | D00 | GCS-CJB-03-F-02 | CCTV-FO-02 | GCS Control Building(new) | FO PATCH PANEL | GCS-CJB-03 CCTV JINCTION BOX | Field Area | SC/LC | CCTV | 6 CORE FO | SM/SWA | 550
9 | D00 | GCS-CJB-05-F-03 | CCTV-FO-03 | GCS Control Building(new) | FO PATCH PANEL | GCS-CJB-05 CCTV JINCTION BOX | Field Area | SC/LC | CCTV | 6 CORE FO | SM/SWA | 500
NETWORK Cable Between Junction Box To CAMERA
10 | D00 | GCS-PPTZ-02-P-1 | GCS-CJB-02 | Field Area | JUNCTION BOX | GCS-PPTZ-02 | Field Area | RJ45 | CCTV | CAT6 | SFTP | 6
11 | D00 | GCS-PPTZ-03-P-2 | GCS-CJB-03 | Field Area | JUNCTION BOX | GCS-PPTZ-03 | Field Area | RJ45 | CCTV | CAT6 | SFTP | 6
12 | D00 | GCS-PPTZ-01-P-3 | GCS-CJB-05 | Field Area | JUNCTION BOX | GCS-PPTZ-01 | Field Area | RJ45 | CCTV | CAT6 | SFTP | 6
تسهیلات
CABLE SCHEDULE FOR PROCESS CCTV
شماره صفحه: 3 از 3
NISOC
شماره پیمان:
9184 – 073 - 053
نگهداشت و افزایش تولید میدان نفتی بینک
سطح‌الارض
احداث رديف تراكم گاز در ايستگاه جمع آوري بينك
صادرکننده
رشته
نوع مدرک
سریال
نسخه
PEDCO
120
IN
LI
0010
D00
بسته کاری
GCS
پروژه
BK