## Sheet1
NISOC Office Building Power Demand | [6 empty] | NISOC Residental Building Power Demand
Lighting | Description | Tag Number | Power (W) | Number | Diversity Factor | Demand (W) | Lighting | Description | Tag Number | Power (W) | Number | Diversity Factor | Demand (W)
| Fluorescent | SMD | 60 | 58 | 1 | 3480 |  | Fluorescent | SMD |  |  |  | 3500
| Incandescen Lamp | IL | 18 | 20 | 1 | 360 |  | Incandescen Lamp | IL |  |  |  | 400
| COB LED |  | 18 | 5 | 1 | 90 |  | COB LED |  |  |  |  | 100
| COB Lamp |  | 26 | 2 | 1 | 52 |  | COB Lamp |  |  |  |  | 50
| Exit Light | EX | 8 | 3 | 1 | 24 |  | Exit Light | EX |  |  |  | 30
| Exhaust Fan | FAN | 40 | 5 | 1 | 200 |  | Exhaust Fan | FAN |  |  |  | 200
Socket | Socket | SC | 500 | 35 | 0.2 | 3500 | Socket | Socket | SC |  |  |  | 4000
| Socket (for Split) | SC-SP |  |  |  | 111000 |  | Socket (for Split) | SC-SP |  |  |  | 107000
Total Load for NISOC Office Building | [5 empty] | 118706 | Total Load for NISOC Residental Building | [5 empty] | 115280
Petro Office Building Power Demand | [6 empty] | Petro Residental Building Power Demand
Lighting | Description | Tag Number | Power (W) | Number | Diversity Factor | Demand (W) | Lighting | Description | Tag Number | Power (W) | Number | Diversity Factor | Demand (W)
| Fluorescent | SMD |  |  |  | 3500 |  | Fluorescent | SMD |  |  |  | 3500
| Incandescen Lamp | IL |  |  |  | 400 |  | Incandescen Lamp | IL |  |  |  | 400
| COB LED |  |  |  |  | 100 |  | COB LED |  |  |  |  | 100
| COB Lamp |  |  |  |  | 50 |  | COB Lamp |  |  |  |  | 50
| Exit Light | EX |  |  |  | 30 |  | Exit Light | EX |  |  |  | 30
| Exhaust Fan | FAN |  |  |  | 200 |  | Exhaust Fan | FAN |  |  |  | 200
Socket | Socket | SC |  |  |  | 4000 | Socket | Socket | SC |  |  |  | 4000
| Socket (for Split) | SC-SP |  |  |  | 72000 |  | Socket (for Split) | SC-SP |  |  |  | 69000
Total Load for Petro Office Building | [5 empty] | 80280 | Total Load for Petro Residental Building | [5 empty] | 77280
Canteen Building Power Demand | [6 empty] | Driver Building Power Demand
Lighting | Description | Tag Number | Power (W) | Number | Diversity Factor | Demand (W) | Lighting | Description | Tag Number | Power (W) | Number | Diversity Factor | Demand (W)
| Fluorescent | SMD |  |  |  | 3500 |  | Fluorescent | SMD |  |  |  | 3500
| Incandescen Lamp | IL |  |  |  | 400 |  | Incandescen Lamp | IL |  |  |  | 400
| COB LED |  |  |  |  | 100 |  | COB LED |  |  |  |  | 100
| COB Lamp |  |  |  |  | 50 |  | COB Lamp |  |  |  |  | 50
| Exit Light | EX |  |  |  | 30 |  | Exit Light | EX |  |  |  | 30
| Exhaust Fan | FAN |  |  |  | 200 |  | Exhaust Fan | FAN |  |  |  | 200
Socket | Socket | SC |  |  |  | 4000 | Socket | Socket | SC |  |  |  | 4000
| Socket (for Split) | SC-SP |  |  |  | 63000 |  | Socket (for Split) | SC-SP |  |  |  | 15000
Total Load for Canteen Building | [5 empty] | 71280 | Total Load for Driver Building | [5 empty] | 23280
Outdoor Power Demand for Area
Outdoor Power Demand for Area | [5 empty] | 4250