| A | General Comments |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | MR & all documents attached to the MR shall be confirmed/prepared including: 1- Data Sheets 2- Single Line Diagram 3- Design Criteria 4- Specifications 5- Environmental Design Data And so …. 6- Deviation List in Project format with clear title for each equipment 7- Scope of Work 8- Scope of Supply 9- Quality Control Certificates 10- Devices catalog 11- Inspection and Test Plans (ITP) 12- Complete Deviation List 13- Spare Part List 14- SPIR form Final proposal shall be signed and sealed by vendor before PO. | 1- Data sheets were attached. 2- Single Line Diagram will be delivered in Detail Design. 3- Design Criteria document as BK-GNRAL-PEDCO-000-PR-DC-0001-D01 was confirmed. 4- Specification’s document was confirmed. 5- Environmental Design Data document was viewed and confirmed. 6- Deviation list was attached. 7- scope of work document was viewed and confirmed. 8- scope of supply document was viewed and confirmed. 9- Quality control certificates and other related same ones will be delivered by products as Final Book Document. 10- Data Sheet and Catalogs were attached. 11- ITP plan will be delivered as Detail Design Complementary Documents. 12- Deviation List was complete and attached. 13 , 14- After Technical offer confirmation and MTO Finalization, in Detail Design stage, spare part list and other related same forms such as special tools list, will be delivered. |  |  |
| 2 | Any term or statement in vendor proposal which is in contradiction to project requirements will be neglected in accordance with our commentary, unless they are integrated into a single chapter enlisting "Deviations from project requirement". | In Deviation List included. |  |  |
| 3 | It is assumed that the vendor is fully in compliance with terms, conditions and technical requirements specified in the material requisition unless otherwise specified in deviation list and agreed by contractor. | All terms and conditions had been considered. |  |  |
| 4 | Vendor is responsible for adequacy of materials in his proposal to meet requirement of the project and specifications although proposed material/items will be evaluated at the detail stage. Deviation from project specifications won't be accepted unless those that would be announced by Vender at bid stage and compromised/settled with client. Extra materials compared to the proposed material at bid stage shall be prepared by supplier without cost impact. | Needed Materials and adequacies will be clarified in Detail Design. Please note that Engineering, Metering and General Design of inquired systems was not done by Vendor technical persons. So it is not fair to make any responsibility in this regards in Vendor side. |  |  |
| 5 | Any equipment or material shall be supplied from Company's (NISOC& MOP ) approved vendor list, and shall comply with engineering specification documents. Furthermore, the related equipment & material are to be Approved by client/company and shall be supported by approved certificates. Also complete Sub Vendor List shall be attached to technical proposal. | All these conditions included. |  |  |
| 6 | Vendor’s Painting Procedure shall be submitted.(for CCTV Pole if applicable ) | CCTV Pole plating (HDG) procedures and reports will be delivered before production finalization and after products delivery. |  |  |
| 7 | All equipment shall be subject to inspection and testing witnessed by COMPANY/IRITEC authorized representative at the works during manufacture. In certain case these activities may be extended to sub-suppliers. | Included. |  |  |
| 8 | Acceptable codes and standards are mentioned in "Specification for CCTV Security System " and also "Telecom Design Basis". Supplier is required to adopt these standards as mandatory. | Included. |  |  |
| 9 | Supervision for Installation, Commissioning, Pre-commissioning & Start up (Per Diem and/or lump sum - As an option) is in supplier scope of work as per material requisition document. | Related charges included. |  |  |
| 10 | Reference list shall be submitted. Evidences of acceptance shall be attached. | Reference list was attached. |  |  |
| 11 | List of Type Tests, Factory Acceptance Test, and Site Acceptance Test shall be presented (Inspection and Test Plans shall be confirmed signed and sealed by vendor), including Routine Test. | All needed test reports for devices will be delivered in product inspections such as site and factory OPI meetings. |  |  |
| 12 | Special Tools and Spare Parts for erection, Pre-commissioning, Commissioning, Start-up shall be submitted individually. | After technical offer confirmation, these inquired lists will be delivered. |  |  |
| 13 | Two (2) Years Operation spare parts and capital spare parts shall be submitted individually as an optional. | After technical offer confirmation, these inquired lists will be delivered. |  |  |
| 14 | All documents that have been specified in Attachment of Material Requisition document shall be submitted with technical proposal. | Included. |  |  |
| 15 | If there are any discrepancies in tender documents, “Document Priority” as per clause 2-3 of Material Requisition document to be followed. | Included. |  |  |
| 16 | These comments have been provided only for your guide at this stage, you are responsible for adopting your proposal with the requisition for topics that aren’t mentioned in your deviation list. | Included. |  |  |
| 17 | Detail Scope of Work and supply Shall be submitted in accordance with MR. | Included. |  |  |
| 18 | Unpriced Commercial Proposal shall be Attached to Technical Proposal. | Included. |  |  |
| 19 | Vendor shall consider Training for Operation and Maintenance (As an option). | Included. |  |  |
| 20 | All required inspection and test shall be considered based on requirements of Material Requisition document . | In any normal conditions, all required inspections will be considered. |  |  |
| 21 | All attached data sheets to MR shall be filled and attached to technical proposal. | Included. |  |  |
| 22 | Equipment Delivery Time to be offered. | After technical offer confirmation and pre contract transactions process, this delivery time period and related specs will be offered. |  |  |
| B | Main Comments |  |  |  |
| 1 | Catalogue for all items shall be submitted. | Included. |  |  |
| 2 | The CCTV MTO-Rev D1 shall be considered. The next rev of proposal shall be updated base on it. | Included. |  |  |
| 3 | The attached data sheet Form shall be filled | Forms had been filled and attached. |  |  |
| 4 | The proposal shall be updated based on attached comment | It was updated. |  |  |
| 5 | The deviation form shall be filled | It was attached. |  |  |
| 6 | The security reference list shall be submitted | It was attached. |  |  |
| 7 | The company shall be registered in MOP List as Telecom supplier | Included. |  |  |
| 8 | The execution work shall be mentioned as per requested in MTO | Before detail design and some other technical clarifications and site visit, it is not possible to offer execution works. But mentioned execution items in final updated MTO files (BK-GCS-PEDCO-120-IN-MT-0006_D01 & BK-GCS-PEDCO-120-IN-MT-0007_D01) were considered. |  |  |