| A | General Comments |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | MR & all documents attached to the MR shall be confirmed/prepared including: - Data Sheets - Single Line Diagram - Design Criteria - Specifications - Environmental Design Data - And so …. - Deviation List in Project format with clear title for each equipment - Scope of Work - Scope of Supply - Quality Control Certificates - Devices catalog - Inspection and Test Plans (ITP) - Complete Deviation List - Spare Part List - SPIR form Final proposal shall be signed and sealed by vendor before PO. | CONFIRM |  |  |
| 2 | Any term or statement in vendor proposal which is in contradiction to project requirements will be neglected in accordance with our commentary, unless they are integrated into a single chapter enlisting "Deviations from project requirement". | CONFIRM |  |  |
| 3 | It is assumed that the vendor is fully in compliance with terms, conditions and technical requirements specified in the material requisition unless otherwise specified in deviation list and agreed by contractor. | CONFIRM |  |  |
| 4 | Vendor is responsible for adequacy of materials in his proposal to meet requirement of the project and specifications although proposed material/items will be evaluated at the detail stage. Deviation from project specifications won't be accepted unless those that would be announced by Vender at bid stage and compromised/settled with client. Extra materials compared to the proposed material at bid stage shall be prepared by supplier without cost impact. | CONFIRM |  |  |
| 5 | Any equipment or material shall be supplied from Company's (NISOC& MOP ) approved vendor list, and shall comply with engineering specification documents. Furthermore, the related equipment & material are to be Approved by client/company and shall be supported by approved certificates. Also complete Sub Vendor List shall be attached to technical proposal. | CONFIRM |  |  |
| 6 | Vendor’s Painting Procedure shall be submitted.(for CCTV Pole if applicable ) | CONFIRM |  |  |
| 7 | All equipment shall be subject to inspection and testing witnessed by COMPANY/IRITEC authorized representative at the works during manufacture. In certain case these activities may be extended to sub-suppliers. | CONFIRM |  |  |
| 8 | Acceptable codes and standards are mentioned in "Specification for CCTV Security System " and also "Telecom Design Basis". Supplier is required to adopt these standards as mandatory. | CONFIRM |  |  |
| 9 | Supervision for Installation, Commissioning, Pre-commissioning & Start up (Per Diem and/or lump sum - As an option) is in supplier scope of work as per material requisition document. | CONFIRM |  |  |
| 10 | Reference list shall be submitted. Evidences of acceptance shall be attached. | CONFIRM |  |  |
| 11 | List of Type Tests, Factory Acceptance Test, and Site Acceptance Test shall be presented (Inspection and Test Plans shall be confirmed signed and sealed by vendor), including Routine Test. | CONFIRM |  |  |
| 12 | Special Tools and Spare Parts for erection, Pre-commissioning, Commissioning, Start-up shall be submitted individually. | CONFIRM |  |  |
| 13 | Two (2) Years Operation spare parts and capital spare parts shall be submitted individually as an optional. | CONFIRM |  |  |
| 14 | All documents that have been specified in Attachment of Material Requisition document shall be submitted with technical proposal. | CONFIRM |  |  |
| 15 | If there are any discrepancies in tender documents, “Document Priority” as per clause 2-3 of Material Requisition document to be followed. | CONFIRM |  |  |
| 16 | These comments have been provided only for your guide at this stage, you are responsible for adopting your proposal with the requisition for topics that aren’t mentioned in your deviation list. | CONFIRM |  |  |
| 17 | Detail Scope of Work and supply Shall be submitted in accordance with MR. | CONFIRM |  |  |
| 18 | Unpriced Commercial Proposal shall be Attached to Technical Proposal. | CONFIRM |  |  |
| 19 | Vendor shall consider Training for Operation and Maintenance (As an option). | Includes cost |  |  |
| 20 | All required inspection and test shall be considered based on requirements of Material Requisition document . | CONFIRM |  |  |
| 21 | All attached data sheets to MR shall be filled and attached to technical proposal. | CONFIRM |  |  |
| 22 | Equipment Delivery Time to be offered. | 6 months after prepayment |  |  |
| B | Main Comments |  |  |  |
| 1 | Catalogue for all items shall be submitted. | CONFIRM |  |  |
| 2 | The CCTV MTO-Rev D1 shall be considered. The next rev of proposal shall be updated base on it. | CONFIRM |  |  |
| 3 | The attached data sheet Form shall be filled | CONFIRM |  |  |
| 4 | The proposal shall be updated based on attached comment | CONFIRM |  |  |
| 5 | The deviation form shall be filled | CONFIRM |  |  |
| 6 | The security reference list shall be submitted | CONFIRM |  |  |
| 7 | The company shall be registered in MOP List as Telecom supplier | CONFIRM |  |  |
| 8 | The execution work shall be mentioned as per requested in MTO | CONFIRM |  |  |