## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No:BK-W007S-PEDCO-110-CV-RE-0001_D00 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-0840 |  |  | Transmital Date: 18-Apr-2022
Document Title: Site Visit Report - manifold Extension |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0102-EL-TR-0840 |  |  | Transmital Date: 18-Apr-2022
[5 empty] | CRS No: NISOC-CRS-BK-W007S-PEDCO-110-CV-RE-0001_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | 1- موارد و فعالیتهای بخش 4 می بایست مطابق با کتابچه پیمان و شرح خدمات درنظر گرفته شده باشد. 2- تعیین محل نصب پمپ در مدارک مربوطه می بایست بررسی گردد و ارائه طرح پیشنهادی در این مدرک پذیرفتنی نیست. 3- جهت اتصال خطوط لوله جریانی جدید نیاز به توسعه فنس است که این موضوع در تصویر و مطالب مندرج در صفحه 13 بدستی بیان نشده است. 4- نحوه اتصال خط لوله در تصویر بدستی نشان داده نشده است. 5- براساس شرح کار سیستم کنتر DCS چندراهه اضافه گردد. 6-سیستم F&G وجود ندارد و فقط Fire Alarm برای ساختمان های واحد در نظر گرفته شود. 7- بند 4-3 اصلاح گردد :لوپ های قطع اضطراری و کنترلی تمامی خطوط کنترلی باتوجه به استانداردهای نصب و مدارک مهندسی تفصیلی انجام خواهد شد. |  | 1401-2294-65660 | 1401-02-27 | 1- اصلاح گردید. 2- اصلاح گردید. 3- متن اشاره شده اصلاح گردید. 4- تصویر دیگری جایگزین گردید. 5- اضافه گردید. 6-در متن بخش 3-4 قبلا اشاره شده بود. 7- اعمال گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: H.Mozafari | Signature |  |  |  | Clarified By: | Signature
| Date: 29-May-22 |  |  |  |  | Date: