## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-CV-RT-0001 |  |  |  |  | EPC Contractor Tr. No. : BK-HD-PEDCO-T-0722 |  |  | Transmital Date: 13-Mar-2022
Document Title: SITE VISIT REPORT (CIVIL WORK) - GCS |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-CV-T-0722 |  |  | Transmital Date: 13-Mar-2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-CV-RT-0001-D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | آيا نتايج بازديد سايت براي ديگر ديسيپلينها و شرح وضعيت موجود و Tie-in در چه گزارشي منعكس مي شود؟ |  | BK-SUR-ENG-CIV-00-03622 | 2022-03-16 | گزارش بصورت تکمیلی در باره تمامی بخش ها تهیه گردیده است ولی با توجه به اسم مدرک در MDR در بخش سیویل تهیه و ارسال می گردد.
2 | منظور حوضچه تبخیر است؟ |  | BK-SUR-ENG-CIV-00-03622 | 2022-03-16 | اصلاح گردید.
3 | روغن جدا شده در API separattor به کجا انتقال داده میشوند؟ |  | BK-SUR-ENG-CIV-00-03622 | 2022-03-16 | روغن جدا شده سیستم موجود از طریق پمپ های تعبیه شده به مخزن Close Drain جدید انتقال خواهد یافت.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: | Signature
| Date: |  |  |  |  | Date: