## NIOEC
براي
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-IN-PY-0004_D00 | [5 empty] | EPC Contractor Tr. No.: BK-HD-PEDCO-T-0509 |  |  | Transmital Date: 25 Jan 2022
Document Title:Instrument/F&G Cable Trench/Route Layout Drawing | [5 empty] | PEDCO Tr. No.: BK-PEDCO-NISOC-0011-IN-TR-0509 |  |  | Transmital Date: 25 Jan 2022
[6 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-IN-PY-0004_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با توجه به مدارک CABLE LIST تعداد و تگ کابل ها در ترنچ و تمامی داکت ها مشخص و بروز رسانی گردد. بعلت شلوغ بودن نقشه برای نمایش این جزییات از صقحات بیشتری استفاده گردد |  |  | 00/2294/442053 | 1400/12/18 | مطابق خواست کارفرمای محترم ، همه موارد اعمال گردید
2
3
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) | [5 empty] | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  |  | Clarified By: | Signature
| Date: 8 Feb 2022 | [5 empty] | Date: