## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-SSGRL-PEDCO-110-IN-DT-0002_D01 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-0660 |  |  | Transmital Date: 2 Mar 2022
Document Title: Data Sheets For Pressure Gauge - Wellheads |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0012-IN-TR-0660 |  |  | Transmital Date: 2 Mar 2022
[5 empty] | CRS No: NISOC-CRS-BK-SSGRL-PEDCO-110-IN-DT-0002_D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
Instrument Comments
1 | موارد 1و3و4و5و6و7 نظر خاصی مطرح نمیباشد. |  | 00/2294/449418 | 1400/12/24 | مطابق آخرین نامه کارفرما اصلاح شد.
2 | در خصوص مورد 2 نظر این امورتامین نشده است. Accuracy فشار سنج بهتر از 0.6 درصد full scale باشد |  | 00/2294/449418 | 1400/12/24 | اعمال شد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 14 Mar 2022 |  |  |  |  | Date: