## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-IN-DC-0001_D03 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-0993 |  |  | Transmital Date: 23 May 2023
Document Title: Fire & Gas Detection Design Criteria |  |  |  |  | PEDCO Tr. No.:BK-PEDCO-NISOC-0005-IN-TR-0993 |  |  | Transmital Date: 23 May 2023
[5 empty] | CRS No: PEDCO-CRS-BK-GCS-PEDCO-120-IN-DC-0001_D03 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | در صورت تغيير در هر كدام از مدارك وابسته در اين مدرك اصلاحات انجام پذيرد. |  | BK-SUR-ENG-INS-01-04586 | 2022-06-07 | مدرک مطابق آخرین صورت جلسه (به تاریخ 1401/05/26)با حضور کارفرمای محترم اصلاح و بروز رسانی گردید.
2 | Voting براي H2 detector ها در نظر گرفته شود. |  | BK-SUR-ENG-INS-01-04586 | 2022-06-07 | مدرک مطابق خواست کارفرمای محترم اصلاح گردید.
3 | Numbering مدرك اصلاح گردد. |  | BK-SUR-ENG-INS-01-04586 | 2022-06-07 | مدرک اصلاح گردید.
4 | براي نحوه نصب ديتكتورها به دو استاندارد IPS اشاره شده است. براي دسترسي بهتر، موارد مهم در اين مدرك اشاره شود. |  | BK-SUR-ENG-INS-01-04586 | 2022-06-07 | بند Detecton Layout مطابق مدرک تایید شده specification for fire & gas sensor and devices به مدرک اضافه گردید. طبق نظرات کارفرمای محترم(NISOC) اطلاعات مربوط به محل نصب دتکتورها، جهت جلوگیری از تطویل بی مورد مدرک، در زیر بخش Detection Layout با اشاره به استانداردهای IPS-E-SF-260 و IPS-G-IN-270 به عنوان مرجع اصلی Layout ذکر گردیده است.( نامه به شماره '00/2294/238037). لازم به ذکر است اطلاعات محل نصب دتکتورها در مدرک F&G location layout بصورت کامل نشان داده شده است.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 6 Jun 2022 |  |  |  |  | Date: