|  |
| --- |
| **طرح نگهداشت و افزایش تولید 27 مخزن** |
| **MTO FOR PAGA****نگهداشت و افزایش تولید میدان نفتی بینک** |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
| D01 | Sep. 2022 | IFI | H.Shakiba | M.Fakharian | M.Mehrshad |  |
| D00 | May. 2022 | IFI | H.Shakiba | M.Fakharian | M.Mehrshad |  |
| **Rev.** | **Date** | **Purpose of Issue/Status** | **Prepared by:** | **Checked by:** | **Approved by:** | **CLIENT Approval** |
| **Class:2** | **CLIENT Doc. Number: F8Z-709096** |
| **Status:** | **IDC: Inter-Discipline Check****IFC: Issued For Comment** **IFA: Issued For Approval****AFD: Approved For Design** **AFC: Approved For Construction** **AFP: Approved For Purchase****AFQ: Approved For Quotation** **IFI: Issued For Information****AB-R: As-Built for CLIENT Review** **AB-A: As-Built –Approved** |

**REVISION RECORD SHEET**

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |  | **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |
| **1** | X | X |  |  |  | **51** |  |  |  |  |  |
| **2** | X | X |  |  |  | **52** |  |  |  |  |  |
| **3** | X |  |  |  |  | **53** |  |  |  |  |  |
| **4** | X |  |  |  |  | **54** |  |  |  |  |  |
| **5** | X |  |  |  |  | **55** |  |  |  |  |  |
| **6** | X | X |  |  |  | **56** |  |  |  |  |  |
| **7** | X | X |  |  |  | **57** |  |  |  |  |  |
| **8** |  | X |  |  |  | **58** |  |  |  |  |  |
| **9** |  |  |  |  |  | **59** |  |  |  |  |  |
| **10** |  |  |  |  |  | **60** |  |  |  |  |  |
| **11** |  |  |  |  |  | **61** |  |  |  |  |  |
| **12** |  |  |  |  |  | **62** |  |  |  |  |  |
| **13** |  |  |  |  |  | **63** |  |  |  |  |  |
| **14** |  |  |  |  |  | **64** |  |  |  |  |  |
| **15** |  |  |  |  |  | **65** |  |  |  |  |  |
| **16** |  |  |  |  |  | **66** |  |  |  |  |  |
| **17** |  |  |  |  |  | **67** |  |  |  |  |  |
| **18** |  |  |  |  |  | **68** |  |  |  |  |  |
| **19** |  |  |  |  |  | **69** |  |  |  |  |  |
| **20** |  |  |  |  |  | **70** |  |  |  |  |  |
| **21** |  |  |  |  |  | **71** |  |  |  |  |  |
| **22** |  |  |  |  |  | **72** |  |  |  |  |  |
| **23** |  |  |  |  |  | **73** |  |  |  |  |  |
| **24** |  |  |  |  |  | **74** |  |  |  |  |  |
| **25** |  |  |  |  |  | **75** |  |  |  |  |  |
| **26** |  |  |  |  |  | **76** |  |  |  |  |  |
| **27** |  |  |  |  |  | **77** |  |  |  |  |  |
| **28** |  |  |  |  |  | **78** |  |  |  |  |  |
| **29** |  |  |  |  |  | **79** |  |  |  |  |  |
| **30** |  |  |  |  |  | **80** |  |  |  |  |  |
| **31** |  |  |  |  |  | **81** |  |  |  |  |  |
| **32** |  |  |  |  |  | **82** |  |  |  |  |  |
| **33** |  |  |  |  |  | **83** |  |  |  |  |  |
| **34** |  |  |  |  |  | **84** |  |  |  |  |  |
| **35** |  |  |  |  |  | **85** |  |  |  |  |  |
| **36** |  |  |  |  |  | **86** |  |  |  |  |  |
| **37** |  |  |  |  |  | **87** |  |  |  |  |  |
| **38** |  |  |  |  |  | **88** |  |  |  |  |  |
| **39** |  |  |  |  |  | **89** |  |  |  |  |  |
| **40** |  |  |  |  |  | **90** |  |  |  |  |  |
| **41** |  |  |  |  |  | **91** |  |  |  |  |  |
| **42** |  |  |  |  |  | **92** |  |  |  |  |  |
| **43** |  |  |  |  |  | **93** |  |  |  |  |  |
| **44** |  |  |  |  |  | **94** |  |  |  |  |  |
| **45** |  |  |  |  |  | **95** |  |  |  |  |  |
| **46** |  |  |  |  |  | **96** |  |  |  |  |  |
| **47** |  |  |  |  |  | **97** |  |  |  |  |  |
| **48** |  |  |  |  |  | **98** |  |  |  |  |  |
| **49** |  |  |  |  |  | **99** |  |  |  |  |  |
| **50** |  |  |  |  |  | **100** |  |  |  |  |  |

**CONTENTS**

[1.0 INTRODUCTION 4](#_Toc104237845)

[2.0 GENERAL 5](#_Toc104237846)

[3.0 bill of material list Error! Bookmark not defined.](#_Toc104237847)

1. **INTRODUCTION**

Binak oilfield in Bushehr province is a part of the southern oilfields of Iran, is located 20 km northwest of Genaveh city.

With the aim of increasing production of oil from Binak oilfield, an EPC/EPD Project has been defined by NIOC/NISOC and awarded to Petro Iran Development Company (PEDCO). Also PEDCO (as General Contractor) has assigned the EPC-packages of the Project to "Hirgan Energy - Design and Inspection" JV.

As a part of the Project, a New Gas Compressor Station (adjacent to existing Binak GCS) shall be constructed to gather of 15 MMSCFD (approx.) associated gases and compress & transfer them to Siahmakan GIS.

**GENERAL DEFINITION**

The following terms shall be used in this document.

|  |  |
| --- | --- |
| CLIENT:  | National Iranian South Oilfields CLIENT (NISOC)  |
| PROJECT: | Binak Oilfield Development – Surface Fcilities; New Gas Compressor Station |
| EPD/EPC CONTRACTOR (GC): | Petro Iran Development Company (PEDCO) |
| EPC CONTRACTOR: | Joint Venture of : Hirgan Energy – Design & Inspection (D&I) Companies |
| VENDOR: | The firm or person who will fabricate the equipment or material. |
| EXECUTOR:  | Executor is the party which carries out all or part of construction and/or commissioning for the project. |
| THIRD PARTY INSPECTOR (TPI): | The firm appointed by EPD/EPC CONTRACTOR (GC) and approved by CLIENT (in writing) for the inspection of goods. |
| SHALL: | Is used where a provision is mandatory. |
| SHOULD: | Is used where a provision is advisory only. |
| WILL:  | Is normally used in connection with the action by CLIENT rather than by an EPC/EPD CONTRACTOR, supplier or VENDOR. |
| MAY:  | Is used where a provision is completely discretionary. |

1. **GENERAL**
* This document presents the item material requisitions for Contractor’s use as appropriate.
* This material requisition covers the requirements for the design, manufacturing, testing and supply of **PAGA SYSTEM** as listed below.

The supplier shall supply Telephone System. The supplier shall include in the supply, all other equipment/devices/items not listed in the following, but necessary for a good design and a safe operation, taking into account process data and installation conditions such as area classification and climatic conditions.

The grade of shop assembly of the equipment/devices/items supplied shall be at maximum extent to facilitate site erection and pre-commissioning activities.

1. **BILL OF MATERIAL LIST**

| **Item** | **Description** | **Design** | **Unit** | **Remark** |
| --- | --- | --- | --- | --- |
|  | **IP-Based PAGA Unit:**Centralized Communication System for Intercom, PA and General Alarm Data Transmission through a Standard IP Ethernet-Network according to DIN EN 60849/VDE 0828 installed in 19" rack swing standalone WxHxD:800x2000x800 mm/ 40 HU, With 100mm Base, RAL 7035 Equipped with:- Controller- Power Module**- 4x Amplifier Class D 19" 1x250W/100V (Total 1000 W in operation with considering N+1 Configuration)**- Tone Generator Module- Zone selection module- 230VAC - 1x SIP link to PABX- Relay Contact with F&G- 1x AM/FM radio / CD / mp3 player 2HU/19"- Customized Software programmed & ready to site connection- SIP Interface to radio System- Service Laptop including software- MDF Terminal | 1 | Set |  |
|  | **Master Call Station:**IP21, Desktop mounted including keyboard and Neck swan MIC | 1 | Set  |  |
|  | **42 Unit Rack 800x800x2100** mm with full accessories and earth bar (Light, fan, power socket...) | 1 | Set  |  |
|  | LAN Switch Layer 2 , 24x 10/100/1000 Base T +2 SFP Module | 1 | Set  |  |
|  | **Ceiling Loudspeaker: Flush Mounted**Ceiling Loud speaker 5 watt at 100 V ,with matching transformer 1.5, 3, 5W, Frequency Range 70 Hz to 20 kHz , SPL 90 dB (1watt/1m ) and **SPL 96 dB (6w/1m)+local Jb** | 10 | Set  | CCR |
|  | **Indoor Horn Loudspeaker:**Weather proof pressure chamber Loud speaker 15/25 watt at 100 V, Adjustable Sound level, Frequency Range, Frequency Range 300Hz to 6 kHz, with matching transformer 3,6,12W, SPL 108 dB (1watt/1m ) and **SPL 118 dB (12w/1m),** Pole mounting with Ushaped , non-rusting stainless steel Bracket, **IP54** | 0 | Set  |  |
|  | **Weather Proof 25 watts:**Weather proof pressure **Loud speaker 25 watt at 100 V**, Adjustable Sound level, Frequency Range 300Hz to 6 kHz, with matching transformer 6,12,25W, SPL 108 dB (1watt/1m ) so it can be used in low power case too ,**and SPL 121 dB** **(25w/1m),AL/ABS/fiber glass reinforced plastic enclosure**, Pole mounting with U-shaped, non-rusting stainless steel Bracket, **IP65** | 16 | Set  | Outdoor CGS Area  |
|  | **Weather Proof Flash Beacon , Yellow Color,5 Joule** | 8 | Set | For noisy area |
|  | **Weather proof Call Station: IP 65**Digital Explosion proof Call station **with Hood‐**‐ Break Glass housing for the unitparty line /speech key master/ conference cancellation keys, volume control functions, with speech memory**Equipped with 2m H.D.G pole**D01 | 2 | Set  |  |
|  | **HDG Pole**seamless industrial Hot dipped Galvanized & base plate including **adaptor for 4 speakers****Note; The right height for Horn Loud Speakers pole is around 4 m High**. More than this height the loss sound power will be high amount. | 4 | Set  |  |
|  | **Outdoor Metal box for Intercom Station, Weather proof, IP65 ,**with all required explosion proof cable glands For 5Px0.9mm2 cable And required terminal , **2X M20 Gland and Terminal**mounting accessories and blind plug | 2 | Set  |  |
|  | **Outdoor Metal Type WP PJB for Loud speakers**, with all required cable glands, mounting accessories and blind plug**10 xM20 Gland and Terminal** | 4 | Set  |  |
|  | **Indoor AL material PJB for Paging, IP42**, with all required cable glands .Capable to install inside the buildingMinimum **2x M25 Gland Bottom and 5 No.M20 Gland in Top and Terminal** | 1 | Set  |  |