## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-TE-PY-0001-D02 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1122 |  |  | Transmital Date:6/27/2022
Document Title:Telecomm. Equipment Layout For Electrical Building |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-TE-TR-1122 |  |  | Transmital Date:6/27/2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-TE-PY-0001-D02 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | بر اساس مدرک پایه ، قطر کابلهای مخابراتی OUTDOOR بایستی0.8mm در نظر گرفته شود. |  | 1401-'2294-124364 | 1401-04-10 | اعمال گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: AP.Golrang | Signature |  |  |  | Clarified By: | Signature
| Date: 08-08th-2021 |  |  |  |  | Date: