## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-SSGRL-PEDCO-110-EL-PY-0005_D00 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-0903 |  |  | Transmital Date: 07-May-2022
Document Title: Lighting & Small Power Layout For Security Building of Well Pads |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0102-EL-TR-0903 |  |  | Transmital Date: 07-May-2022
[5 empty] | CRS No: NISOC-CRS-BK-SSGRL-PEDCO-110-EL-PY-0005_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با توجه به نهایی نشدن معماری ساختمان حراست، مقتضی است، پس از برطرف کردن کامنت های مندرج در نامه شماره 01/2294/58919 مورخ 1401/02/21 بخش سیویل، مدرک مجددا جهت این امور ارسال گردد. |  | 1401-2294-85150 | 1401-03-10 | مدرک معماری ساختمان نگهبانی به روز گردید و جانمایی تجهیزات ویرایش گشت.لازم به ذکر است در مدرک "Area Electrical Cable Route & Section Layout of Well Pads" نحوه ورود کابل به ساختمان نشان داده خواهد شد.
| کامنت نامه شماره 1401-2294-58919: مقتضی است ترانشه و یا کاندوئیت مربوط به کابل ورودی به تابلو برق در مدرک نشان داده شود. |  | 1401-2294-58919 | 1401-02-21
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: H.Mozafari | Signature |  |  |  | Clarified By: | Signature
| Date: 18-May-22 |  |  |  |  | Date: