## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-SSGRL-PEDCO-110-EL-PY-0005_D01 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1470 |  |  | Transmital Date: 09-Oct-2022
Document Title: Lighting & Small Power Layout For Security Building of Well Pads |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0107-EL-TR-1470 |  |  | Transmital Date: 09-Oct-2022
[5 empty] | CRS No: NISOC-CRS-BK-SSGRL-PEDCO-110-EL-PY-0005_D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با توجه به پاسخ این امور به ترانسمیتال و تأیید نشدن مدرک محاسبات روشنایی ساختمان حراست، مقتضی است این مدرک پس از نهایی شدن مدرک محاسبات روشنایی و تعیین تعداد دقیق چراغها، مجددا جهت بررسی و اظهارنظر به این امور ارسال گردد. لذا مدرک قابل بررسی نبوده و عودت می گردد. |  | 1401-2294-311090 | 1401-08-23 | با توجه به کامنتهای آن کارفرمای محترم با نامه شماره 280883 بر روی مدرک محاسبات روشنایی ساختمان حراست، تمامی موارد اعمال و بر اساس آن مدرک جانمایی به روز گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: Gh.Sadatian | Signature |  |  |  | Clarified By: | Signature
| Date: 23-Oct-22 |  |  |  |  | Date: