## Cover
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک فعالیتهای رو زمینی در بستههای کاری تحتالارض ساخت موقعیت چاه، تأسیسات سرچاهی، خطوط جرياني و تسهیلات برق‌رسانی مربوط به موقعیت W046S
MTO FOR FIRE FIGHTING & SAFETY EQUIPMENT -W046S
شماره پیمان: |  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 1 از 3
9184 – 073 - 053 |  |  | BK |  | W046S | PEDCO | 110 |  | SA | MT | 0001 | D01
طرح نگهداشت و افزایش تولید 27 مخزن
MTO FOR FIRE FIGHTING & SAFETY EQUIPMENT -W046S نگهداشت و افزایش تولید میدان نفتی بینک
D01 |  | JAN.2023 |  | IFI |  |  |  | A.H.Saber |  |  | M.Fakharian |  | M.Mehrshad
D00 |  | JUN.2022 |  | IFI |  |  |  | A.H.Saber |  |  | M.Fakharian |  | M.Mehrshad
Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
Class: 2 |  |  |  | CLIENT Doc. Number: |  |  |  | F8Z-707640
status: | IDC: Inter-Discipline Check
IFC: Issued For Comment
IFA: Issued For Approval
AFD: Approved For Design
AFC: Approved For Construction
AFP: Approved For Purchase
AFQ: Approved For Quotation
IFI: Issued For Information
AB-R: As-Built for CLIENT Review
AB-A: As-Built –Approved

## REVISION
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک فعالیتهای رو زمینی در بستههای کاری تحتالارض ساخت موقعیت چاه، تأسیسات سرچاهی، خطوط جرياني و تسهیلات برق‌رسانی مربوط به موقعیت W046S
MTO FOR FIRE FIGHTING & SAFETY EQUIPMENT -W046S
شماره پیمان: |  |  | پروژه | بسته کاری |  | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 2 از 3
9184 – 073 - 053 |  |  | BK | W046S |  | PEDCO | 110 | SA | MT | 0001 |  | D01
REVISION RECORD SHEET
Page | D00 | D01 | D02 |  | D03 |  | D04 |  | Page |  | D00 |  | D01 |  | D02 | D03 | D04
1 | X | X | [6 empty] | 65
2 | X | X | [6 empty] | 66
3 | X | X | [6 empty] | 67
4 | [8 empty] | 68
5 | [8 empty] | 69
6 | [8 empty] | 70
7 | [8 empty] | 71
8 | [8 empty] | 72
9 | [8 empty] | 73
10 | [8 empty] | 74
11 | [8 empty] | 75
12 | [8 empty] | 76
13 | [8 empty] | 77
14 | [8 empty] | 78
15 | [8 empty] | 79
16 | [8 empty] | 80
17 | [8 empty] | 81
18 | [8 empty] | 82
19 | [8 empty] | 83
20 | [8 empty] | 84
21 | [8 empty] | 85
22 | [8 empty] | 86
23 | [8 empty] | 87
24 | [8 empty] | 88
25 | [8 empty] | 89
26 | [8 empty] | 90
27 | [8 empty] | 91
28 | [8 empty] | 92
29 | [8 empty] | 93
30 | [8 empty] | 94
31 | [8 empty] | 95
32 | [8 empty] | 96
33 | [8 empty] | 97
34 | [8 empty] | 98
35 | [8 empty] | 99
36 | [8 empty] | 100
37 | [8 empty] | 101
38 | [8 empty] | 102
39 | [8 empty] | 103
40 | [8 empty] | 104
41 | [8 empty] | 105
42 | [8 empty] | 106
43 | [8 empty] | 107
44 | [8 empty] | 108
45 | [8 empty] | 109
46 | [8 empty] | 110
47 | [8 empty] | 111
48 | [8 empty] | 112
49 | [8 empty] | 113
50 | [8 empty] | 114
51 | [8 empty] | 115
52 | [8 empty] | 116
53 | [8 empty] | 117
54 | [8 empty] | 118
55 | [8 empty] | 119
56 | [8 empty] | 120
57 | [8 empty] | 121
58 | [8 empty] | 122
59 | [8 empty] | 123
60 | [8 empty] | 124
61 | [8 empty] | 125
62 | [8 empty] | 126
63 | [8 empty] | 127
64 | [8 empty] | 128

## 1
NISOC |  |  |  | نگهداشت و افزایش تولید میدان نفتی بینک فعالیتهای رو زمینی در بستههای کاری تحتالارض ساخت موقعیت چاه، تأسیسات سرچاهی، خطوط جرياني و تسهیلات برق‌رسانی مربوط به موقعیت W046S
MTO FOR FIRE FIGHTING & SAFETY EQUIPMENT -W046S
شماره پیمان: |  |  |  | پروژه | بسته کاری | صادرکننده | تسهیلات | رشته |  | نوع مدرک | سریال | نسخه |  | شماره صفحه: 3 از 3
9184 – 073 - 053 |  |  |  | BK | W046S | PEDCO | 110 | SA |  | MT | 0001 | D01
| Item No. | DESCRIPTION |  |  |  |  | LOCATION |  |  |  | QTY |  | CODDING |  | DESCRIPTION
| 1 | DRY POWDER EXTINGUISHER 12 KG (PORTABLE) |  |  |  |  | INDOOR |  |  |  | 3 |  | PPE-1302 & 1303 &1304 |  | *
| 2 | DRY POWDER EXTINGUISHER 12 KG (PORTABLE) |  |  |  |  | OUTDOOR |  |  |  | 1 |  | PPE-1301 |  | *( NOTE 1)
| 3 | CO2 EXTINGUISHER 5 KG ( PORTABLE) |  |  |  |  | INDOOR |  |  |  | 1 |  | PCE-1301 |  | *
| 4 | FIRE SHED ( Fire Fighting Equipment Included) |  |  |  |  | OUTDOOR |  |  |  | 1 |  | FS-1301 |  | * (NOTE 2)
| 5 | WIND SOCK |  |  |  |  | OUTDOOR |  |  |  | 1 |  | WDS-1301 |  | *
| 6 | SAFETY SHOWER AND EYEWASH |  |  |  |  | INDOOR |  |  |  | 1 |  | SS-1301 |  | *
| 7∆∆ | FIRST AID KIT |  |  |  |  | OUTDOOR |  |  |  | 2 |  | FAK-1301&1302 |  | *
Note 1: sine one of the extinguishers will be installe in out door area one cabinet shall be provided by vendor for this extinguisher.
| Note2: | Details of the equipment Used in the fire shed are as follows:
QTY
|  |  | 2 1/2 hoses 25 meters in length ,(Based on BS336) | [5 empty] | 5
|  |  | WRENCH | [5 empty] | 2
|  |  | Dry chemical powder wheeled extinguisher 75 kg | [5 empty] | 2
|  |  | Dry chemical powder portable extinguisher 12 kg | [5 empty] | 6
|  |  | CO2 wheeled extinguisher 30 kg | [5 empty] | 3
|  |  | Water nozzles | [5 empty] | 2
D01