## PEDCO
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-W007S-PEDCO-110-IN-LI-0005_D00 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1407 |  |  | Transmital Date: 18 Sep 2022
Document Title: Panels & Junction Box List - Extension of Binak B/C Manifold |  |  |  |  | PEDCO Tr. No.: |  |  | Transmital Date: 18 Sep 2022
[5 empty] | CRS No: PEDCO-CRS-BK-W007S-PEDCO-110-IN-LI-0005_D00 |  |  | CRS Status: | C2
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | مطابق بند 13 شرايط عمومي پيمان في مابين و با توجه به مسئوليتهاي كامل مالي/قراردادي پيمانكار, مسئوليت بروز هرگونه اشتباه و تناقض, كمبود اسناد و مدارك فني و اطلاعات تهيه شده توسط پيمانكار, اعم از اينكه از سوي كارفرما تاييد شده يا نشده باشد, به عهده پيمانكار فرعي (هيرگان) مي باشد. |  |  | 2022-10-03 | -
2 | نسخه مدارك مرجع درج گردد. |  |  | 2022-10-03 | درخواست کارفرمای محترم اعمال گردید
3 | با توجه به اينكه مدارك مرجع نهايي نمي باشد در صورت هر گونه تغيير موارد اصلاح گردد. |  |  | 2022-10-03 | با اخرین مدارک مرجع بروز رسانی گردید
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 3 Oct 2022 |  |  |  |  | Date:

## NISOC
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-W007S-PEDCO-110-IN-LI-0005_D00 |  |  |  |  | EPC Contractor Tr. No.:BK-HD-PEDCO-T-1407 |  |  | Transmital Date: 9/18/2022
Document Title: Panels & Junction Box List - Extension of Binak B/C Manifold |  |  |  |  | PEDCO Tr. No.:BK-PEDCO-NISOC-0005-IN-TR-1407 |  |  | Transmital Date: 9/18/2022
[5 empty] | CRS No: PEDCO-CRS-BK-W007S-PEDCO-110-IN-LI-0005_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | تجهیزات F&G اتاقهای SWITCH ROOM و BATTERY ROOM و شارژر چگونه به FACP متصل می شوند ؟ ( هیچ گونه JB در نظر گرفته نشده است ) |  | BK-SUR-ENG-INS-01-05837 | 2022-10-04 | با توجه به اینکه اتاق BATTERY و شارژر در ساختمان کنترل ( موجود ) می باشند ، لذا سیگنال های F8G مستقیم به FACP ارسال می شوند
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 3 Oct 2022 |  |  |  |  | Date: