|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **طرح نگهداشت و افزایش تولید 27 مخزن** | | | | | | | |
| **MTO FOR STRUCTURAL WORKS – W028**  **نگهداشت و افزایش تولید میدان نفتی بینک** | | | | | | | |
|  | |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |
| D01 | | FEB. 2023 | IFI | R.Berlouie | M.Fakharian | M.Mehrshad |  |
| D00 | | MAY. 2022 | IFI | R.Berlouie | M.Fakharian | M.Mehrshad |  |
| **Rev.** | | **Date** | **Purpose of Issue/Status** | **Prepared by:** | **Checked by:** | **Approved by:** | **CLIENT Approval** |
| **Class:3** | | | **COMPANY Doc. Number:** **F8Z-707553** | | | | |
| **Status:** | | **IDC: Inter-Discipline Check**  **IFC: Issued For Comment**  **IFA: Issued For Approval**  **AFD: Approved For Design**  **AFC: Approved For Construction**  **AFP: Approved For Purchase**  **AFQ:** Approved For Quotation  **IFI: Issued For Information**  **AB-R: As-Built for CLIENT Review**  **AB-A: As-Built –Approved** | | | | | |

**REVISION RECORD SHEET**

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |  | **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |
| **1** | X | X |  |  |  | **66** |  |  |  |  |  |
| **2** | X | X |  |  |  | **67** |  |  |  |  |  |
| **3** | X | X |  |  |  | **68** |  |  |  |  |  |
| **4** | X | X |  |  |  | **69** |  |  |  |  |  |
| **5** |  |  |  |  |  | **70** |  |  |  |  |  |
| **6** |  |  |  |  |  | **71** |  |  |  |  |  |
| **7** |  |  |  |  |  | **72** |  |  |  |  |  |
| **8** |  |  |  |  |  | **73** |  |  |  |  |  |
| **9** |  |  |  |  |  | **74** |  |  |  |  |  |
| **10** |  |  |  |  |  | **75** |  |  |  |  |  |
| **11** |  |  |  |  |  | **76** |  |  |  |  |  |
| **12** |  |  |  |  |  | **77** |  |  |  |  |  |
| **13** |  |  |  |  |  | **78** |  |  |  |  |  |
| **14** |  |  |  |  |  | **79** |  |  |  |  |  |
| **15** |  |  |  |  |  | **80** |  |  |  |  |  |
| **16** |  |  |  |  |  | **81** |  |  |  |  |  |
| **17** |  |  |  |  |  | **82** |  |  |  |  |  |
| **18** |  |  |  |  |  | **83** |  |  |  |  |  |
| **19** |  |  |  |  |  | **84** |  |  |  |  |  |
| **20** |  |  |  |  |  | **85** |  |  |  |  |  |
| **21** |  |  |  |  |  | **86** |  |  |  |  |  |
| **22** |  |  |  |  |  | **87** |  |  |  |  |  |
| **23** |  |  |  |  |  | **88** |  |  |  |  |  |
| **24** |  |  |  |  |  | **89** |  |  |  |  |  |
| **25** |  |  |  |  |  | **90** |  |  |  |  |  |
| **26** |  |  |  |  |  | **91** |  |  |  |  |  |
| **27** |  |  |  |  |  | **92** |  |  |  |  |  |
| **28** |  |  |  |  |  | **93** |  |  |  |  |  |
| **29** |  |  |  |  |  | **94** |  |  |  |  |  |
| **30** |  |  |  |  |  | **95** |  |  |  |  |  |
| **31** |  |  |  |  |  | **96** |  |  |  |  |  |
| **32** |  |  |  |  |  | **97** |  |  |  |  |  |
| **33** |  |  |  |  |  | **98** |  |  |  |  |  |
| **34** |  |  |  |  |  | **99** |  |  |  |  |  |
| **35** |  |  |  |  |  | **100** |  |  |  |  |  |
| **36** |  |  |  |  |  | **101** |  |  |  |  |  |
| **37** |  |  |  |  |  | **102** |  |  |  |  |  |
| **38** |  |  |  |  |  | **103** |  |  |  |  |  |
| **39** |  |  |  |  |  | **104** |  |  |  |  |  |
| **40** |  |  |  |  |  | **105** |  |  |  |  |  |
| **41** |  |  |  |  |  | **106** |  |  |  |  |  |
| **42** |  |  |  |  |  | **107** |  |  |  |  |  |
| **43** |  |  |  |  |  | **108** |  |  |  |  |  |
| **44** |  |  |  |  |  | **109** |  |  |  |  |  |
| **45** |  |  |  |  |  | **110** |  |  |  |  |  |
| **46** |  |  |  |  |  | **111** |  |  |  |  |  |
| **47** |  |  |  |  |  | **112** |  |  |  |  |  |
| **48** |  |  |  |  |  | **113** |  |  |  |  |  |
| **49** |  |  |  |  |  | **114** |  |  |  |  |  |
| **50** |  |  |  |  |  | **115** |  |  |  |  |  |
| **51** |  |  |  |  |  | **116** |  |  |  |  |  |
| **52** |  |  |  |  |  | **117** |  |  |  |  |  |
| **53** |  |  |  |  |  | **118** |  |  |  |  |  |
| **54** |  |  |  |  |  | **119** |  |  |  |  |  |
| **55** |  |  |  |  |  | **120** |  |  |  |  |  |
| **56** |  |  |  |  |  | **121** |  |  |  |  |  |
| **57** |  |  |  |  |  | **122** |  |  |  |  |  |
| **58** |  |  |  |  |  | **123** |  |  |  |  |  |
| **59** |  |  |  |  |  | **124** |  |  |  |  |  |
| **60** |  |  |  |  |  | **125** |  |  |  |  |  |
| **61** |  |  |  |  |  | **126** |  |  |  |  |  |
| **62** |  |  |  |  |  | **127** |  |  |  |  |  |
| **63** |  |  |  |  |  | **128** |  |  |  |  |  |
| **64** |  |  |  |  |  | **129** |  |  |  |  |  |
| **65** |  |  |  |  |  | **130** |  |  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **WHCP-HPU Shelter (W028)** | | | | |
| **Section** | **ObjectType** | **NumPieces** | **TotalLength** | **TotalWeight** |
| Text | Text | Unitless | m | Kgf |
| IPE140 | Frame | 6 | 6.02993 | 77.63 |
| TUBE 80X80X4 | Frame | 2 | 8 | 76.36 |
| TUBE 120x120x6 | Frame | 4 | 10.76 | 231.1 |
| PURLIN/Z120 |  | 4 | 16 | 228.8 |
| SAGRAO |  | 1 | 4 | 4.84 |
| BASE PLATE |  | 4 |  | 246.176 |
| PLATE |  | 8 |  | 457.812 |
| PLATE |  | 8 |  | 37.68 |
| PLATE |  | 16 |  | 42.39 |
| REBAR 16 |  | 16 |  | 25.28 |
| L60X60X6 |  | 4 |  | 21.68 |
| PLATE |  | 8 |  | 196.25 |
| REBAR 25 |  | 2 |  | 27.72 |
|  | | | | 1673.718 |
| Total Weight | | | | 1700 |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **PLATFORM (W028)** | | | | |
| **Section** | **ObjectType** | **NumPieces** | **TotalLength** | **TotalWeight** |
| Text | Text | Unitless | m | Kgf |
| UNP160 | Frame | 2 |  | 150.4 |
| PLATE |  | 4 |  | 6.28 |
| PLATE |  | 20 |  | 35.325 |
| UNP140 |  | 4 |  | 41.6 |
| L100X100X10 |  |  |  | 133.56 |
| L60X60X6 |  |  |  | 4.056 |
| UNP160 |  | 2 |  | 37.6 |
| PLATE |  | 2 |  | 301.44 |
| L60X60X6 |  | 2 |  | 22.764 |
| L40X40X4 |  | 6 |  | 5.808 |
| UNP140 |  |  |  | 134.4 |
| GRATING |  |  |  | 81.6 |
| UNP140 |  | 4 |  | 44.8 |
| FLAT BAR |  |  |  | 34.1475 |
| GRATING |  |  |  | 136.8 |
| PLATE |  | 10 |  | 35.325 |
| PLATE |  | 8 |  | 28.26 |
| HANDRAIL |  |  |  | 108 |
| UNP100 |  | 4 |  | 89.04 |
| UNP160 |  | 4 |  | 60.16 |
| L60X60X6 |  | 4 |  | 31.92 |
|  | | | | 1523.2855 |
| Total Weight | | | | 1600 |