## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-W007S-PEDCO-110-IN-LI-0008_D00 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-NISOC-T-1404 |  |  | Transmital Date: 14 Sep 2022
Document Title: F&G Detector List - Extension of Binak B/C Manifold |  |  |  |  | NISOC Tr. No.: BK-PEDCO-NISOC-0005-IN-TR-1404 |  |  | Transmital Date: 14 Sep 2022
[5 empty] | CRS No: NISOC-CRS-BK-W007S-PEDCO-110-IN-LI-0008_D00 |  |  | Comment Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | در صفحه5 ، Tag مربوط به BL-2101 در ساختمان کنترل بر اساس نقشه اصلاح شود. |  | 01/2294/294037 | 1401/08/12 | مدرک مطابق خواست کارفرمای محترم اصلاح گردید.
2 | در صفحه6 ، Tag مربوط به BL-2301 در ساختمان برق بر اساس نقشه اصلاح شود. |  | 01/2294/294037 | 1401/08/12 | مدرک مطابق خواست کارفرمای محترم اصلاح گردید.
3 | لازم است مدرک بر اساس نقطه نظرات این امور در خصوص نقشه جایابی اصلاح شود. |  | 01/2294/294037 | 1401/08/12 | مدرک مطابق آخرین نسخه نقشه جایابی، اصلاح گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: | Signature
| Date: |  |  |  |  | Date: