## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-TE-MT-0003_D00 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1423 |  |  | Transmital Date:MAY-22th-2022
Document Title: MTO For PABX System |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0103-TE-TR-1423 |  |  | Transmital Date:MAY-28th-2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-TE-MT-0003_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | مدرک ردیف یک: آیتم 13 جدول، برای کابل 50 زوج، قطر 0.8 میلی متر لحاظ شده است. در صورتیکه در توضیحات انتهای جدول قطر رشته ها به اشتباه 0.6 میلی متر قید شده که لازم است اصلاح گردد. |  | 1401-2294-300466 | 1401-08-16 | اعمال گردید
2 | آیتم 7 جدول تعداد پایه های 2.5 متری متناسب با تعداد کیسوکهای تلفن نیست. بدیهی است مسئولیت تطابق متراژ کابلها و تعداد تجهیزات قید شده در مدرک با شرح کار و مدارک پروژه بر عهده آن شرکت می باشد. |  | 1401-2294-300466 | 1401-08-16 | اصلاح گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: AP.Golrang | Signature |  |  |  | Clarified By: | Signature
| Date: 06-08th-2022 |  |  |  |  | Date: