## Cover
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح‌الارض احداث رديف تراكم گاز در ايستگاه جمع آوري بينك
MTO FOR SAFETY & FIRE FIGHTING EQUIPMENT
شماره پیمان: |  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 1 از 3
9184 – 073 - 053 |  |  | BK |  | GCS | PEDCO | 120 |  | SA | MT | 0001 | D01
طرح نگهداشت و افزایش تولید 27 مخزن
MTO FOR SAFETY & FIRE FIGHTING EQUIPMENT نگهداشت و افزایش تولید میدان نفتی بینک
D01 |  | MAR.2023 |  | IFI |  |  |  | A.Saber |  |  | M.Fakharian |  | M.Mehrshad
D00 |  | MAY.2022 |  | IFI |  |  |  | A.Saber |  |  | M.Fakharian |  | M.Mehrshad
Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
Class: 3 |  |  |  | CLIENT Doc. Number: F8Z-709005
status: | IDC: Inter-Discipline Check
IFC: Issued For Comment
IFA: Issued For Approval
AFD: Approved For Design
AFC: Approved For Construction
AFP: Approved For Purchase
AFQ: Approved For Quotation
IFI: Issued For Information
AB-R: As-Built for CLIENT Review
AB-A: As-Built –Approved

## REVISION
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح‌الارض احداث رديف تراكم گاز در ايستگاه جمع آوري بينك
MTO FOR SAFETY & FIRE FIGHTING SYSTEM
شماره پیمان: |  |  | پروژه | بسته کاری |  | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 2 از 3
053-073-9184 |  |  | BK | GCS |  | PEDCO | 120 | SA | MT | 0001 |  | D01
REVISION RECORD SHEET
Page | D00 | D01 | D02 |  | D03 |  | D04 |  | Page |  | D00 |  | D01 |  | D02 | D03 | D04
1 | X | X | [6 empty] | 65
2 | X | X | [6 empty] | 66
3 | X | X | [6 empty] | 67
4 | [8 empty] | 68
5 | [8 empty] | 69
6 | [8 empty] | 70
7 | [8 empty] | 71
8 | [8 empty] | 72
9 | [8 empty] | 73
10 | [8 empty] | 74
11 | [8 empty] | 75
12 | [8 empty] | 76
13 | [8 empty] | 77
14 | [8 empty] | 78
15 | [8 empty] | 79
16 | [8 empty] | 80
17 | [8 empty] | 81
18 | [8 empty] | 82
19 | [8 empty] | 83
20 | [8 empty] | 84
21 | [8 empty] | 85
22 | [8 empty] | 86
23 | [8 empty] | 87
24 | [8 empty] | 88
25 | [8 empty] | 89
26 | [8 empty] | 90
27 | [8 empty] | 91
28 | [8 empty] | 92
29 | [8 empty] | 93
30 | [8 empty] | 94
31 | [8 empty] | 95
32 | [8 empty] | 96
33 | [8 empty] | 97
34 | [8 empty] | 98
35 | [8 empty] | 99
36 | [8 empty] | 100
37 | [8 empty] | 101
38 | [8 empty] | 102
39 | [8 empty] | 103
40 | [8 empty] | 104
41 | [8 empty] | 105
42 | [8 empty] | 106
43 | [8 empty] | 107
44 | [8 empty] | 108
45 | [8 empty] | 109
46 | [8 empty] | 110
47 | [8 empty] | 111
48 | [8 empty] | 112
49 | [8 empty] | 113
50 | [8 empty] | 114
51 | [8 empty] | 115
52 | [8 empty] | 116
53 | [8 empty] | 117
54 | [8 empty] | 118
55 | [8 empty] | 119
56 | [8 empty] | 120
57 | [8 empty] | 121
58 | [8 empty] | 122
59 | [8 empty] | 123
60 | [8 empty] | 124
61 | [8 empty] | 125
62 | [8 empty] | 126
63 | [8 empty] | 127
64 | [8 empty] | 128

## MTO
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح‌الارض احداث رديف تراكم گاز در ايستگاه جمع آوري بينك
MTO FOR SAFETY & FIRE FIGHTING SYSTEM
| شماره پیمان: |  | پروژه | بسته کاری | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 3 از 3
| 9184 – 073 - 053 |  | BK | GCS | PEDCO | 120 | SA | MT | 0001 |  | D01
Item No. |  | DESCRIPTION |  |  | LOCATION |  |  |  |  | QTY |  | DESCRIPTION
1 |  | DELUGE VALVE(6") |  |  | OUTDOOR |  |  |  |  | 3 |  | FOR DETAIL TO BE REFERRED TO BK-GCS-PEDCO-120-SA-DT-0004
2 |  | DELUGE VALVE(4") |  |  | OUTDOOR |  |  |  |  | 1
3 |  | CO2 EXTINGUISHER 5 KG(PORTABLE) |  |  | INDOOR |  |  |  |  | 8 |  | FOR DETAIL TO BE REFERRED TO BK-GCS-PEDCO-120-SA-DT-0003
4 |  | CO2 EXTINGUISHER 30 KG(WHEELED) |  |  | INDOOR |  |  |  |  | 2
5 |  | DRY POWDER EXTINGUISHER 12 KG (PORTABLE) |  |  | INDOOR |  |  |  |  | 5
6 |  | DRY POWDER EXTINGUISHER 75 KG (WHEELED) |  |  | INDOOR |  |  |  |  | 1
7 |  | FIRE SHED |  |  | OUTDOOR |  |  |  |  | 6
8 |  | FIRE HYDRANT/MONITOR |  |  | OUTDOOR |  |  |  |  | 11
9 |  | FIRE HYDRANT |  |  | OUTDOOR |  |  |  |  | 5
10 |  | SAFETY SHOWER & EYEWASH |  |  | INDOOR |  |  |  |  | 1 |  | FOR DETAIL TO BE REFERRED TO BK-GCS-PEDCO-120-SA-DT-0002
11 |  | FIRST AID KIT |  |  | INDOOR |  |  |  |  | 3
12 |  | BREATHING APPARATOUS |  |  | INDOOR |  |  |  |  | 2
13 |  | WATER SPRAY NOZZLE FULL CONE(K:18) |  |  | OUTDOOR |  |  |  |  | 6 |  | FOR DETAIL TO BE REFERRED TO BK-GCS-PEDCO-120-SA-DT-0005
14 |  | WATER SPRAY NOZZLE FULL CONE(K:26) |  |  | OUTDOOR |  |  |  |  | 4
15 |  | WATER SPRAY NOZZLE FULL CONE(K:30) |  |  | OUTDOOR |  |  |  |  | 4
16 |  | WATER SPRAY NOZZLE FULL CONE(K:35) |  |  | OUTDOOR |  |  |  |  | 30
17 |  | WATER SPRAY NOZZLE FULL CONE(K:51) |  |  | OUTDOOR |  |  |  |  | 8
18 |  | WATER SPRAY NOZZLE FULL CONE(K:64) |  |  | OUTDOOR |  |  |  |  | 54
NOTE :MTO FOR FIRE SHEDS :
QTY
| 2 1/2" hoses 25 meters in length,(Based on BS336) |  |  |  |  | 10
| Foam Container Wrench |  |  |  |  | 1
| pick up tube + in line inductor (450LPM) |  |  |  |  | 2
| Nozzles 10x ,(foam maker nozzle) |  |  |  |  | 2
| Concentrate Foam (FP 3%) containers -PVC (100 lit.) |  |  |  |  | 5
| Dry chemical powder wheeled extinguisher 75 kg |  |  |  |  | 2
| Dry chemical powder portable extinguisher 12 kg |  |  |  |  | 6
| CO2 wheeled extinguisher 5 kg |  |  |  |  | 2
| Foam Barrel Trailer |  |  |  |  | 1
| Portable fire water monitor(2000LPM) |  |  |  |  | 1
| Water nozzles with three status (fog/jet/stop) |  |  |  |  | 2
D01
D01