## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GNRAL-PEDCO-000-PI-SP-0010-D01 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1668 |  |  | Transmital Date: 07-Dec.-2022
Document Title: SPECIFICATION FOR PLANT PIPING SYSTEMS PRESSURE TESTING |  |  |  |  | PEDCO Tr. No.:BK-PEDCO-NISOC-0005-PI-TR- 1668 |  |  | Transmital Date:07-Dec.-2022
[5 empty] | CRS No: NISOC-PEDCO-CRS-BK-GNRAL-PEDCO-000-PI-SP-0010-D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با توجه به بروز تغییرات در این ویرایش میبایست مدرک با وضعیت IFA انتشار یابد. با توجه به بروز تغییرات در مدرک ضروری است مدرک به همراه Reply Sheet مشتمل بر دلایل بروز تغییرات ارسال گردد. همانگونه که بارها اعلام شده است؛ کلیه تغییرات مد نظر در خصوص مدارک می بایست پیش از انتشار نسخه AFC یا AFD نهایی و اعمال گردد و از انتشار شتابزذه و بی پشتوانه مدارک مهمدسی پرهیز شود تا تیاز به بازنگری در مراحل بعدی نباشد. |  | 01/2294/380508 | 1401/10/09 | مطابق توافق با آن کارفرمای محترم، کامنت های شرکت پترو ایران تا یک ویرایش قابل اعمال است. با توجه به کامنتهای شرکت محترم پترو ایران، مدرک در ویرایش 01 تغییراتی داشته است. تغییرات عمدتا ADD می باشند که در استاندارد اشاره نشده است. در ویرایش 02 که اکنون ارسال می گردد مدرک تغییراتی نداشته است.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: J.mousazadeh | Signature |  |  |  | Clarified By: S.Faramarzpour | Signature
| Date:18-Dec.-2022 |  |  |  |  | Date: 18-Dec.-2022