## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-PPL-PEDCO-320-IN-LI-0001_D02 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1875 |  |  | Transmital Date: 15 Feb 2023
Document Title: Instrument Index |  |  |  |  | PEDCO Tr. No.:BK-PEDCO-NISOC-0005-IN-TR-1875 |  |  | Transmital Date: 15 Feb 2023
[5 empty] | CRS No: PEDCO-CRS-BK-PPL-PEDCO-320-IN-LI-0001_D02 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با توجه به عدم اعمال نظرات قبلی این امور مدرک مورد تایید نمی باشد. |  | 01/2294/485353 | 1401/12/20 | محدوده کار با توجه به شرح کار و سایر مدارک مهندسی مشخص شده است. توضیحات به طور مشخص در NOTE 4 آورده شد. مطابق قرار داد این پروژه در منطقه سیاهمکان شیر ذکر شده مطابق P&ID تهیه میشود و به رله ها و ادوات اضافه شده برای این LOOP در سیستم DCS/ESD موجود سیاهمکان اضافه میشود. لطفا در صورت وجود ابهام به طورمشخص اعلام شود.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 1 Mar 2023 |  |  |  |  | Date: