## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-W007S-PEDCO-110-IN-DG-0009_D02 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1859 |  |  | Transmital Date: 13 Feb 2023
Document Title: Instrument & F&G Junction Box Termination Diagram - Extension of Binak B/C Manifold |  |  |  |  | PEDCO Tr. No.:BK-PEDCO-NISOC-0005-IN-TR-1859 |  |  | Transmital Date: 13 Feb 2023
[5 empty] | CRS No: NISOC-CRS-BK-W007S-PEDCO-110-IN-DG-0009_D02 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | در خصوص مورد اول Reply Sheet پاسخ پیمانکار مورد پذیرش نبوده و مدرک مورد تایید نمیباشد. مطابق نقشه جانمایی و دیگر مکاتبات مرتبط کارفرما،در نظر گرفتن تجهیزات F&G برای ساختمانهای واحد کلاستر بینک در تعهد پیمانکار میباشد. |  | 01/2294/485360 | 1401/12/20 | ملاحظه شد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 26 Feb 2023 |  |  |  |  | Date: