## Cover
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک فعالیتهای رو زمینی در بستههای کاری تحتالارض ساخت موقعیت چاه، تأسیسات سرچاهی، خطوط جرياني و مربوط به موقعیت W008N
MTO FOR INSTRUMENT TUBE AND FITTING - W008N
شماره پیمان: |  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 1 از 5
9184 – 073 - 053 |  |  | BK |  | W008N | PEDCO | 110 |  | IN | MT | 0001 | D03
طرح نگهداشت و افزایش تولید 27 مخزن
MTO FOR INSTRUMENT TUBE AND FITTING - W008N نگهداشت و افزایش تولید میدان نفتی بینک
D03 |  | APR.2023 |  | FI |  |  |  | P.Hajisadeghi |  |  | M.Fakharian |  | M.Mehrshad
D02 |  | JAN.2022 |  | IFI |  |  |  | P.Hajisadeghi |  |  | M.Fakharian |  | M.Mehrshad
D01 |  | DEC.2021 |  | IFI |  |  |  | P.Hajisadeghi |  |  | M.Fakharian |  | M.Mehrshad
D00 |  | NOV.2021 |  | IFI |  |  |  | P.Hajisadeghi |  |  | M.Fakharian |  | M.Mehrshad
Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
Class: 3 |  |  |  | CLIENT Doc. Number:F8Z-707854
status: | IDC: Inter-Discipline Check
IFC: Issued For Comment
IFA: Issued For Approval
AFD: Approved For Design
AFC: Approved For Construction
AFP: Approved For Purchase
AFQ: Approved For Quotation
IFI: Issued For Information
AB-R: As-Built for CLIENT Review
AB-A: As-Built –Approved

## REVISION
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک فعالیتهای رو زمینی در بستههای کاری تحتالارض ساخت موقعیت چاه، تأسیسات سرچاهی، خطوط جرياني و مربوط به موقعیت W008N
MTO FOR INSTRUMENT TUBE AND FITTING - W008N
شماره پیمان: |  |  | پروژه | بسته کاری |  | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 2 از 5
9184 – 073 - 053 |  |  | BK | W008N |  | PEDCO | 110 | IN | MT | 0001 |  | D03
REVISION RECORD SHEET
Page | D00 | D01 | D02 |  | D03 |  | D04 |  | Page |  | D00 |  | D01 |  | D02 | D03 | D04
1 | X | X | X |  | X |  |  |  | 65
2 | X | X | X |  | X |  |  |  | 66
3 | X | X | X | [5 empty] | 67
4 | X | X |  |  | X |  |  |  | 68
5 |  | X |  |  | X |  |  |  | 69
6 | [8 empty] | 70
7 | [8 empty] | 71
8 | [8 empty] | 72
9 | [8 empty] | 73
10 | [8 empty] | 74
11 | [8 empty] | 75
12 | [8 empty] | 76
13 | [8 empty] | 77
14 | [8 empty] | 78
15 | [8 empty] | 79
16 | [8 empty] | 80
17 | [8 empty] | 81
18 | [8 empty] | 82
19 | [8 empty] | 83
20 | [8 empty] | 84
21 | [8 empty] | 85
22 | [8 empty] | 86
23 | [8 empty] | 87
24 | [8 empty] | 88
25 | [8 empty] | 89
26 | [8 empty] | 90
27 | [8 empty] | 91
28 | [8 empty] | 92
29 | [8 empty] | 93
30 | [8 empty] | 94
31 | [8 empty] | 95
32 | [8 empty] | 96
33 | [8 empty] | 97
34 | [8 empty] | 98
35 | [8 empty] | 99
36 | [8 empty] | 100
37 | [8 empty] | 101
38 | [8 empty] | 102
39 | [8 empty] | 103
40 | [8 empty] | 104
41 | [8 empty] | 105
42 | [8 empty] | 106
43 | [8 empty] | 107
44 | [8 empty] | 108
45 | [8 empty] | 109
46 | [8 empty] | 110
47 | [8 empty] | 111
48 | [8 empty] | 112
49 | [8 empty] | 113
50 | [8 empty] | 114
51 | [8 empty] | 115
52 | [8 empty] | 116
53 | [8 empty] | 117
54 | [8 empty] | 118
55 | [8 empty] | 119
56 | [8 empty] | 120
57 | [8 empty] | 121
58 | [8 empty] | 122
59 | [8 empty] | 123
60 | [8 empty] | 124
61 | [8 empty] | 125
62 | [8 empty] | 126
63 | [8 empty] | 127
64 | [8 empty] | 128

## REFERENCE
NISOC | نگهداشت و افزایش تولید میدان نفتی بینک فعالیتهای رو زمینی در بستههای کاری تحتالارض ساخت موقعیت چاه، تأسیسات سرچاهی، خطوط جرياني و مربوط به موقعیت W008N
MTO FOR INSTRUMENT TUBE AND FITTING - W008N
شماره پیمان: | پروژه | بسته کاری | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 3 از 5
9184 – 073 - 053 | BK | W008N | PEDCO | 110 | IN | MT | 0001 | D03
REFERENCE DOCUMENTS:
1- SPECIFICATION FOR INSTRUMENTATION | [8 empty] | BK-GNRAL-PEDCO-000-IN-SP-0001
2- INSTRUMENT HOOK-UP DIAGRAM-WELLHEADS | [8 empty] | BK-SSGRL-PEDCO-110-IN-DG-0001
3- DATA SHEETS FOR WHCP-HPU- WELLHEADS | [8 empty] | BK-SSGRL-PEDCO-110-IN-DT-0001
4- DATA SHEETS FOR PRESSURE GAUGE - WELLHEADS | [8 empty] | BK-SSGRL-PEDCO-110-IN-DT-0002
5- DATA SHEETS FOR TEMPERATURE GAUGE - WELLHEADS | [8 empty] | BK-SSGRL-PEDCO-110-IN-DT-0003
6- INSTRUMENT & CONTROL SYSTEM DESIGN CRITERIA | [8 empty] | BK-SSGRL-PEDCO-110-IN-DC-0002

## LIST
NISOC |  | نگهداشت و افزایش تولید میدان نفتی بینک فعالیتهای رو زمینی در بستههای کاری تحتالارض ساخت موقعیت چاه، تأسیسات سرچاهی، خطوط جرياني و مربوط به موقعیت W008N
MTO FOR INSTRUMENT TUBE AND FITTING - W008N
شماره پیمان: |  | پروژه | بسته کاری | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه
9184 – 073 - 053 |  | BK | W008N | PEDCO | 110 | IN | MT | 0001 |  | D03
برآورد خرید تجهیزات ابزاردقیق
ITEM | DESCRIPTION |  |  |  | PER WELLQTY. |  | UNIT | TOTAL QTY + 20% SPARE | UNIT PRICE ریال | UNIT PRICE FOB € | TOTAL PRICE ریال | TOTAL PRICE FOB € | REMARKS
BY CONTRACTOR
1 | 1/2" O.D x 0.065"WT, TUBING, SEAMLESS, 316L SS NACE IS NOT REQUIRED |  |  |  | 3 |  | Meter | 4
2 | 1/2" O.D x 1/2" NPTM , MALE CONNECTOR, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS NOT REQUIRED |  |  |  | 1 |  | NO. | 2
3 | 1/4" O.D x 1/4" NPTM , MALE CONNECTOR, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS REQUIRED |  |  |  | 3 |  | NO. | 4
4 | 1/4" O.D x 0.049"WT, TUBING, SEAMLESS, 316L SS NACE IS REQUIRED |  |  |  | 0.9 |  | Meter | 2
5 | 1/4" OD, PLUG, 316L SS NACE IS REQUIRED |  |  |  | 3 |  | NO. | 4
6 | MANIFOLD: 2×1/2"NPTF FOR PROCESS CONNECTION &1/4” NPTF FOR DRAIN CONNECTION, 316L SS(3000#) NACE IS REQUIRED |  |  |  | 2 |  | NO. | 3
7 | 1/2" O.D x 1/2" NPTM , MALE CONNECTOR, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS REQUIRED Reference Doc.:BK-SSGRL-PEDCO-110-IN-DG-0001 Instrument Hook-up Diagram-Wellheads |  |  |  | 2 |  | NO. | 3
8 | 1/2" OD, TUBE UNION, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS REQUIRED |  |  |  | 28 |  | NO. | 34
9 | 1/2" OD, BULKHEAD UNION, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS REQUIRED |  |  |  | 2 |  | NO. | 3
10 | 1/2" O.D x 0.065"WT, TUBING, SEAMLESS, 316L SS NACE IS REQUIRED |  |  |  | 80 |  | Meter | 96
BY WHCP VENDOR
11 | 1/4" OD, PLUG, 316L SS NACE IS NOT REQUIRED |  |  |  | 1 |  | NO. | 2
12 | 1/4" OD, BULKHEAD UNION, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS NOT REQUIRED |  |  |  | 2 |  | NO. | 3
13 | 1/4" O.D x 0.065"WT, TUBING, SEAMLESS, 316L SS NACE IS NOT REQUIRED |  |  |  | 110 |  | Meter | 132
14 | 1/4" O.D x 1/2" NPTM , MALE CONNECTOR, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS NOT REQUIRED |  |  |  | 7 |  | NO. | 9
15 | 1/4" OD, TUBE UNION, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS NOT REQUIRED |  |  |  | 37 |  | NO. | 45
16 | 1/2" O.D x 0.065"WT, TUBING, SEAMLESS, 316L SS NACE IS NOT REQUIRED |  |  |  | 30 |  | Meter | 36
17 | 1/2" O.D x 1/2" NPTM , MALE CONNECTOR, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS NOT REQUIRED |  |  |  | 1 |  | NO. | 2
18 | 1/2" OD, TUBE UNION, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS NOT REQUIRED |  |  |  | 10 |  | NO. | 12
19 | 1/2" OD, BULKHEAD UNION, DOUBLE COMPRESSION FERRULE TYPE, 316L SS NACE IS NOT REQUIRED |  |  |  | 1 |  | NO. | 2
D03
D03
D03
D03
D03