## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-EL-MR-0001_D01 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1632 |  |  | Transmital Date: 28-Nov-2022
Document Title: PMR For Transformer |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0109-EL-TR-1632 |  |  | Transmital Date: 28-Nov-2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-EL-MR-0001_D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | آخرین ویرایش تأیید شده مدرک لیست بار فشار ضعیف در لیست مدراک مرجع اضافه گردد. |  | 1401-2294-375922 | 1401-10-04 | اعمال گردید
2 | با توجه به نهایی نشدن لیست بار و احتمال تغییر ظرفیت ترانس، مقتضی است این مدرک پس از تأیید مدرک لیست بار و اعمال تغییرات احتمالی بازنگری و به روزسانی گردد. |  | 1401-2294-375922 | 1401-10-04 | در صورت تغییر در ظرفیت ترانس، این مدرک به روزرسانی خواهد شد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: Gh.Saadatian | Signature |  |  |  | Clarified By: | Signature
| Date: 11-Dec-22 |  |  |  |  | Date: