| طرح نگهداشت و افزایش تولید 27 مخزن |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CALCULATION NOTE FOR CHEMICAL INJECTION AND STORAGE SHELTER نگهداشت و افزایش تولید میدان نفتی بینک |  |  |  |  |  |  |  |
| D01 |  | JUN. 2023 | IFC | R.Berlouie | M.Fakharian | A.M.Mohseni |  |
| D00 |  | AUG. 2022 | IFC | R.Berlouie | M.Fakharian | M.Mehrshad |  |
| Rev. |  | Date | Purpose of Issue/Status | Prepared by: | Checked by: | Approved by: | CLIENT Approval |
| Class:2 |  |  | COMPANY Doc. Number:F0Z-709141 |  |  |  |  |
| Status: |  | IDC: Inter-Discipline Check IFC: Issued For Comment IFA: Issued For Approval AFD: Approved For Design AFC: Approved For Construction AFP: Approved For Purchase AFQ: Approved For Quotation IFI: Issued For Information AB-R: As-Built for CLIENT Review AB-A: As-Built –Approved |  |  |  |  |  |

REVISION RECORD SHEET

| PAGE | D00 | D01 | D02 | D03 | D04 |  | PAGE | D00 | D01 | D02 | D03 | D04 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | X | X |  |  |  |  | 66 |  |  |  |  |  |
| 2 | X | X |  |  |  |  | 67 |  |  |  |  |  |
| 3 | X | X |  |  |  |  | 68 |  |  |  |  |  |
| 4 | X | X |  |  |  |  | 69 |  |  |  |  |  |
| 5 | X | X |  |  |  |  | 70 |  |  |  |  |  |
| 6 | X | X |  |  |  |  | 71 |  |  |  |  |  |
| 7 | X | X |  |  |  |  | 72 |  |  |  |  |  |
| 8 | X | X |  |  |  |  | 73 |  |  |  |  |  |
| 9 | X | X |  |  |  |  | 74 |  |  |  |  |  |
| 10 | X | X |  |  |  |  | 75 |  |  |  |  |  |
| 11 | X | X |  |  |  |  | 76 |  |  |  |  |  |
| 12 | X | X |  |  |  |  | 77 |  |  |  |  |  |
| 13 | X | X |  |  |  |  | 78 |  |  |  |  |  |
| 14 | X | X |  |  |  |  | 79 |  |  |  |  |  |
| 15 | X | X |  |  |  |  | 80 |  |  |  |  |  |
| 16 | X | X |  |  |  |  | 81 |  |  |  |  |  |
| 17 | X | X |  |  |  |  | 82 |  |  |  |  |  |
| 18 | X | X |  |  |  |  | 83 |  |  |  |  |  |
| 19 | X | X |  |  |  |  | 84 |  |  |  |  |  |
| 20 | X | X |  |  |  |  | 85 |  |  |  |  |  |
| 21 | X | X |  |  |  |  | 86 |  |  |  |  |  |
| 22 | X | X |  |  |  |  | 87 |  |  |  |  |  |
| 23 | X | X |  |  |  |  | 88 |  |  |  |  |  |
| 24 | X | X |  |  |  |  | 89 |  |  |  |  |  |
| 25 | X | X |  |  |  |  | 90 |  |  |  |  |  |
| 26 | X | X |  |  |  |  | 91 |  |  |  |  |  |
| 27 | X | X |  |  |  |  | 92 |  |  |  |  |  |
| 28 | X | X |  |  |  |  | 93 |  |  |  |  |  |
| 29 | X | X |  |  |  |  | 94 |  |  |  |  |  |
| 30 | X | X |  |  |  |  | 95 |  |  |  |  |  |
| 31 | X | X |  |  |  |  | 96 |  |  |  |  |  |
| 32 | X | X |  |  |  |  | 97 |  |  |  |  |  |
| 33 | X | X |  |  |  |  | 98 |  |  |  |  |  |
| 34 | X | X |  |  |  |  | 99 |  |  |  |  |  |
| 35 | X | X |  |  |  |  | 100 |  |  |  |  |  |
| 36 | X | X |  |  |  |  | 101 |  |  |  |  |  |
| 37 | X | X |  |  |  |  | 102 |  |  |  |  |  |
| 38 | X | X |  |  |  |  | 103 |  |  |  |  |  |
| 39 | X | X |  |  |  |  | 104 |  |  |  |  |  |
| 40 |  | X |  |  |  |  | 105 |  |  |  |  |  |
| 41 |  | X |  |  |  |  | 106 |  |  |  |  |  |
| 42 |  | X |  |  |  |  | 107 |  |  |  |  |  |
| 43 |  | X |  |  |  |  | 108 |  |  |  |  |  |
| 44 |  | X |  |  |  |  | 109 |  |  |  |  |  |
| 45 |  | X |  |  |  |  | 110 |  |  |  |  |  |
| 46 |  | X |  |  |  |  | 111 |  |  |  |  |  |
| 47 |  |  |  |  |  |  | 112 |  |  |  |  |  |
| 48 |  |  |  |  |  |  | 113 |  |  |  |  |  |
| 49 |  |  |  |  |  |  | 114 |  |  |  |  |  |
| 50 |  |  |  |  |  |  | 115 |  |  |  |  |  |
| 51 |  |  |  |  |  |  | 116 |  |  |  |  |  |
| 52 |  |  |  |  |  |  | 117 |  |  |  |  |  |
| 53 |  |  |  |  |  |  | 118 |  |  |  |  |  |
| 54 |  |  |  |  |  |  | 119 |  |  |  |  |  |
| 55 |  |  |  |  |  |  | 120 |  |  |  |  |  |
| 56 |  |  |  |  |  |  | 121 |  |  |  |  |  |
| 57 |  |  |  |  |  |  | 122 |  |  |  |  |  |
| 58 |  |  |  |  |  |  | 123 |  |  |  |  |  |
| 59 |  |  |  |  |  |  | 124 |  |  |  |  |  |
| 60 |  |  |  |  |  |  | 125 |  |  |  |  |  |
| 61 |  |  |  |  |  |  | 126 |  |  |  |  |  |
| 62 |  |  |  |  |  |  | 127 |  |  |  |  |  |
| 63 |  |  |  |  |  |  | 128 |  |  |  |  |  |
| 64 |  |  |  |  |  |  | 129 |  |  |  |  |  |
| 65 |  |  |  |  |  |  | 130 |  |  |  |  |  |

CONTENTS

1.0	INTRODUCTION	5

2.0	Scope	5

3.0	NORMATIVE REFERENCE	5

3.1	Local Codes and Standards	5

3.2	International Codes and Standards	5

3.3	The Project Documents	5

4.0	Material properties	6

5.0	STRUCTURE ‘s systems	6

6.0	DESIGN LOAD	6

6.1	Dead load	6

6.2	Live Loads	7

6.3	SNOW LOADS	8

6.4	-Unbalanced SNOW LOADS	9

6.5	Seismic loads	10

6.6	CRANE  load	12

6.7	WIND loads	13

6.8	Thermal Load of structure (TLst)	16

7.0	SAP loading table	16

8.0	Load combinations	18

9.0	STRUCTURE ANALYSIS AND DESIGN	19

9.1	ANALYSIS	19

9.2	Flextural design of crane beam	20

9.3	Deflection control :	21

9.4	Drift control :	22

10.0	Structural Design Results	23

10.1	Graphical output	23

11.0	STRUCTURE CONNECTIONS	23

11.1	Intermediate moment frame	23

11.2	Description of Design Procedure & Parameters	25

11.3	Connection  Force Calculation :	27

11.4	Beam Specification:	27

11.5	End plate thickness calculation :	28

11.6	End Plate Specification :	28

11.7	Determine  Multiplier force of the flange :	28

11.8	Shear yield control of the end plate :	28

11.9	Shear rupture control  of end plate	29

11.10	Control of shear rupture resistance of screws:	29

11.11	Continuty plate requirement :	29

11.12	local column web yielding control :	29

11.13	PURLIN DESIGN	30

11.13.1. Property of Purlin(Z180x2.5)	30

11.13.2.Un deformed shape CONTROL:	31

11.14	Roof bracing Design	31

11.15	Base Plate	33

11.16	General requirements of embedment in concrete:	35

12.0	FOUNDATION DESIGN	38

12.1	Soil pressure and settlement	38

12.2	DESIGN	39

12.3	FOUNDATION DESIGN CONTROL	40

12.3.1Check of Stress for Foundation	40

12.3.2.    Check of Displacement for Foundation	44

12.3.3  REINFORCING CONTROL	44

- INTRODUCTION

Binak oilfield in Bushehr province is a part of the southern oilfields of Iran, is located 20 km northwest of Genaveh city.

With the aim of increasing production of oil from Binak oilfield, an EPC/EPD Project has been defined by NIOC/NISOC and awarded to Petro Iran Development Company (PEDCO). Also PEDCO (as General Contractor) has assigned the EPC-packages of the Project to "Hirgan Energy - Design and Inspection" JV.

- Scope

This report covers the structure & foundation calculation report of the “Chemical injection and Storage Shelter ”. The structure modelled by “SAP” software & the foundation modelled by “SAP” software 	too.

- NORMATIVE REFERENCE

  - Local Codes and Standards

- INBC Part 6 “Iranian National Building Code

- INBC Part 7 “Iranian National Building Code

- INBC Part 9 “Iranian National Building Code

- INBC Part 10 “Iranian National Building Code

- Iranian Seismic Design Code for Petroleum Facilities(3rd edition)

  - International Codes and Standards

- ASCE 7-10 “Minimum Design Loads and Associated Criteria for Buildings and Other Structures-American Society of Civil Engineers”.

- ACI 318. “Building Code Requirements for Reinforced Concrete”, American Concrete Institute.

- AISC 358  “Prequalified Connections for Special and Intermediate Steel Moment Frames for Seismic Applications.” American Institute of Steel Construction, Inc.

- AISC 360 - “Specification for Structural Steel Buildings”. American Institute of Steel Construction, Inc.

  - The Project Documents

## BK-GNRAL-PEDCO-000-ST-SP-0001  SPECIFICATION FOR CONCRETE WORK

## BK-gcs-PEDCO-120-ST-DW-0058  Structural drawing for chemical injection & storage shelter

- Material properties

Material properties are delivered in the following table.

- table 1 -Material Properties

| Foundation Concrete | F'c = 30 Mpa(28- day cylindrical sample) |
| --- | --- |
| Long. reinforcement bar | Fy = 400 Mpa(AIII) |
| Trans. reinforcement bar | Fy = 400 Mpa(AIII) |
| Bolt Type | HV 8.8 |
| Electrode Type | E 70 |

- STRUCTURE ‘s systems

The Structure’s System is OMF in X direction and OCBF system in Y direction .Seismic Parameters  according to Iranian Code of practice Fr Seismic resistant Design Of building StandardNo.2800 (4th edition)listed at below table.

- table 2 –structural system

|  | - system | - R | - Omega | - Cd |
| --- | --- | --- | --- | --- |
| - x dir | - imf | - 5 | - 3 | - 4 |
| - y dir | - ocbf | - 3.5 | - 2 | - 3.5 |

- DESIGN LOAD

  - Dead load

Dead loads include the self-weight of the structure and all the permanent equipment which are supported by the structures

Corogated sheet    :8 kg/m2

Z Purlin  :  8 kg/m2

Insulation   :10 kg/m2

sum=   26 kg/m2

Roof weight is assigned in software 26 kg/m2.

- At  ended frame : 26×2.5=65 kg/m

- At middle frame : 26×5=130  kg/m

- Figure 1-applied Dead load on ended axe(1&3) (kg/m)   Figure 2-applied Dead load on middle axe 2(kg/m)

  - Live Loads

The design live load on an area shall be defined as the weight of all movable loads, including personnel, tools, and parts of dismantled equipment, cranes, hoist, and temporarily stored materials.

According to Iranian National Building code No.6 Live load in light slop roof is  50kg/m2 and assumed 1.3KN concentrated load has been applied at critical frame.

- At  ended frame : 50×2.5=125 kg/m

- At middle frame : 50×5=250  kg/m

- Figure 3-Applied live Load on frame 2 (kg/m)       Figure 4-Applied live Load on frame 1&3 (kg/m)

  - SNOW LOADS

Snow load of this structure is calculated in accordance with Iranian National Building Code No.6 Latest edition.. Parameters which are used in calculation of snow force is presented in below:

Pr=PsCnChISCs

Ps=25 kg/m2  , Is=1

Cs= 0.91   (slope 11.31o)=1-α-α070-α0=1-11-570-5=0.902

Ch=1

Cn=0.8

Pr=PsCnChISCs=18.06kgm2

- At  ended frame : 18.06×2.5=45.15 kg/m

- At middle frame : 18.06×5=90.3   kg/m

- Figure 5-applied Snow load on ended axe(1&3) (kg/m)   Figure 6-applied Snow load on middle axe 2(kg/m)

  - -Unbalanced SNOW LOADS

## According to Iranian National Building Code No.6 (latest edition)) Unbalanced snow load have been considered  for roof slope between 4%~60%..in this structure Calculation of this load represents as below:

for lu<6 m                               Pr=IsPg=25kgm2

`

- Figure 7-applied unbalancexd Snow Load(SN)

- At  ended frame   :    25×2.5=62.5  kg/m

- At  emiddle frame :    25×5=125   kg/m

- Figure 8-applied unbalancexd Snow Load(SP)

  - Seismic loads

All structures are in area with high risk zone of seismic and until finalizing of  “Geotechnical Final Report” soil type consider  is type II. Equivalent static method is used for calculation of seismic loads. Parameters which are used in calculation of earthquake force and seismic coefficient is presented in below.

Seismic loads are calculated according to Iranian Code Of Practice for seismic resistant design Of building Standard No.2800(4 th edition)

For IMF system (X direction)

Rux=5

Omega=3

Cd=4

For OCBF system (Y direction)

Ruy=3.5

Omega=2

Cd=3.5

Soil Type : Type II

- For  X direction

C=A.B.I/R

B=2.5   ,     I=1   A=0.30

Ru=5(OMF )

Soil type =II so T0=0.1    Ts=0.5    S=1.5     S0=1

N=1   B=B1N=(S+1)N=2.5

T=0.05×7.30.75=0.22 sec

→due to standard 2800, 3-5-3:

Cx=0.30x2.5x1.05=0.15

- For  Y direction:

C=A.B.I/R

B=2.5   ,     I=1   A=0.30

Ru=3.5(OMF )

T=0.05×7.30.75=0.22 sec

→due to standard 2800, 3-5-3:

Cx=0.30x2.5x1.03.5=0.214

-Ev : Vertical seismic load applied at model:

- Figure 9-applied Ev load

Ev applied at model as a portion of dead load as above.

ρ=1.2 has been applied on earthquake load case cause of

- Figure 10 -applied ρ coefficient

  - CRANE  load

Distribution of crane load is as below  :

Capacity : 2000 kg

At critical condition maximum force is 1500 and 450kg on each wheel of crane.

Kvs =1.25 (according to INBC  no.6)

case 1   : FT=0.2*1500*1.25=375 kg     Fl=0.1*1500*1.25=187.5 kg

case 2 : FT=0.2*450*1.25=112.5kg     Fl=0.1*450*1.25=56.25 kg

Mentioned load applied in two case (assumed critical condition on left & right side)

- Figure11 -applied CRv & CRv1  load

  - WIND loads

Wind  loads are calculated according to Code No.6 and applied at model as below:

V=120  km/h(According to Iranian National Building Code No.6 last edition)

q=0.0000613V2*0.772=0.681

I=1

width=5m

Mean height=7m

Ce=0.93

Cgi=2

Roof slope=11.3 degree

- Figure 12-Wind Load Direction

- Element numbering for apply wind load is as below:

B4

B3

B6

B5

B2

B1

B4

B3

C6

C5

C2

C1

C4

C3

C5

C2

- Figure 13-Wind Load apply(Wxp)

C2: 
1:    Wxp=145.469×5=727.345 kgm

2:    Wyp=-124.049×5=-620.245 kgm

3:    Wxn=-127.712×5=-638.5625   kgm

4:    Wyn=124.049×5=620.245   kgm

C5: 
1:    Wxp=-127.721×5=638.605 kgm

2:    Wyp=-124.049×5=-620.245 kgm

3:    Wxn=145.469×5=-727.345  kgm

4:    Wyn=-124.049×5=-620.245   kgm

B3: 
1:    Wxp=-183.379×5=-916.895 kgm

2:    Wyp=-183.379×5=-916.895 kgm

3:    Wxn=-136.2465×5=-681.232  kgm

4:    Wyn=-129.4465.×5=-6247.232  kgm

B4: 
1:    Wxp=-136.246×5=-681.232 kgm

2:    Wyp=-129.446×5=-647.2325 kgm

3:    Wxn=-183.379×5=-916.895  kgm

4:    Wyn=-183.379×5=-916.895    kgm

  - Thermal Load of structure (TLst)

According to  “Specification for Civil and Structural Design Criteria”. Maximum temperature of 28 ºC shall be considered for computing the thermal load in all components of shelter.

- SAP loading table

- Load pattern:

| LoadPat | DesignType | SelfWtMult | AutoLoad |
| --- | --- | --- | --- |
| DEAD | Dead | 1 |  |
| Live r | Roof Live | 0 |  |
| EQx | Quake | 0 | USER COEFF |
| EQy | Quake | 0 | USER COEFF |
| WXp | Wind | 0 | None |
| WYp | Wind | 0 | None |
| SL | Snow | 0 |  |
| Live | Live | 0 |  |
| TL | Temperature | 0 |  |
| WXn | Wind | 0 | None |
| WYn | Wind | 0 | None |
| SP | Snow | 0 |  |
| SN | Snow | 0 |  |
| WXp1 | Wind | 0 | None |
| WYp1 | Wind | 0 | None |
| WYn1 | Wind | 0 | None |
| WXn1 | Wind | 0 | None |
| CRv | Live | 0 |  |
| FT | Live | 0 |  |
| FL | Live | 0 |  |
| CRv1 | Live | 0 |  |
| FT1 | Live | 0 |  |
| FL1 | Live | 0 |  |
| Ev | Dead | 0 |  |
| TLst | Temperature | 0 |  |
| DL empty | Dead | 0 |  |
| LLop | Live | 0 |  |
| FRx | Other | 0 |  |
| FRy | Other | 0 |  |
| ML | Other | 0 |  |
| Test | Dead | 0 |  |
| ER | Other | 0 |  |
| Soil | Dead | 0 |  |
| Notionalx(DL) | Notional | 0 |  |
| Notionaly(DL) | Notional | 0 |  |
| Notionalx(LL) | Notional | 0 |  |
| Notionaly(LL) | Notional | 0 |  |
| Notionalx(Lr) | Notional | 0 |  |
| Notionaly(Lr) | Notional | 0 |  |
| Notionalx(Lop) | Notional | 0 |  |
| Notionaly(Lop) | Notional | 0 |  |
| Notionalx(Test) | Notional | 0 |  |
| Notionaly(Test) | Notional | 0 |  |
| Notionalx(DLempty) | Notional | 0 |  |
| Notionaly(DLempty) | Notional | 0 |  |
| Notionalx(CR) | Notional | 0 |  |
| Notionaly(CR) | Notional | 0 |  |
| Notionalx(CR1) | Notional | 0 |  |
| Notionaly(CR1) | Notional | 0 |  |

- Load combinations

According to code INBC No.60(4 th edition) structures, components, and foundations shall be designed, so that their design strength equals or exceeds that effect of factored loads in the following combination:

- 1.4(D)

- (1.2D) +1.6(L)+0.5(Lr/S/R)

- 1.2D+1.6(Lr/S/R) + (L/0.5W)

- 1.2D+1.0(W) + L+.5(Lr/S)

- 1.2D+1.0E+L+0.2S

- 0.9D+1.0W

- 0.9D+1.0E

Load listed herein shall be considered to act in the following combinations; whichever produces the most unfavorable effect considering soil reactions.

- D

- D+L

- D+(Lr/S/R)

- D+0.75(L)+0.75(Lr/R/S)

- D+(0.6W or 0.7E)

- D+0.75L+0.75(0.6W)+0.75(Lr/S/R)

- D+0.75L+0.75(0.7E)+0.75S

- 0.6D+0.6W

- 0.6D+0.7E

- STRUCTURE ANALYSIS AND DESIGN

  - ANALYSIS

Structural analysis is done by SAP2000 software. In model loads are applied, some graphical outputs from model are shown as follows.

- Figure 14-3D view of SAP model

:

- Figure 15: Moment 3-3 under Ex load

- Figure 16: Moment 3-3  Wx load

  - Flextural design of crane beam

According to below output from sap software maximum  crane beam moment under critical load combination is 452696.49  kg.cm :

∅Mn=0.9xZxFy=0.9x2400x588.8=1271808  kg.cm

Mu=452696.49kg.cm

s=452696.491271808=0.355 ok

- Figure 17: Moment 3-3 criticalload combination on crane beam

  - Deflection control :

Maximum beam deflection under crane live load is :

δ=PL348EI=2000*500^348*2.1*106*5932.37=0.41  cm< 0.83 ok

L600=500600=0.83 cm

  - BEAM LATERAL RESTRAINT

Beam lateral restraint should be designed for 0.02 of  compressive flange capacity.

F=0.02Agf*Fy=0.02*20*1.2*2400=1152 kg >593.08 kg  OK

| TABLE: Element Forces - Frames |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Frame | Station | OutputCase | CaseType | StepType | P |
| Text | m | Text | Text | Text | Kgf |
| 42 | 0 | Envelope Strength | Combination | Max | 593.08 |
| 42 | 0.5 | Envelope Strength | Combination | Max | 593.03 |
| 42 | 0 | Envelope Strength | Combination | Min | -366.38 |
| 42 | 0.5 | Envelope Strength | Combination | Min | -366.41 |
|  |  |  |  | Max= | 593.08 |

  - Drift control :

Figure 18: Deformed shape

Maximum displacement according to above output from sap model under critical service load combination  is  about 1.62 cm which is less than allowable drift.

allowable drift is  680-120180*0.8=3.47cm

According to “Civil & Structural Design Criteria”, horizontal displacements shall not exceed H/180.

The maximum displacement is less than H/180, so the displacement values are acceptable.

| TABLE: Joint Displacements |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Joint | OutputCase | CaseType | StepType | U1 | allowable | result |
| Text | Text | Text | Text | cm | h/180/0.8 |  |
| 19 | Drift X | Combination | Max | 2.849996 | 3.472 | ok |
| 19 | Drift X | Combination | Min | -3.004034 | 3.472 | ok |
| 20 | Drift X | Combination | Max | 3.02176 | 3.472 | ok |
| 20 | Drift X | Combination | Min | -2.846681 | 3.472 | ok |
| 22 | Drift X | Combination | Max | 2.974414 | 3.472 | ok |
| 22 | Drift X | Combination | Min | -3.135648 | 3.472 | ok |
| 24 | Drift X | Combination | Max | 3.152657 | 3.472 | ok |
| 24 | Drift X | Combination | Min | -2.969713 | 3.472 | ok |
| 26 | Drift X | Combination | Max | 2.868718 | 3.472 | ok |
| 26 | Drift X | Combination | Min | -3.02249 | 3.472 | ok |
| 28 | Drift X | Combination | Max | 3.037753 | 3.472 | ok |
| 28 | Drift X | Combination | Min | -2.862644 | 3.472 | ok |

- Structural Design Results

All members designed by SAP2000, and code requirements have been checked accordingly. The following figures show the members ratios which are obtained from SAP2000 model analysis and design. All the acceptable ratios for beams & columns have been considered less than 1.0.

  - Graphical output

- Figure 19: Steel Design Output

- STRUCTURE CONNECTIONS

  - Intermediate moment frame

### -Beam to column

According to AISC 358-10 chapter 6, connection types 4ES and 8ES shall be used. Prequalified Special moment frame connections have been determined according to AISC 341- 10, Part 1, Section 10; AISC 358-10, Chapter 6 & AISC Design Guides 4, 13. Introductory figures & tables are attached. (Design procedure is mainly based on AISC 358 – 10 section 6.10)

High pretension bolts, used are equivalent to HV8.8 with ultimate strength of Fu=8,000 kg/cm2. The units used in the above mentioned codes & based calculation are kg-cm.

- Figure 20: 4ES (four Extended Stiffened)

  - Description of Design Procedure & Parameters

Compact sections shall be selected according to AISC 360-10.

bf, tf, hw and tw are sizes of girder.

Ry is the ratio of expected to specified structural steel yield strength.

Mpr=Cpr.Ry.Fy.Z  probable maximum moment at plastic hinge (according to AISC358- 10).

Sh= distance from the face of column to plastic hinge = Lst+tp (according to AISC358- 10).

Lst= Length of the end-plate stiffener.

tp= end-plate thickness.

Ln= distance between plastic hinges.

Mf=Mpr+Vp.Ln moment at the face of te column (according to AISC358- 10).

Vp= 2MprLn+wLn2    Shear force at the end of the beam (according to AISC358- 10).

Mff= since amplified moment is allowed to be used for Special frame connections. It is extracted from the load combination using ΩME (Ωx=3 , Ωy=2).

Fu= bolt ultimate strength (HV8.8).

Fnt= nominal tensile strength of bolt.

ϕn= non-ductile resistance factor (=0.9   according to AISC358-10).

hi=  distance from the centerline of the beam compression flange to the centerline of ith tension bolt row.

(db)= required bolt dimension (according to AISC358-10)

db= selected bolt diameter

phi Rn 4S = bolt shear rupture strength of the connection (according to AISC358-10)

Fb 4S bolt stress according to flexural <  phi Fnt.

phi Rn yield = local column web yielding strength at beam flanges (according to AISC358-10).

phi Rn buck. = unstiffened column web buckling strength at beam compression flange (according to AISC358-10).

phi Rn cripp. = unstiffened column web crippling strength at beam compression flange (according to AISC358-10).

dc= overall depth of column.

twc= column web thickness including doubler plates with plug weld.

Astiff = calculated required continuity plates area.

tp= thickness of end-plate calculated according to plate theories formulas regarding plate boundary conditions. (it submits exactly the same amount using AISC 358 formulas).

- Figure 21: BEAM  TO COLUMN CONNECTION

  - Connection  Force Calculation :

- Sh=mind2  , 3bbf=11.2 cm

- Lh=L-2Sh=4.776m

- Wu=1.2D+L+0.2s=0.424 t/m

  - Beam Specification:

bfcm=25  ,tf=1.2cm   , hwcm=34.4, twcm=0.8

Z=1218.86cm3

Mp=Z*Fy=2925252.47kg.cm

1.1≤Cpr=Fy+Fu2Fy=1.27≤1.2     Cpr=1.2

Mpr=CprRyMp=1.2×1.2×2902020.47=4212363.55 kg.cm=42.12  t.m

Ry=1.2

VHgravity=WuLh2=18.7 ton

Vpr=2MprLh=18.76on

Mu=Mpr+WuSh22=4.2×106 kg.cm=42 ton.m

  - End plate thickness calculation :

Mu=42 ton.m

∅d=1.0

Fyp=2400 kg/cm2

s=12bpg=9.35 cm

YP=bp2[h11Pfi+1S+h01Pfo-12]+2g[h1(Pfi+S)]=225

We Used Plate 25

  - End Plate Specification :

| bp(cm) | 25 |
| --- | --- |
| tp(cm) | 2.5 |
| g(cm) | 14 |
| s | 9.35 |
| pfi | 6 |
| pfo | 6 |

  - Determine  Multiplier force of the flange :

Ffu=Mudb-tbf=136610.28 kg

  - Shear yield control of the end plate :

Rn=0.6Fypbptp=90000 kg=90 ton

Ffu2≤∅dRn         68305.1≤1×90000     ok

  - Shear rupture control  of end plate

An=tpbp-2dcal=47.31cm2

dcal=3cm

Rn=0.6FupAn=105023.29 kg=105.023ton

Ffu2≤∅nRn    68305.1<94521 ok

  - Control of shear rupture resistance of screws:

Vu=18 ton

∅n=0.9

nb=4

Fu=8000 kg/cm2

Fnv=0.55Fu=4400kgcm2

db=2.4cm

Ab=(πdb)^24=4.52 cm2

Rnkg=nbFnvAb=79580.16

Vu=18≤∅nRn=0.9*79.58=71.622 ton     ok

  - Continuty plate requirement :

Column flange design force:

∅d=1

Yc=270.23 cm

tcf=1.5

Fyc=2400kg/cm2

Mcf=FycYctcf2=129.6 ton.m

∅dRn=∅dMcf(d-tbf)=390.3ton

  - local column web yielding control :

∅d=1

Ct=1

Kc=1

Fyc=2400 kg/cm2

tcw=0.8 cm

tbf=1.2 cm

tp=2.5cm

Ffu=136.610  ton

Rn=Ct6Kc+tbf+2tp=Fyc tcw=66.624 ton

Ffu<∅dRn

Continuty plate is needed.	According to above calculation  Ffu>∅dRn  so

  - PURLIN DESIGN

## 11.13.1. Property of Purlin(Z180x2.5)

Figure 22-Section Property Of Purlin

According to above table :

A=7.80 cm2

J=0.12 cm4

Ix=386.06 cm4

Iy=45.304 cm4

rx=7.033 cm

ry=2.41 cm

ho=18 cm

SY=42.305 cm3

SX=7.024 cm3

FOR Z 180 :

D+L=26+50=76 kg/m2

Py=76.cos11=74.6   kg/m2

Px=76.sin11=14.5  kg/m2

middle of span : My=w.L28=76×1.0×528=237.5 kg.m

middle of span : Mx=w.L2360=14.5×1×52360=1.00kg.m

fb=Mysy+2Mxsx=237.5×10042.305+21.00×1007.024=561.39+28.47=589.86<1440 ok

moment on sagrod support : My=w.L29=76×1.0×529=211.11 kg.m

moment on sagrod support : Mx=w.L290=14.5×1.0×5290=4.02 kg.m

fb=Mysy+2Mxsx=211.11×10042.305+24.02×1007.024=498.99+114.46=613.45<  1440     ok

### 11.13.2.Un deformed shape CONTROL:

dead+live loads : ∆=5×q×L4384×E×I=5×0.76×1.0×5004384×2.04×106×1350=0.22cm <   L240=2.0cm

for live loads : ∆=5×q×L4384×E×I=5×0.5×1.0×5004384×2.04×106×1350=0.14cm <   L360=1.3 cm

  - Roof bracing Design

According to INBC No.10 section 10-2-3-4 for tensile member :

Roof brace =∅20

∅tPn=∅tFyAg=0.9×4000×3.14=11304 kg

According to sap model maximum tensile force is  773 kg & it’s OK.

| TABLE: Element Forces - Frames |  |  |  |  |
| --- | --- | --- | --- | --- |
| Frame | Station | OutputCase | StepType | P |
| Text | m | Text | Text | Kgf |
| 43 | 0 | Envelope Strength | Max | 686.66 |
| 43 | 2.7 | Envelope Strength | Max | 686.23 |
| 43 | 5.4 | Envelope Strength | Max | 685.8 |
| 43 | 0 | Envelope Strength | Min | -549.84 |
| 43 | 2.7 | Envelope Strength | Min | -550.27 |
| 43 | 5.4 | Envelope Strength | Min | -550.7 |
| 44 | 0 | Envelope Strength | Max | 538.46 |
| 44 | 2.7 | Envelope Strength | Max | 538.91 |
| 44 | 5.4 | Envelope Strength | Max | 539.36 |
| 44 | 0 | Envelope Strength | Min | -636.9 |
| 44 | 2.7 | Envelope Strength | Min | -636.45 |
| 44 | 5.4 | Envelope Strength | Min | -636 |
| 47 | 0 | Envelope Strength | Max | 585.28 |
| 47 | 2.7 | Envelope Strength | Max | 585.7 |
| 47 | 5.4 | Envelope Strength | Max | 586.13 |
| 47 | 0 | Envelope Strength | Min | -423.5 |
| 47 | 2.7 | Envelope Strength | Min | -423.07 |
| 47 | 5.4 | Envelope Strength | Min | -422.64 |
| 48 | 0 | Envelope Strength | Max | 689.36 |
| 48 | 2.7 | Envelope Strength | Max | 688.91 |
| 48 | 5.4 | Envelope Strength | Max | 688.46 |
| 48 | 0 | Envelope Strength | Min | -296.22 |
| 48 | 2.7 | Envelope Strength | Min | -296.67 |
| 48 | 5.4 | Envelope Strength | Min | -297.12 |
| 49 | 0 | Envelope Strength | Max | 690.06 |
| 49 | 2.7 | Envelope Strength | Max | 690.52 |
| 49 | 5.4 | Envelope Strength | Max | 690.98 |
| 49 | 0 | Envelope Strength | Min | -338.73 |
| 49 | 2.7 | Envelope Strength | Min | -338.12 |
| 49 | 5.4 | Envelope Strength | Min | -337.51 |
| 50 | 0 | Envelope Strength | Max | 772.13 |
| 50 | 2.7 | Envelope Strength | Max | 772.71 |
| 50 | 5.4 | Envelope Strength | Max | 773.29 |
| 50 | 0 | Envelope Strength | Min | -551.51 |
| 50 | 2.7 | Envelope Strength | Min | -551.07 |
| 50 | 5.4 | Envelope Strength | Min | -550.63 |
| 52 | 0 | Envelope Strength | Max | 605.02 |
| 52 | 2.7 | Envelope Strength | Max | 604.44 |
| 52 | 5.4 | Envelope Strength | Max | 603.85 |
| 52 | 0 | Envelope Strength | Min | -480.24 |
| 52 | 2.7 | Envelope Strength | Min | -480.82 |
| 52 | 5.4 | Envelope Strength | Min | -481.41 |
| 55 | 0 | Envelope Strength | Max | 600.58 |
| 55 | 2.7 | Envelope Strength | Max | 599.97 |
| 55 | 5.4 | Envelope Strength | Max | 599.35 |
| 55 | 0 | Envelope Strength | Min | -665.7 |
| 55 | 2.7 | Envelope Strength | Min | -666.32 |
| 55 | 5.4 | Envelope Strength | Min | -666.93 |
|  |  |  | max= | 773.29 |

  - Base Plate

## Design force  :

## Vtr=MpH=ZFyH=1317.5×2400×10-55.5=5.74 ton

## Vlong=RyAgFycosθ=1.25×4000×13.68×cos 50=43966 kg=43.966ton

## Shear check in transverse direction :

## According to INBC No.10 section 10-2-6-2-1

## ∅Vn=0.6FyAwCv  ∅v

## htw=280.8=35<2.242.06×1062400=65    then  Cv=1   ∅v=1

## ∅Vn=0.6×2400×28×0.8×1×1=32.25 ton>5.74 ton

## Shear check in longitudinal direction :

## According to INBC No.10 section 10-2-6-7-2

## Kv=1.2

## htw=b2tf=151.5=10

## Aw=2bftf=2×30×1.5=90 cm2

## htw<1.1KvEFy=35.3       then Cv=1   ∅v=0.9

## ∅Vn=0.9×0.6×2400×90×1=116640 kg=116.64 ton>43.9 ton

## According to above acalculation The column section is ok for shear check .

## Bolt control in shear

## Vmax=43.96 ton

## Fnv=0.55Fu=3300 kg

## ∅=0.75

## Anb=Vmax∅Fnv=439600.75×3300=17.76 cm2     USE 4M24=18.09cm2

## Mpc=FyZ3-3=2400×1317.5×10-5=31.62 ton

## MpcHs=31.625.5=5.74 Vc

## Mp=1.1RyFyZc=1.1×1.2×2400×1317.5×10-5=26.69 ton.m

## Mcx=min256.69,5.52=5.5 ton.m

## fc=300 kg/cm2

## A2A1=1    , ∅c=0.65        fpmax=∅c 0.85 f'cA2A1=165.75 kg/cm2

## qmax=fpmax×B=8287 kg/cm2

## For ordinary & critical load combination

## Mu=11.8 ton.m

## Pu=8.13 ton

## Ymin=Puqmax=81308287=0.98 cm

## εmax=N2-Ymin2=24.5 cm

## e=MuPu=11.88.13=1.45m=145cm>εmax   tension applied.

## d=6cm

## f=N2-d=502-6=19cm

## Y=3.36 cm

## T=qmaxY-Pu=8287×3.36=27.84 ton.m

## Tension Strength control of anchor bolts :

## db=24mm

## Anb=4.52 cm2

## Tu=27.842=13.92 ton

## fuT=TuAnb=13.92×10004.52=3079 kg/cm2

## FnT=0.75Fu=4500kg/cm2

## ∅=0.75

## Rnt=FntAnb=4500×4.52×10-3=20.34 ton

## ∅Rnt=15.25 ton ≥Tu=13.92 ton ok

## Shear control of Anchor Bolts:

## Vu=VN=4.04=1.0 ton

## Anb=4.52 cm2

## ∅=0.75

## Fnv=0.55Fu=3300kg/cm2

## Rnv=FnvAnb=3300×4.52×10-3=18.87 ton

## ∅Rnv=11.18>1.0  ok

  - General requirements of embedment in concrete:

## According to ACI318 appendix D:

## Concrete breakout strength of anchor in tension : the nominal concrete breakout strength Ncbg shall not exceed

## Ncbg=ANCANCOωecωed,Nωc,Nωcp,NNb

## ACNO=9hef2

## ANC=(S1+3hef)(S2+3hef)

## Kc=10

## Nb=10γafchef1.5=10×1×25×126.61.5=71.2 KN

## λef=maxCa,max1.5,S13,S23=601.5,3803=126.6mm

## Ca,max=maxCa1,Ca2,Ca3,Ca4=60 mm

## ANCO=9×126.62=144248.04  mm2

## ANC=60+3×126.6×60+3×126.6=193424.04mm2

## ωec,N=1

## Ca,min=60 mm

## hef=126.6 mm

## ωed,N=0.7+0.3×601.5×126.6=0.79

## ωc,N=1

## ωcp,N=1

## Ncbg=ANCANCOωecωed,Nωc,Nωcp,NNb=193424.04144248.04×1×0.79×1.25×71.2=94.27 KN

## ∅=0.7

## ∅Ncbg=6.72ton>1.75  ok

## Concrete strength to withstand against tension in braced frame column under combination with Ω factor  is acceptable.

## Concrete breakout of anchor in shear :

## The nominal concrete breakout strength Vcbg in shear shall not exceed :

Vcbg=AVCAVCOωec,Vωed,Vωc,Vωh,VVb

AVco=4.5Ca12

AVAVco=0.66<n=2

ha=mintf,1.5Ca1,2=1600,1.5×60=90mm

Avc=120×90=10800 mm2

Avco=4.5Ca12=16200mm2

ωed,V=1

ωe,v=1.4

ωh,v=1.5Ca1ha=1

Vb=min0.6leda0.2da λafc Ca11.5  , 3.7λafc Ca11.5=min 10.353 KN,8.5KN=8.5 KN

λa=1

Vcbg=AVCAVCOωec,Vωed,Vωc,Vωh,VVb=1080016200×1×1.4×1×8.5=7.93 ton  ok

### -REQUIRED THICKNESS

Maximum Axial Load according to SAP2000 model is about 8.13 ton Under critical load combination:

t=l2PU0.9FyBN  =11.72x81300.9x2400x50x50=0.64cm       used th=2 cm

m=N-0.95d2=500-0.95*2802=117

n=B-0.8bf2=500-0.8*2502=150

λn'=λdbf4=1*240*2504=61

L=max(m,n,λn)=117

- FOUNDATION DESIGN

# SAP2000 has been used in order to modeling, analyses and design of this foundation.

# DETAILS” property of piles has been shown in the following FIG:

Figure 23-Foundation Plan

  - Soil pressure and settlement

Until finalize of geotechnical report for this area we consider	   =>	qa= 2kg/cm2

Based on geotechnical report for subgrade modulus is        	   =>   	Ks = 1.69 kg/cm3

Figure 24-Subgrade Modulus

Figure 25-Assign Spring to Foundation

  - DESIGN

Concrete Foundation are designed according to ACI 318-14. Required loads are derived from SAP data, and design process will be done according to ACI code based on ultimate strength procedure.

f'c=30Mpa		fy=400Ma

Soil load applied on model as below:

Figure 26-Applied soil load on Foundation

Soil dead load is γh=1.85*0.6=1.11tonm2=1110kgm2

  - FOUNDATION DESIGN CONTROL

### 12.3.1 Check of Stress for Foundation

| TABLE: Joint Displacements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Joint | OutputCase | CaseType | U1 | U2 | U3 |
| Text | Text | Text | cm | cm | cm |
| 7 | vertical def | Combination | -0.000006628 | -0.000014 | -0.126788 |
| 9 | vertical def | Combination | 0.000006629 | -0.000014 | -0.126782 |
| 11 | vertical def | Combination | -0.000011 | 0.000055 | -0.138285 |
| 13 | vertical def | Combination | 0.000011 | 0.000055 | -0.138284 |
| 15 | vertical def | Combination | -0.000028 | -0.000041 | -0.223485 |
| 17 | vertical def | Combination | 0.000028 | -0.000041 | -0.223485 |
| 32 | vertical def | Combination | 0 | 0 | -0.098266 |
| 42 | vertical def | Combination | 0 | 0 | -0.210027 |
| 45 | vertical def | Combination | 0 | 0 | -0.177358 |
| 46 | vertical def | Combination | 0 | 0 | -0.065466 |
| 47 | vertical def | Combination | 0 | 0 | -0.154923 |
| 48 | vertical def | Combination | 0 | 0 | -0.081722 |
| 49 | vertical def | Combination | 0 | 0 | -0.121888 |
| 50 | vertical def | Combination | 0 | 0 | -0.193943 |
| 61 | vertical def | Combination | 0 | 0 | -0.210027 |
| 62 | vertical def | Combination | 0 | 0 | -0.098266 |
| 63 | vertical def | Combination | 0 | 0 | -0.065465 |
| 64 | vertical def | Combination | 0 | 0 | -0.177358 |
| 65 | vertical def | Combination | 0 | 0 | -0.154923 |
| 78 | vertical def | Combination | 0 | 0 | -0.193942 |
| 79 | vertical def | Combination | 0 | 0 | -0.121886 |
| 81 | vertical def | Combination | 0 | 0 | -0.081721 |
| 82 | vertical def | Combination | 0 | 0 | -0.011303 |
| 86 | vertical def | Combination | 0 | 0 | -0.127777 |
| 90 | vertical def | Combination | 0 | 0 | -0.241088 |
| 92 | vertical def | Combination | 0 | 0 | -0.124796 |
| 93 | vertical def | Combination | 0 | 0 | -0.069744 |
| 94 | vertical def | Combination | 0 | 0 | -0.06813 |
| 95 | vertical def | Combination | 0 | 0 | -0.183513 |
| 96 | vertical def | Combination | 0 | 0 | -0.184926 |
| 97 | vertical def | Combination | 0 | 0 | -0.127772 |
| 98 | vertical def | Combination | 0 | 0 | -0.011296 |
| 99 | vertical def | Combination | 0 | 0 | -0.12479 |
| 100 | vertical def | Combination | 0 | 0 | -0.241084 |
| 101 | vertical def | Combination | 0 | 0 | -0.069738 |
| 102 | vertical def | Combination | 0 | 0 | -0.184921 |
| 103 | vertical def | Combination | 0 | 0 | -0.183508 |
| 104 | vertical def | Combination | 0 | 0 | -0.068123 |
| 105 | vertical def | Combination | 0 | 0 | -0.193487 |
| 106 | vertical def | Combination | 0 | 0 | -0.293677 |
| 107 | vertical def | Combination | 0 | 0 | -0.251922 |
| 108 | vertical def | Combination | 0 | 0 | -0.151782 |
| 109 | vertical def | Combination | 0 | 0 | -0.245597 |
| 110 | vertical def | Combination | 0 | 0 | -0.171579 |
| 111 | vertical def | Combination | 0 | 0 | -0.203945 |
| 112 | vertical def | Combination | 0 | 0 | -0.271989 |
| 113 | vertical def | Combination | 0 | 0 | -0.293677 |
| 114 | vertical def | Combination | 0 | 0 | -0.193487 |
| 115 | vertical def | Combination | 0 | 0 | -0.151782 |
| 116 | vertical def | Combination | 0 | 0 | -0.251922 |
| 117 | vertical def | Combination | 0 | 0 | -0.245597 |
| 118 | vertical def | Combination | 0 | 0 | -0.271989 |
| 119 | vertical def | Combination | 0 | 0 | -0.203945 |
| 120 | vertical def | Combination | 0 | 0 | -0.171579 |
| 123 | vertical def | Combination | 0.0000016 | 0.000014 | -0.126683 |
| 124 | vertical def | Combination | 0.000002964 | 0.000013 | -0.118063 |
| 125 | vertical def | Combination | 0.000000687 | 0.000005241 | -0.089756 |
| 126 | vertical def | Combination | -0.000004081 | 0.000013 | -0.110116 |
| 127 | vertical def | Combination | -0.000002513 | 0.000021 | -0.146033 |
| 128 | vertical def | Combination | -0.000008319 | 0.000015 | -0.102111 |
| 129 | vertical def | Combination | -0.000006269 | 0.000006298 | -0.073715 |
| 130 | vertical def | Combination | -0.000003825 | 0.000015 | -0.093803 |
| 131 | vertical def | Combination | -0.000002445 | 0.000021 | -0.1303 |
| 132 | vertical def | Combination | -0.000003863 | 0.000015 | -0.182381 |
| 133 | vertical def | Combination | -0.000008326 | 0.000015 | -0.173878 |
| 134 | vertical def | Combination | -0.000004081 | 0.000013 | -0.165983 |
| 135 | vertical def | Combination | -0.000006273 | 0.00000626 | -0.201735 |
| 136 | vertical def | Combination | 0.000002971 | 0.000013 | -0.15798 |
| 137 | vertical def | Combination | 0.000001638 | 0.000014 | -0.149619 |
| 138 | vertical def | Combination | 6.915E-07 | 0.000005203 | -0.185759 |
| 139 | vertical def | Combination | 0.000003863 | 0.000015 | -0.182381 |
| 140 | vertical def | Combination | 0.000008325 | 0.000015 | -0.173878 |
| 141 | vertical def | Combination | 0.000006273 | 0.00000626 | -0.201734 |
| 142 | vertical def | Combination | 0.000004081 | 0.000013 | -0.165982 |
| 143 | vertical def | Combination | 0.000002513 | 0.000021 | -0.146032 |
| 144 | vertical def | Combination | -0.000002971 | 0.000013 | -0.157979 |
| 145 | vertical def | Combination | -6.915E-07 | 0.000005203 | -0.185758 |
| 146 | vertical def | Combination | -0.000001638 | 0.000014 | -0.149618 |
| 147 | vertical def | Combination | 0.000002445 | 0.000021 | -0.130299 |
| 148 | vertical def | Combination | -0.0000016 | 0.000014 | -0.126683 |
| 149 | vertical def | Combination | -0.000002964 | 0.000013 | -0.118063 |
| 150 | vertical def | Combination | 0.000004081 | 0.000013 | -0.110115 |
| 151 | vertical def | Combination | -0.000000687 | 0.000005241 | -0.089755 |
| 152 | vertical def | Combination | 0.000008318 | 0.000015 | -0.10211 |
| 153 | vertical def | Combination | 0.000003825 | 0.000015 | -0.093802 |
| 154 | vertical def | Combination | 0.000006269 | 0.000006298 | -0.073714 |
| 155 | vertical def | Combination | -0.000001352 | -0.00000401 | -0.040603 |
| 156 | vertical def | Combination | -0.000003079 | -0.000004129 | -0.069139 |
| 157 | vertical def | Combination | -0.000002614 | -0.000001786 | -0.039791 |
| 158 | vertical def | Combination | -0.000002562 | -0.00000323 | -0.097528 |
| 159 | vertical def | Combination | -0.000001511 | -0.000005241 | -0.098346 |
| 160 | vertical def | Combination | -2.829E-07 | -0.000002757 | -0.125775 |
| 161 | vertical def | Combination | -8.906E-07 | -0.000001122 | -0.096385 |
| 162 | vertical def | Combination | -4.49E-08 | -0.000003165 | -0.154246 |
| 163 | vertical def | Combination | -0.000001602 | -0.000005241 | -0.154943 |
| 164 | vertical def | Combination | 5.331E-09 | -0.000003159 | -0.098728 |
| 165 | vertical def | Combination | -2.735E-07 | -0.000002748 | -0.127326 |
| 166 | vertical def | Combination | -0.000002562 | -0.000003138 | -0.155724 |
| 167 | vertical def | Combination | -8.846E-07 | -0.000001072 | -0.156419 |
| 168 | vertical def | Combination | -0.000003089 | -0.000004119 | -0.183888 |
| 169 | vertical def | Combination | -0.000001403 | -0.000004004 | -0.212209 |
| 170 | vertical def | Combination | -0.00000262 | -0.000001736 | -0.212923 |
| 171 | vertical def | Combination | -5.255E-09 | -0.000003159 | -0.098722 |
| 172 | vertical def | Combination | 2.737E-07 | -0.000002748 | -0.127321 |
| 173 | vertical def | Combination | 8.848E-07 | -0.000001072 | -0.156415 |
| 174 | vertical def | Combination | 0.000002563 | -0.000003138 | -0.155719 |
| 175 | vertical def | Combination | 0.000001511 | -0.000005241 | -0.09834 |
| 176 | vertical def | Combination | 0.000003089 | -0.00000412 | -0.183883 |
| 177 | vertical def | Combination | 0.000002621 | -0.000001736 | -0.212919 |
| 178 | vertical def | Combination | 0.000001403 | -0.000004004 | -0.212204 |
| 179 | vertical def | Combination | 0.000001602 | -0.000005241 | -0.154938 |
| 180 | vertical def | Combination | 0.000001352 | -0.00000401 | -0.040597 |
| 181 | vertical def | Combination | 0.000003079 | -0.000004129 | -0.069132 |
| 182 | vertical def | Combination | 0.000002563 | -0.00000323 | -0.097522 |
| 183 | vertical def | Combination | 0.000002615 | -0.000001786 | -0.039784 |
| 184 | vertical def | Combination | 2.831E-07 | -0.000002757 | -0.125769 |
| 185 | vertical def | Combination | 4.498E-08 | -0.000003165 | -0.154241 |
| 186 | vertical def | Combination | 8.908E-07 | -0.000001122 | -0.096379 |
| 187 | vertical def | Combination | -0.000005018 | -0.000013 | -0.219822 |
| 188 | vertical def | Combination | -0.000011 | -0.000013 | -0.208676 |
| 189 | vertical def | Combination | -0.00001 | -0.000005728 | -0.182383 |
| 190 | vertical def | Combination | -0.000011 | -0.000009627 | -0.197896 |
| 191 | vertical def | Combination | -0.000006606 | -0.000016 | -0.234242 |
| 192 | vertical def | Combination | -0.000002889 | -0.000007487 | -0.187438 |
| 194 | vertical def | Combination | -9.103E-07 | -0.000009045 | -0.178099 |
| 195 | vertical def | Combination | -0.000006603 | -0.000016 | -0.212801 |
| 196 | vertical def | Combination | -0.000000912 | -0.000009046 | -0.269787 |
| 197 | vertical def | Combination | -0.00000289 | -0.000007488 | -0.258579 |
| 198 | vertical def | Combination | -0.000011 | -0.00000963 | -0.247708 |
| 199 | vertical def | Combination | -0.00000482 | -0.000002914 | -0.282636 |
| 200 | vertical def | Combination | -0.000011 | -0.000013 | -0.237321 |
| 201 | vertical def | Combination | -0.000005016 | -0.000013 | -0.228019 |
| 202 | vertical def | Combination | -0.00001 | -0.00000573 | -0.261491 |
| 203 | vertical def | Combination | 9.119E-07 | -0.000009046 | -0.269787 |
| 204 | vertical def | Combination | 0.00000289 | -0.000007488 | -0.258579 |
| 205 | vertical def | Combination | 0.000004819 | -0.000002914 | -0.282636 |
| 206 | vertical def | Combination | 0.000011 | -0.00000963 | -0.247708 |
| 207 | vertical def | Combination | 0.000006606 | -0.000016 | -0.234242 |
| 208 | vertical def | Combination | 0.000011 | -0.000013 | -0.237321 |
| 209 | vertical def | Combination | 0.00001 | -0.00000573 | -0.261492 |
| 210 | vertical def | Combination | 0.000005016 | -0.000013 | -0.228019 |
| 211 | vertical def | Combination | 0.000006602 | -0.000016 | -0.212801 |
| 212 | vertical def | Combination | 0.000005018 | -0.000013 | -0.219822 |
| 213 | vertical def | Combination | 0.000011 | -0.000013 | -0.208676 |
| 214 | vertical def | Combination | 0.000011 | -0.000009627 | -0.197896 |
| 215 | vertical def | Combination | 0.00001 | -0.000005729 | -0.182382 |
| 216 | vertical def | Combination | 0.000002889 | -0.000007488 | -0.187438 |
| 217 | vertical def | Combination | 9.102E-07 | -0.000009046 | -0.178099 |
| 218 | vertical def | Combination | 0.000004819 | -0.000002912 | -0.161263 |
|  |  |  |  | min | -0.293677 |
|  |  |  |  | max | -0.011296 |

According to above output, Max soil pressure under the foundation is:

qn=0.29×1.69=0.491 kg/cm2  <  2   kg/cm2   ok

### 12.3.2.    Check of Displacement for Foundation

According to above outputs, Max soil displacement under the foundation is:

dn=2.9  mm  <  25   cm     ok

### 12.3.3  REINFORCING CONTROL

Minimum rebar for foundation:

As min=0.0018bh

Asmin=120.0018 bh=120.0018×100×50=4.5    cm2/m

As used=∅16@200=10.05cm2

Figure 27-M11 & M22 result

According to above figures  max Moment  is  about  9.41 ton.m= 941000 kg-cm

Mu1=941000   kg.cm

b=100 cm

fc=2300

fy=4000

d=45cm

∅=0.9

Mn=Mu∅=1044444.44 kg.cm

# Rn1=Mn1b.d2=5.158

# m1=fy0.85fc=15.686

# ρreq=1m11-1-2m1Rn1fy=0.00213

# As(req)=ρreq.b.d

As=0.00229× 100×45 cm2=5.862  cm2

# used  ∅16@ 200

Figure 28-reinforcement(∅16@ 200)