## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-PPL-PEDCO-320-IN-DT-0009_D01 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-0907 |  |  | Transmital Date: 08-May-2022
Document Title: Data Sheets For Corrosion Coupon/ Probe |  |  |  |  | PEDCO Tr. No.:BK-PEDCO-NISOC-0005-IN-TR-0907 |  |  | Transmital Date: 08-May-2022
[5 empty] | CRS No: PEDCO-CRS-BK-PPL-PEDCO-320-IN-DT-0009_D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | با توجه به اينكه مدرك پيش نياز مانند specification for instrumentation تاييد نشده است و به ويژه به اينكه قسمت مربوط به CC و CP داراي كامنت اساسي مي باشد. در صورت هر گونه تغيير در موارد در اين مدرك نيز منعكس شود. |  | BK-SUR-ENG-INS-01-04429 | 2022-05-25 | کامنت های مدرک SPEC. مربوط به کسری اطلاعات است که در مدرک DATA SHEET برطرف شده است و مطابق آخرین نسخه مدارک پیش نیاز ارائه گردیده است
2 | آيتم 43، VTA به VTC تغيير پيدا كند. با توجه به عمليات پيگ راني اين آيتم مجددا چك شود. |  | BK-SUR-ENG-INS-01-04429 | 2022-05-25 | آيتم 43، VTA به VTC تغيير پيدا كرد و همچنین COUPONروی خط اصلی نصب نشده و در انشعابات قرار دارد لذا پیگ رانی مشکلی ایجاد نمی کند
3 | اطلاعات مربوط به Purchase از VTA به will be finalized Later تغيير پيدا كند. |  | BK-SUR-ENG-INS-01-04429 | 2022-05-25 | اعمال گردید
4 | تغييرات با Revision Mark مشخص شود. |  | BK-SUR-ENG-INS-01-04429 | 2022-05-25 | ملاحظه گردید
5 | نقطه نظرات بخش پايپينگ به پيوست ارائه مي گردد. |  | BK-SUR-ENG-INS-01-04429 | 2022-05-25 | اعمال گردید
6 | اطلاعات فرآيندي بر اساس آخرين PFD و P&ID بروز رساني گردد. |  | BK-SUR-ENG-INS-01-04429 | 2022-05-25 | اعمال گردید
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 22 May 2022 |  |  |  |  | Date: