## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-IN-MT-0001_D00 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1130 |  |  | Transmital Date: 6/28/2022
Document Title: MTO for Bulk Item and Installation Accessories |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-IN-TR-1130 |  |  | Transmital Date: 6/28/2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-IN-MT-0001_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | مدارک زیر بعنوان مدارک مرجع ذکر گردد |  | 1401-2294-1879769 | 1401/05/30 | درخواست کارفرمای محترم اعمال گردید. در MDL پروژه مدرک Details of support installation وجود ندارد و جزئیات اجرای SUPPORT در مدرک Typical instrument installation drwaing ذکر شده است
1-Typical Instrument Insatllation Drawing 2-Details of support installation 3-Panel & Junction Box list
2 | Bulk Item لازم جهت مدارک مرجع فوق در نظر گرفته شود |  | 1401-2294-1879769 | 1401/05/30 | محتوای مدرک با توجه به مدارک مرجع اصلاح گردید.
3 | Bulk Item لازم جهت تجهیزات سیستم f&g چگونه در نظر گرفته شده است؟ |  | 1401-2294-1879769 | 1401/05/30 | محتوای مدرک با توجه به مدارک مرجع اصلاح گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 31 Jul 2022 |  |  |  |  | Date: