## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-BK15-PEDCO-110-PI-PY-0001_D00 |  |  |  |  | EPC Contractor Tr. No.:BK-HD-PEDCO-T-1821 |  |  | Transmital Date: 1/23/2023
Document Title: Plot Plan Drawing – BK15 |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-PI-TR- 1821 |  |  | Transmital Date: 1/23/2023
[5 empty] | CRS No: NISOC-CRS-BK-BK15-PEDCO-110-PI-PY-0001_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | مقرر گردید در ضلع جنوب غربی فنس تعریض شده و ساختمان برق و شلتر دیزل و تانک سوخت در آن موقعیت در نظر گرفته شود. |  | 1402/2291/11928 | 1402/01/16 | احتراما نقطه نظر اعمال گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: F.Amiri G.Khisravizadegan | Signature |  |  |  | Clarified By: S.Faramarzpour | Signature
| Date: 29-Jan-2023 |  |  |  |  | Date: 29-Jan-2023