## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-W007S-PEDCO-110-IN-LI-0007_D03 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1899 |  |  | Transmital Date: 25 Feb 2023
Document Title: I&C Power Consumption Summary- Extension of Binak B/C Manifold |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-IN-TR-1899 |  |  | Transmital Date: 25 Feb 2023
[5 empty] | CRS No: ٔNISOC-CRS-BK-W007S-PEDCO-110-IN-LI-0007_D03 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
Instrument Comment
1 | با توجه به اینکه برآورد ارائه شده بصورت حدودی بوده و بررسی دقیقتر در زمان پیشنهاد سازندگان بیان گردیده ُ لازم است جزئیات، لیست ادوات( شامل کارت ها ، مبدل ها، سلونویید ها و...) ، تعداد و مصارف تجهیزات به تفکیک بیان شده و بهمراه پیشنهاد سازندگان برای بررسی این امر ارسال گردد |  | 1401/2294/498070 | 1401/12/28 | محاسبات بار مصرفی سیستم های کنترل با توجه به برند زینمس مجددا طراحی گردید. تعداد I/O ها و همه متعلقات در پنل سیستم و مارشالینگ به تفکیک در پیوست Aو B ذکر گردیده است. ;کاتالوگ های مبنای محاسبات به پیوست ارسال میگردد.
موارد MOM ضمیمه شماره نامه 1402-2291-167106 اعمال گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: S.Akbari | Signature |  |  |  | Clarified By: | Signature
| Date: 11 Mar 2023 |  |  |  |  | Date: