## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-EL-DT-0007_D01 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1237 |  |  | Transmital Date:3-Aug-2022
Document Title: Data Sheets For Capacitor Bank |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0012-EL-TR-1237 |  |  | Transmital Date: 3-Aug-2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-EL-DT-0007_D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | ردیف خاصی مطرح نیست. پیشبرد گام بعدی مهندسی بلامانع می باشد. |  | 1401-2294-205602 | 1401-06-09 | با توجه به دفترچه مطالعاتی شرکت ABB (پیوست) برای اصلاحِ ضریبِ قدرتِ انفرادی، محاسبات مورد ویرایش قرار گرفت و به تبع آن داده برگه و دیاگرام تک خطی نیز به روزرسانی شد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: H.Mozafari | Signature |  |  |  | Clarified By: | Signature
| Date: 08-Mar-22 |  |  |  |  | Date: