| طرح نگهداشت و افزایش تولید 27 مخزن |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Calculation Note for Close Drain Sump Pit (SU-2201 A) نگهداشت و افزایش تولید میدان نفتی بینک |  |  |  |  |  |  |  |
| D00 |  | SEP.2023 | IFC | R.Berlouie | M.Fakharian | A.M.Mohseni |  |
| Rev. |  | Date | Purpose of Issue/Status | Prepared by: | Checked by: | Approved by: | CLIENT Approval |
| Class:2 |  |  | COMPANY Doc. Number: F0Z-709127 |  |  |  |  |
| Status: |  | IDC: Inter-Discipline Check IFC: Issued For Comment IFA: Issued For Approval AFD: Approved For Design AFC: Approved For Construction AFP: Approved For Purchase AFQ: Approved For Quotation IFI: Issued For Information AB-R: As-Built for CLIENT Review AB-A: As-Built –Approved |  |  |  |  |  |

REVISION RECORD SHEET

| PAGE | D00 | D01 | D02 | D03 | D04 |  | PAGE | D00 | D01 | D02 | D03 | D04 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | X |  |  |  |  |  | 66 |  |  |  |  |  |
| 2 | X |  |  |  |  |  | 67 |  |  |  |  |  |
| 3 | X |  |  |  |  |  | 68 |  |  |  |  |  |
| 4 | X |  |  |  |  |  | 69 |  |  |  |  |  |
| 5 | X |  |  |  |  |  | 70 |  |  |  |  |  |
| 6 | X |  |  |  |  |  | 71 |  |  |  |  |  |
| 7 | X |  |  |  |  |  | 72 |  |  |  |  |  |
| 8 | X |  |  |  |  |  | 73 |  |  |  |  |  |
| 9 | X |  |  |  |  |  | 74 |  |  |  |  |  |
| 10 | X |  |  |  |  |  | 75 |  |  |  |  |  |
| 11 | X |  |  |  |  |  | 76 |  |  |  |  |  |
| 12 | X |  |  |  |  |  | 77 |  |  |  |  |  |
| 13 | X |  |  |  |  |  | 78 |  |  |  |  |  |
| 14 | X |  |  |  |  |  | 79 |  |  |  |  |  |
| 15 | X |  |  |  |  |  | 80 |  |  |  |  |  |
| 16 | X |  |  |  |  |  | 81 |  |  |  |  |  |
| 17 | X |  |  |  |  |  | 82 |  |  |  |  |  |
| 18 | X |  |  |  |  |  | 83 |  |  |  |  |  |
| 19 | X |  |  |  |  |  | 84 |  |  |  |  |  |
| 20 | X |  |  |  |  |  | 85 |  |  |  |  |  |
| 21 | X |  |  |  |  |  | 86 |  |  |  |  |  |
| 22 | X |  |  |  |  |  | 87 |  |  |  |  |  |
| 23 | X |  |  |  |  |  | 88 |  |  |  |  |  |
| 24 |  |  |  |  |  |  | 89 |  |  |  |  |  |
| 25 |  |  |  |  |  |  | 90 |  |  |  |  |  |
| 26 |  |  |  |  |  |  | 91 |  |  |  |  |  |
| 27 |  |  |  |  |  |  | 92 |  |  |  |  |  |
| 28 |  |  |  |  |  |  | 93 |  |  |  |  |  |
| 29 |  |  |  |  |  |  | 94 |  |  |  |  |  |
| 30 |  |  |  |  |  |  | 95 |  |  |  |  |  |
| 31 |  |  |  |  |  |  | 96 |  |  |  |  |  |
| 32 |  |  |  |  |  |  | 97 |  |  |  |  |  |
| 33 |  |  |  |  |  |  | 98 |  |  |  |  |  |
| 34 |  |  |  |  |  |  | 99 |  |  |  |  |  |
| 35 |  |  |  |  |  |  | 100 |  |  |  |  |  |
| 36 |  |  |  |  |  |  | 101 |  |  |  |  |  |
| 37 |  |  |  |  |  |  | 102 |  |  |  |  |  |
| 38 |  |  |  |  |  |  | 103 |  |  |  |  |  |
| 39 |  |  |  |  |  |  | 104 |  |  |  |  |  |
| 40 |  |  |  |  |  |  | 105 |  |  |  |  |  |
| 41 |  |  |  |  |  |  | 106 |  |  |  |  |  |
| 42 |  |  |  |  |  |  | 107 |  |  |  |  |  |
| 43 |  |  |  |  |  |  | 108 |  |  |  |  |  |
| 44 |  |  |  |  |  |  | 109 |  |  |  |  |  |
| 45 |  |  |  |  |  |  | 110 |  |  |  |  |  |
| 46 |  |  |  |  |  |  | 111 |  |  |  |  |  |
| 47 |  |  |  |  |  |  | 112 |  |  |  |  |  |
| 48 |  |  |  |  |  |  | 113 |  |  |  |  |  |
| 49 |  |  |  |  |  |  | 114 |  |  |  |  |  |
| 50 |  |  |  |  |  |  | 115 |  |  |  |  |  |
| 51 |  |  |  |  |  |  | 116 |  |  |  |  |  |
| 52 |  |  |  |  |  |  | 117 |  |  |  |  |  |
| 53 |  |  |  |  |  |  | 118 |  |  |  |  |  |
| 54 |  |  |  |  |  |  | 119 |  |  |  |  |  |
| 55 |  |  |  |  |  |  | 120 |  |  |  |  |  |
| 56 |  |  |  |  |  |  | 121 |  |  |  |  |  |
| 57 |  |  |  |  |  |  | 122 |  |  |  |  |  |
| 58 |  |  |  |  |  |  | 123 |  |  |  |  |  |
| 59 |  |  |  |  |  |  | 124 |  |  |  |  |  |
| 60 |  |  |  |  |  |  | 125 |  |  |  |  |  |
| 61 |  |  |  |  |  |  | 126 |  |  |  |  |  |
| 62 |  |  |  |  |  |  | 127 |  |  |  |  |  |
| 63 |  |  |  |  |  |  | 128 |  |  |  |  |  |
| 64 |  |  |  |  |  |  | 129 |  |  |  |  |  |
| 65 |  |  |  |  |  |  | 130 |  |  |  |  |  |

CONTENTS

1.0	INTRODUCTION	4

2.0	Scope	4

3.0	CODES, SPECIFICATIONS AND REFERENCE DOCUMENTS	4

4.0	MATERIAL PROPERTIES	4

4.1.Concrete Grade	4

4.2.Reinforcing Steel	4

5.0	DESIGN INFORMATIOn	5

5.1.Location of the Structure	5

6.0	STRUCTURE 3D ANALYSIS MODEL	5

7.0	Calculation	6

7.1.Method of Design	6

8.0	fOUNDATION design load	9

9.0	P-Delta Effects	15

10.0	ANALYSIS AND DESIGN	15

10.1.foundation CONTROLS	15

10.2.wall design	17

10.3.TEMPRATURE AND SHRINKAGE REINFORCEMENT CONTROL	18

10.4.DISTRIBUTION OF FLEXTURAL REINFORCEMENT	19

11.0	Shear Control Under walls :	19

12.0	Uplift Control Under Foundation :	23

- INTRODUCTION

Binak oilfield in Bushehr province is a part of the southern oilfields of Iran, is located 20 km northwest of Genaveh city.

With the aim of increasing production of oil from Binak oilfield, an EPC/EPD Project has been defined by NIOC/NISOC and awarded to Petro Iran Development Company (PEDCO). Also PEDCO (as General Contractor) has assigned the EPC-packages of the Project to "Hirgan Energy - Design and Inspection" JV.

- Scope

This report covers the foundation calculation report of the “Close drain sump pit  ”. The foundation modelled by “SAP v21.1.0 ” software.

- CODES, SPECIFICATIONS AND REFERENCE DOCUMENTS

The following codes and specifications are adopted in this report:

- Design and Analysis of Ground Concrete Water Reservoirs No.123

- ACI 318M-14 “Building Code Requirements for Structural Concrete”

- INBC Part 6 “Iranian National Building Code, Part 6 (3rd Edition)”

- INBC Part 9 “Iranian National Building Code, Part 9 (4th Edition)”

- Iranian Standard No. 2800 “Iranian Code of practice for Seismic Resistant Design of Buildings (Iranian Standard No. 2800, 4th Edition)”

- MATERIAL PROPERTIES

- 4.1.Concrete Grade

f’c = 30 MPa (Min. compressive characteristic strength at 28 days on cylinder specimen)

- 4.2.Reinforcing Steel

Deformed High Tensile Strength Steel Bars, Grade	III in accordance with ASTM A706 (Fy=4000 kg/cm2) or ASTM A615 Grade 60 (Fy=4000 kg/cm2) and with minimum tensile strength of 6000 kg/cm2 meeting the specific requirements set forth in ACI 318 or approved equivalen

Material properties are delivered in the following table.

- table 1 -Material Properties

| Foundation Concrete | F'c = 30 Mpa(28- day cylindrical sample) |
| --- | --- |
| Long. reinforcement bar | Fy = 400 Mpa(AIII) |
| Trans. reinforcement bar | Fy = 400 Mpa(AIII) |
| Bolt Type | HV 8.8 |
| Electrode Type | E 70 |

- DESIGN INFORMATIOn

- 5.1.Location of the Structure

THIS DRAWING

- Location of Structure

- STRUCTURE 3D ANALYSIS MODEL

SAP2000 have been used in order to modeling, analyses and design of this structure and its foundation.

- Structure 3D Model in SAP2000

- Calculation

- 7.1.Method of Design

structural elements have been designed in two analytical models.

Model One (Main Model): It has been designed with considering the mechanical  loads with Friction load. In this case seismic load should be calculated by SAP2000 and the Operation loads are in the mass source.

Model Two (Frictionless Model): It has been designed with considering the mechanical loads without Friction and including the loads with  pure seismic load.. In this case operating load has been omitted in mass source .

Data Received from mechanic department  is table  and loading table for each point as bellow:

| V-2201 | Seismic Shear | 4800 (N) | Wind Shear | No need to calculate. | Field Test Weight | 2520 (kg) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Seismic Moment | 4242(N.m) | Wind Moment |  |  |  |
| V-2202 | Seismic Shear | 33173 (N) | Wind Shear | No need to calculate. | Field Test Weight | 35200 (kg) |
|  | Seismic Moment | 50092(N.m) | Wind Moment |  |  |  |
| V-2107 | Seismic Shear | 5280(N) | Wind Shear | No need to calculate. | Field Test Weight | 5290 (kg) |
|  | Seismic Moment | 4613 (N.m) | Wind Moment |  |  |  |

- Foundation Formwork Plan(vessels locations)

- Mechanical Data sheet Picture for Close Drain Drum (V-2202)

- Fix & Sliding  saddle plates for Close Drain Drum (V-2202))

- Mechanical Data Sheet Picture for Flare K.O.Drum(V-2201)

- Fix & Sliding  saddle plates for Flare K.O.Drum(V-2201)

- Mechanical Data Sheet Picture for Glycol Sump Drum (V-2107)

- Fix & Sliding  saddle plates for Glycol Sump Drum (V-2107)

- fOUNDATION design load

- 8.1.Self-Weight (DL)

The self-weight of structural elements (introduced Dead Load/DL in SAP) is automatically considered by SAP program with the specific weights below:

- Reinforced Concrete		                    :	 2500 kg/m³

8.2. Temperature load : 28°c

8.3.Live load

For roof distributed load about 200 kg/m2 , has been considered for design of structure.

8.4.Snow loads:

For roof distributed snow loads 25 kg/m2 , has been considered for design of structure.

8.5-Seismic Load

Seismic Loads are calculated according to standard 038.3rd that is summarized in below :

The structure doesn’t have any irregularities and its height is less than 50 m from base level.so, both static equivalent Lateral procedures could be used.

V  = Cs 𝑊

Where:

Cs  = the seismic response coefficient from Equation below:

𝑊 = the effective seismic weight of the structure

This weight includes dead weight of the supporting structure and supported components, plus operational weight of the contents of the components such as tanks, vessels, pipes, etc. In addition, where the snow or ice load is more than 0.25𝑊, it shall be included in 𝑊.

Cs = SaRIe

Where:

𝑆𝑎= mapped spectral response acceleration parameter (g), determined from hazard analysis.

R= the response modification factor for structure

Ie= the importance factor for structure

Vertical seismic component

The vertical seismic load effect, 𝐸𝑣, shall be determined in accordance with the following Equation :

𝐸𝑣 = 0.2SDS𝐷

SDS = Design, 5% damped, spectral response acceleration parameter (g) at short periods (0.2 sec).

D = effect of dead load

Loads case name: EQZ=0.2×0.75×W=0.15×W (where W=DL+OPR1+OPR FUTURE)

- X Direction Seismic Load

- Y Direction Seismic Load

This Earthquake coefficient will apply in SAP2000 model to be multiplied in W (seismic weight of structure) that will compute automatically by SAP2000 software by "mass source multiplier" definition as below:

Dead and Live Load

- Mass Source

According to Geotechnical report :

Soil Type :II

I(importance factor according to table 12-1)=1.25

T=0.05 H34=0.05×4.40.75=0.152s

T0=0.1

Ts=0.5      S=1.5       S0=1

- Period in X Direction(mode 3 ,T=0.0933)

- Period in Y Direction(mode 11 ,T=0.0307)

0<T<T0     Sa=SDS(0.4+0.6TT0) =0.435

Cx&y=SaIR        Cx&y=0.435×1.252.5=0.2175

- 8.6.PURE SEISMIC WEIGHT OF VESSLES (OCCX & OCCY)

This type of loading is pure seismic load of vessels  that are considered by mechanic and illustrated in tables and is equal to pure seismic for each point in Frictionless model. Lateral seismic loads is equal to OCCx & OCCy for each middle point  in Frictionless model. These types of load in Frictionless Model are shown through the following figures:

OCCy

OCCx

OCCx

OCCx

OCCx

OCCy

OCCy

- Direction of shear loads on saddles

In X direction OCCx with this moment  apply in fix  and sliding plate however in Y direction

OCCy with this moment  only applied in fix position .

- 8.7.LATERAL OPERATING LOAD DUE TO FRICTION (FRX, FRY)

Thermal displacement due to Operating condition and the friction between vessels and the pedestals, causes lateral forces are given in the model and is equal to 30% of operation load in x & y direction. Friction loads are included in operating loads.

- 8.8.Wall Design Load

Lateral soil pressure load due to buried soil  is applied as follow in two directions:

## 8.8.1.Apply Wall  Design Load (SOIL X&Y)

- applied Soil pressure

Calculation of soil pressure in height is as below:

K0=0.5

| z= | 0 | Soil pressure(kg/m2): | 4070 |
| --- | --- | --- | --- |
| z= | 4.4 | Soil pressure(kg/m2): | 0 |

To apply soil pressure on walls with joint pattern uses  equation based on above table as follows:

Y=-925z+4070

## 8.8.2.Apply Wall  Design Load (SOIL X&Y)

Water pressure is applied from a height of 1 m below the ground level.

| z= | 0 | water pressure(kg/m2): | 1700 |
| --- | --- | --- | --- |
| z= | 3.4 | Water pressure(kg/m2): | 0 |

Y=-5005z+170

- P-Delta Effects

P-Delta effect on each nonlinear load case has been applied:

- P-Delta

- ANALYSIS AND DESIGN

### 10.1.foundation CONTROLS

Model analysis is done by Sap 2000 software.in model loads are applied, some graphical

outputs from modeling are shown as follows.:

According to Sap 2000 results Maximum  moment for foundation slab is approximately 13.9 ton.m

So for bottom  slab  ∅16@200 mm   is used.

Mn=Mu∅=333333.33

Rn1=Mn1bd2=1.722

m1=fy0.85fc=15.686

ρreq=1m11-1-2m1Rn1fy=0.000432

As=ρreq.b.d=1.9   cm2

Used  As used=∅16@200 mm

| Area | AreaElem | OutputCase | M11 | M22 | M12 | MMin | MAngle | V13 | V23 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Text | Text | Text | Kgf-m/m | Kgf-m/m | Kgf-m/m | Kgf-m/m | Degrees | Kgf/m | Kgf/m |
| 853 | 853 | S.D.3.4.2-NL | 13940.82 | 11586.91 | 544.8 | 0 | 0 | -28404.2 | -29928.4 |

- Foundation Moment (M22) ton.m

∅16@200 mm moment capacity is :

∅20@200 mm moment capacity is  :

### 10.2.wall design

- M max under critical load combination on wall 1 (ton.m)

| TABLE: Element Forces - Area Shells |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Area | AreaElem | ShellType | Joint | OutputCase | M11 | M22 | M12 | V13 | V23 |
| Text | Text | Text | Text | Text | Tonf-m/m | Tonf-m/m | Tonf-m/m | Tonf/m | Tonf/m |
| 1931 | 1931 | Shell-Thin | 8 | S.D.1-NL | -0.04466 | -0.00375 | -0.14475 | -0.804 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.1-NL | -0.46406 | -0.01547 | -0.42044 | -0.804 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.1-NL | -0.35724 | 0.00389 | -0.40461 | 0.277 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.1-NL | -0.47179 | 0.01561 | -0.12893 | 0.277 | -0.503 |
| 1931 | 1931 | Shell-Thin | 8 | S.D.1-NL | -0.04466 | -0.00375 | -0.14475 | -0.804 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.1-NL | -0.46406 | -0.01547 | -0.42044 | -0.804 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.1-NL | -0.35724 | 0.00389 | -0.40461 | 0.277 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.1-NL | -0.47179 | 0.01561 | -0.12893 | 0.277 | -0.503 |
| 1931 | 1931 | Shell-Thin | 8 | S.D.2.1-NL | -21.35425 | -1.2566 | 1.11635 | 30.213 | -5.851 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.2.1-NL | -5.58549 | 0.37231 | 2.49516 | 30.213 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.2.1-NL | -6.29904 | -1.43379 | 1.90026 | 25.96 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.2.1-NL | -19.96602 | -4.28106 | 0.52145 | 25.96 | -5.851 |
| 1931 | 1931 | Shell-Thin | 8 | S.D.2.1-NL | -21.35425 | -1.2566 | 1.11635 | 30.213 | -5.851 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.2.1-NL | -5.58549 | 0.37231 | 2.49516 | 30.213 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.2.1-NL | -6.29904 | -1.43379 | 1.90026 | 25.96 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.2.1-NL | -19.96602 | -4.28106 | 0.52145 | 25.96 | -5.851 |
| 1931 | 1931 | Shell-Thin | 8 | S.D.2.2-NL | -21.35425 | -1.2566 | 1.11635 | 30.213 | -5.851 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.2.2-NL | -5.58549 | 0.37231 | 2.49516 | 30.213 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.2.2-NL | -6.29904 | -1.43379 | 1.90026 | 25.96 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.2.2-NL | -19.96602 | -4.28106 | 0.52145 | 25.96 | -5.851 |
|  |  |  |  | Max | -5.58549 | 0.37231 | 2.49516 | 30.213 | -2.37 |
|  |  |  |  | Min | -21.35425 | -4.28106 | -0.42044 | -0.804 | -5.851 |

### 10.3.TEMPRATURE AND SHRINKAGE REINFORCEMENT CONTROL

As used=∅16@200 mm=10.05cm2m

ρused=10.0535×100=0.00335

Smax=K.∅2.ρ=0.67×162×0.00335=1600 mm=160 cm

εT=0.5×T1+T2.α=0.5×28×12×10-6=16.8×10-5

ω=Smax.εt=1600×16.8×10-5=0.268mm

ρcritical=0.82f'cfy=0.823004000=0.00355

ρcal=K.∅.εT2.ω=0.67×16×16.8×10-52×0.268=0.0033>ρcritical=0.0035   NOT ok.

Therefore at lower part of walls used ∅20@200 mm

As used=∅20@200 mm=15.7cm2m

ρused=15.735×100=0.00448

Smax=K.∅2.ρ=0.67×202×0.00448=1495.53 mm=149.5  cm

εT=0.5×T1+T2.α=0.5×28×12×10-6=16.8×10-5

ω=Smax.εt=1495.53×16.8×10-5=0.251 mm

ρcritical=0.82f'cfy=0.823004000=0.00355

ρcal=K.∅.εT2.ω=0.67×20×16.8×10-52×0.251=0.00448>ρcritical=0.00355  ok.

### 10.4.DISTRIBUTION OF FLEXTURAL REINFORCEMENT

According to code 123 section 4-6-1 part 3 :

fs,max=56000βs2+450+db22=560001.35×2002+450+2022=177.85 N/mm2

fs cal=Mserviced.As=0.45×10^520×15.7=143.31Nmm2

According to ACI-350-10.6.5 Maximum allowable reinforcement space is:

Cc=concrete cover in roof slab=7.5 cm

s=min300,94600fs-2.5Cc=min300,94600159.23-2.5*75=300>200

According to code 123 section

z=fs3dc.A=143.31380*200*150=19187<23500  ok

- -Allowable Width Crack (code 123)

- Shear Control Under walls :

Fsoil=12K0γh2=0.5×0.5×1.85×1000×4.42=8954 kg/m

Fw=12γwh2=0.5×1×1000×1×3.42=5780 kg/m

Ft=Fw+Fsoil=14734kgm   in 1 m=   14737 kg=14.734 ton

Vc=0.53fc bw d=0.53300×100×35=32129 kg=32.129 ton in 1 m ≫Ft  ok

According to sap analysis result maximum shear on wall is under critical load combination is a follows :

| Area | AreaElem | OutputCase | F11 | F22 | F12 | M11 | M22 | M12 | V13 | V23 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Text | Text | Text | Kgf/m | Kgf/m | Kgf/m | Kgf-m/m | Kgf-m/m | Kgf-m/m | Kgf/m | Kgf/m |
| 1931 | 1931 | S.D.2.1.3-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.1.3-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.1.3-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.1.3-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.1.3-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.1.3-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.1.3-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.1.3-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.3.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.2.3.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.2.3.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.2.3.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.2.3.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.2.3.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.2.3.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.2.3.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.2.3.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.2.3.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.2.3.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.2.3.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.2.3.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.2.3.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.2.3.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.2.3.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.2.3.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.2.3.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.2.3.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.2.3.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.2.3.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.2.3.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.2.3.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.2.3.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.2.3.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.3.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.3.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.3.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.3.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.3.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.3.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.3.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.4.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.2.4.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.2.4.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.2.4.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.2.4.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.2.4.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.2.4.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.2.4.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.2.4.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.2.4.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.2.4.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.2.4.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.2.4.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.2.4.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.2.4.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.2.4.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.2.4.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.2.4.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.2.4.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.2.4.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.2.4.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.2.4.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.2.4.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.2.4.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.2.4.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.4.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.4.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.4.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.4.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.4.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.4.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.4.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.3.1.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.3.1.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.3.1.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.3.1.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.3.1.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.3.1.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.3.1.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.3.1.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.3.1.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.3.1.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.3.1.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.3.1.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.3.1.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.3.1.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.3.1.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.3.1.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.3.1.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.3.1.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.3.1.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.3.1.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.3.1.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.3.1.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.3.1.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.3.1.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.3.1.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.3.1.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.3.1.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.3.1.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.3.1.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.3.1.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.3.1.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.3.1.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.3.2.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.3.2.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.3.2.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.3.2.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.3.2.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.3.2.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.3.2.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.3.2.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.3.2.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.3.2.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.3.2.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.3.2.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.3.2.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.3.2.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.3.2.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.3.2.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.3.2.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.3.2.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.3.2.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.3.2.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.3.2.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.3.2.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.3.2.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.3.2.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.3.2.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.3.2.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.3.2.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
|  |  | Max: | -47686.8 | 4083.21 | 2484.04 | -5585.49 | 372.69 | 2495.16 | 30229.83 | -2369.82 |
|  |  | min: | -82003.09 | -5111.97 | -15879.19 | -21371.66 | -4283.23 | 493.51 | 25838.9 | -5850.88 |

Maximum shear load is less than shear capacity of wall that is acceptable.

- Uplift Control Under Foundation :

Uwater=γh=3.4×1000=3400kgm2

Uwater=3400×16.8×12.2=696864 kg=696.86 ton

Weight of walls =2500×2×16.8+12.2×0.4×4.4=255200 kg=255.200 ton

Weight of Soil on Foundation=1850×217.2+12.6×0.4×4.2=185236 kg=185.236 ton

Operating weights=35200+5290+2520=43010 kg=43.010 ton

Weight of Foundation=2500×17.8×13.2×0.5=293700kg=293.700ton

Pedestal weights=2500×1.150×0.4×1.7×4+1.23×0.4×1.5×4+0.8×0.5×2.7×4=26000kg=26 ton

Slab weight =  2500×1.5×2.5×0.5=1875 kg

SF=255.200+293.700+43.010+185.236+26+1.875696.86=1.16>1.00 ok