|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **طرح نگهداشت و افزایش تولید 27 مخزن** | | | | | | | |
| **Calculation Note for Close Drain Sump Pit (SU-2201 A)**  **نگهداشت و افزایش تولید میدان نفتی بینک** | | | | | | | |
|  | |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |
| D00 | | SEP.2023 | IFC | R.Berlouie | M.Fakharian | A.M.Mohseni |  |
| **Rev.** | | **Date** | **Purpose of Issue/Status** | **Prepared by:** | **Checked by:** | **Approved by:** | **CLIENT Approval** |
| **Class:2** | | | **COMPANY Doc. Number: F0Z-709127** | | | | |
| **Status:** | | **IDC: Inter-Discipline Check**  **IFC: Issued For Comment**  **IFA: Issued For Approval**  **AFD: Approved For Design**  **AFC: Approved For Construction**  **AFP: Approved For Purchase**  **AFQ:** Approved For Quotation  **IFI: Issued For Information**  **AB-R: As-Built for CLIENT Review**  **AB-A: As-Built –Approved** | | | | | |

**REVISION RECORD SHEET**

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |  | **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |
| **1** | X |  |  |  |  | **66** |  |  |  |  |  |
| **2** | X |  |  |  |  | **67** |  |  |  |  |  |
| **3** | X |  |  |  |  | **68** |  |  |  |  |  |
| **4** | X |  |  |  |  | **69** |  |  |  |  |  |
| **5** | X |  |  |  |  | **70** |  |  |  |  |  |
| **6** | X |  |  |  |  | **71** |  |  |  |  |  |
| **7** | X |  |  |  |  | **72** |  |  |  |  |  |
| **8** | X |  |  |  |  | **73** |  |  |  |  |  |
| **9** | X |  |  |  |  | **74** |  |  |  |  |  |
| **10** | X |  |  |  |  | **75** |  |  |  |  |  |
| **11** | X |  |  |  |  | **76** |  |  |  |  |  |
| **12** | X |  |  |  |  | **77** |  |  |  |  |  |
| **13** | X |  |  |  |  | **78** |  |  |  |  |  |
| **14** | X |  |  |  |  | **79** |  |  |  |  |  |
| **15** | X |  |  |  |  | **80** |  |  |  |  |  |
| **16** | X |  |  |  |  | **81** |  |  |  |  |  |
| **17** | X |  |  |  |  | **82** |  |  |  |  |  |
| **18** | X |  |  |  |  | **83** |  |  |  |  |  |
| **19** | X |  |  |  |  | **84** |  |  |  |  |  |
| **20** | X |  |  |  |  | **85** |  |  |  |  |  |
| **21** | X |  |  |  |  | **86** |  |  |  |  |  |
| **22** | X |  |  |  |  | **87** |  |  |  |  |  |
| **23** | X |  |  |  |  | **88** |  |  |  |  |  |
| **24** |  |  |  |  |  | **89** |  |  |  |  |  |
| **25** |  |  |  |  |  | **90** |  |  |  |  |  |
| **26** |  |  |  |  |  | **91** |  |  |  |  |  |
| **27** |  |  |  |  |  | **92** |  |  |  |  |  |
| **28** |  |  |  |  |  | **93** |  |  |  |  |  |
| **29** |  |  |  |  |  | **94** |  |  |  |  |  |
| **30** |  |  |  |  |  | **95** |  |  |  |  |  |
| **31** |  |  |  |  |  | **96** |  |  |  |  |  |
| **32** |  |  |  |  |  | **97** |  |  |  |  |  |
| **33** |  |  |  |  |  | **98** |  |  |  |  |  |
| **34** |  |  |  |  |  | **99** |  |  |  |  |  |
| **35** |  |  |  |  |  | **100** |  |  |  |  |  |
| **36** |  |  |  |  |  | **101** |  |  |  |  |  |
| **37** |  |  |  |  |  | **102** |  |  |  |  |  |
| **38** |  |  |  |  |  | **103** |  |  |  |  |  |
| **39** |  |  |  |  |  | **104** |  |  |  |  |  |
| **40** |  |  |  |  |  | **105** |  |  |  |  |  |
| **41** |  |  |  |  |  | **106** |  |  |  |  |  |
| **42** |  |  |  |  |  | **107** |  |  |  |  |  |
| **43** |  |  |  |  |  | **108** |  |  |  |  |  |
| **44** |  |  |  |  |  | **109** |  |  |  |  |  |
| **45** |  |  |  |  |  | **110** |  |  |  |  |  |
| **46** |  |  |  |  |  | **111** |  |  |  |  |  |
| **47** |  |  |  |  |  | **112** |  |  |  |  |  |
| **48** |  |  |  |  |  | **113** |  |  |  |  |  |
| **49** |  |  |  |  |  | **114** |  |  |  |  |  |
| **50** |  |  |  |  |  | **115** |  |  |  |  |  |
| **51** |  |  |  |  |  | **116** |  |  |  |  |  |
| **52** |  |  |  |  |  | **117** |  |  |  |  |  |
| **53** |  |  |  |  |  | **118** |  |  |  |  |  |
| **54** |  |  |  |  |  | **119** |  |  |  |  |  |
| **55** |  |  |  |  |  | **120** |  |  |  |  |  |
| **56** |  |  |  |  |  | **121** |  |  |  |  |  |
| **57** |  |  |  |  |  | **122** |  |  |  |  |  |
| **58** |  |  |  |  |  | **123** |  |  |  |  |  |
| **59** |  |  |  |  |  | **124** |  |  |  |  |  |
| **60** |  |  |  |  |  | **125** |  |  |  |  |  |
| **61** |  |  |  |  |  | **126** |  |  |  |  |  |
| **62** |  |  |  |  |  | **127** |  |  |  |  |  |
| **63** |  |  |  |  |  | **128** |  |  |  |  |  |
| **64** |  |  |  |  |  | **129** |  |  |  |  |  |
| **65** |  |  |  |  |  | **130** |  |  |  |  |  |

**CONTENTS**

[1.0 INTRODUCTION 4](#_Toc144807371)

[2.0 Scope 4](#_Toc144807372)

[3.0 CODES, SPECIFICATIONS AND REFERENCE DOCUMENTS 4](#_Toc144807373)

[4.0 MATERIAL PROPERTIES 4](#_Toc144807374)

[4.1.Concrete Grade 4](#_Toc144807375)

[4.2.Reinforcing Steel 4](#_Toc144807376)

[5.0 DESIGN INFORMATIOn 5](#_Toc144807377)

[5.1.Location of the Structure 5](#_Toc144807378)

[6.0 STRUCTURE 3D ANALYSIS MODEL 5](#_Toc144807379)

[7.0 Calculation 6](#_Toc144807380)

[7.1.Method of Design 6](#_Toc144807381)

[8.0 fOUNDATION design load 9](#_Toc144807382)

[9.0 P-Delta Effects 15](#_Toc144807389)

[10.0 ANALYSIS AND DESIGN 15](#_Toc144807390)

[10.1.foundation CONTROLS 15](#_Toc144807391)

[10.2.wall design 17](#_Toc144807392)

[10.3.TEMPRATURE AND SHRINKAGE REINFORCEMENT CONTROL 18](#_Toc144807393)

[10.4.DISTRIBUTION OF FLEXTURAL REINFORCEMENT 19](#_Toc144807394)

[11.0 Shear Control Under walls : 19](#_Toc144807395)

[12.0 Uplift Control Under Foundation : 23](#_Toc144807396)

1. **INTRODUCTION**

Binak oilfield in Bushehr province is a part of the southern oilfields of Iran, is located 20 km northwest of Genaveh city.

With the aim of increasing production of oil from Binak oilfield, an EPC/EPD Project has been defined by NIOC/NISOC and awarded to Petro Iran Development Company (PEDCO). Also PEDCO (as General Contractor) has assigned the EPC-packages of the Project to "Hirgan Energy - Design and Inspection" JV.

1. **Scope**

This report covers the foundation calculation report of the “Close drain sump pit ”. The foundation modelled by “SAP v21.1.0 ” software.

1. **CODES, SPECIFICATIONS AND REFERENCE DOCUMENTS**

The following codes and specifications are adopted in this report:

1. Design and Analysis of Ground Concrete Water Reservoirs No.123
2. ACI 318M-14 “Building Code Requirements for Structural Concrete”
3. INBC Part 6 “Iranian National Building Code, Part 6 (3rd Edition)”
4. INBC Part 9 “Iranian National Building Code, Part 9 (4th Edition)”
5. Iranian Standard No. 2800 “Iranian Code of practice for Seismic Resistant Design of Buildings (Iranian Standard No. 2800, 4th Edition)”
6. **MATERIAL PROPERTIES**

4.1.Concrete Grade

f’c = 30 MPa (Min. compressive characteristic strength at 28 days on cylinder specimen)

4.2.Reinforcing Steel

Deformed High Tensile Strength Steel Bars, Grade III in accordance with ASTM A706 (Fy=4000 kg/cm2) or ASTM A615 Grade 60 (Fy=4000 kg/cm2) and with minimum tensile strength of 6000 kg/cm2 meeting the specific requirements set forth in ACI 318 or approved equivalen


Material properties are delivered in the following table.

table 1 -Material Properties

|  |  |
| --- | --- |
| Foundation Concrete | F'c = 30 Mpa(28- day cylindrical sample) |
| Long. reinforcement bar | Fy = 400 Mpa(AIII) |
| Trans. reinforcement bar | Fy = 400 Mpa(AIII) |
| Bolt Type | HV 8.8 |
| Electrode Type | E 70 |

1. **DESIGN INFORMATIOn**


5.1.Location of the Structure



THIS DRAWING

1. Location of Structure
2. **STRUCTURE 3D ANALYSIS MODEL**

SAP2000 have been used in order to modeling, analyses and design of this structure and its foundation.



1. Structure 3D Model in SAP2000
2. **Calculation**

7.1.Method of Design


structural elements have been designed in two analytical models.

Model One (Main Model): It has been designed with considering the mechanical loads with Friction load. In this case seismic load should be calculated by SAP2000 and the Operation loads are in the mass source.


Model Two (Frictionless Model): It has been designed with considering the mechanical loads without Friction and including the loads with pure seismic load.. In this case operating load has been omitted in mass source .

Data Received from mechanic department is table and loading table for each point as bellow:



|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| V-2201 | Seismic Shear | 4800 (N) | Wind Shear | No need to calculate. | Field Test Weight | 2520 (kg) |
| Seismic Moment | 4242(N.m) | Wind Moment |
| V-2202 | Seismic Shear | 33173 (N) | Wind Shear | No need to calculate. | Field Test Weight | 35200 (kg) |
| Seismic Moment | 50092(N.m) | Wind Moment |
| V-2107 | Seismic Shear | 5280(N) | Wind Shear | No need to calculate. | Field Test Weight | 5290 (kg) |
| Seismic Moment | 4613 (N.m) | Wind Moment |




1. Foundation Formwork Plan(vessels locations)





1. **Mechanical Data sheet Picture for Close Drain Drum (V-2202)**




1. **Fix & Sliding saddle plates for Close Drain Drum (V-2202))**





1. **Mechanical Data Sheet Picture for Flare K.O.Drum(V-2201)**

****

1. **Fix & Sliding saddle plates for Flare K.O.Drum(V-2201)**

****

1. **Mechanical Data Sheet Picture for Glycol Sump Drum (V-2107)**

****

1. **Fix & Sliding saddle plates for Glycol Sump Drum (V-2107)**
2. **fOUNDATION design load**

8.1.Self-Weight (DL)

The self-weight of structural elements (introduced Dead Load/DL in SAP) is automatically considered by SAP program with the specific weights below:

* Reinforced Concrete : 2500 kg/m³

**8.2. Temperature load :**

**8.3.Live load**

For roof distributed load about 200, has been considered for design of structure.

**8.4.Snow loads:**

For roof distributed snow loads 25 , has been considered for design of structure.

**8.5-Seismic Load**

Seismic Loads are calculated according to standard 038.3rd that is summarized in below :

The structure doesn’t have any irregularities and its height is less than 50 m from base level.so, both static equivalent Lateral procedures could be used.

= 𝑊

Where:

= the seismic response coefficient from Equation below:

𝑊 = the effective seismic weight of the structure

This weight includes dead weight of the supporting structure and supported components, plus operational weight of the contents of the components such as tanks, vessels, pipes, etc. In addition, where the snow or ice load is more than 0.25𝑊, it shall be included in 𝑊.

=

Where:

𝑆𝑎= mapped spectral response acceleration parameter (g), determined from hazard analysis.

R= the response modification factor for structure

= the importance factor for structure

Vertical seismic component


The vertical seismic load effect, 𝐸𝑣, shall be determined in accordance with the following Equation :

𝐸𝑣 = 0.2𝐷


= Design, 5% damped, spectral response acceleration parameter (g) at short periods (0.2 sec).

D = effect of dead load

Loads case name: EQZ=0.2×0.75×W=0.15×W (where W=DL+OPR1+OPR FUTURE)




1. X Direction Seismic Load



1. Y Direction Seismic Load

This Earthquake coefficient will apply in SAP2000 model to be multiplied in W (seismic weight of structure) that will compute automatically by SAP2000 software by "mass source multiplier" definition as below:

Dead and Live Load




1. Mass Source

**According to Geotechnical report :**


Soil Type :II

)=

=s



1. Period in X Direction(mode 3 ,T=0.0933)




1. Period in Y Direction(mode 11 ,T=0.0307)

0<T<T0 =0.435

8.6.PURE SEISMIC WEIGHT OF VESSLES (OCCX & OCCY)

This type of loading is pure seismic load of vessels that are considered by mechanic and illustrated in tables and is equal to pure seismic for each point in Frictionless model. Lateral seismic loads is equal to OCCx & OCCy for each middle point in Frictionless model. These types of load in Frictionless Model are shown through the following figures:

****

OCCy

OCCx

OCCx

OCCx

OCCx

OCCy

OCCy

1. Direction of shear loads on saddles

In X direction OCCx with this moment apply in fix and sliding plate however in Y direction

OCCy with this moment only applied in fix position .


8.7.LATERAL OPERATING LOAD DUE TO FRICTION (FRX, FRY)

Thermal displacement due to Operating condition and the friction between vessels and the pedestals, causes lateral forces are given in the model and is equal to 30% of operation load in x & y direction. Friction loads are included in operating loads.

8.8.Wall Design Load

Lateral soil pressure load due to buried soil is applied as follow in two directions:

## 8.8.1.Apply Wall Design Load (SOIL X&Y)



1. **applied Soil pressure**

Calculation of soil pressure in height is as below**:**

K0=0.5

|  |  |  |  |
| --- | --- | --- | --- |
| z= | 0 | Soil pressure(kg/m2): | 4070 |
| z= | 4.4 | Soil pressure(kg/m2): | 0 |

To apply soil pressure on walls with joint pattern uses equation based on above table as follows:

Y=-925z+4070

## 8.8.2.Apply Wall Design Load (SOIL X&Y)


Water pressure is applied from a height of 1 m below the ground level.

|  |  |  |  |
| --- | --- | --- | --- |
| z= | 0 | water pressure(kg/m2): | 1700 |
| z= | 3.4 | Water pressure(kg/m2): | 0 |

Y=-5005z+170

1. **P-Delta Effects**

P-Delta effect on each nonlinear load case has been applied:




1. P-Delta
2. **ANALYSIS AND DESIGN**

### 10.1.foundation CONTROLS

Model analysis is done by Sap 2000 software.in model loads are applied, some graphical

outputs from modeling are shown as follows.:

According to Sap 2000 results Maximum moment for foundation slab is approximately 13.9 ton.m




So for bottom slab is used.

=333333.33


=1.722

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Area** | **AreaElem** | **OutputCase** | **M11** | **M22** | **M12** | **MMin** | **MAngle** | **V13** | **V23** |
| Text | Text | Text | Kgf-m/m | Kgf-m/m | Kgf-m/m | Kgf-m/m | Degrees | Kgf/m | Kgf/m |
| 853 | 853 | S.D.3.4.2-NL | 13940.82 | 11586.91 | 544.8 | 0 | 0 | -28404.2 | -29928.4 |




1. **Foundation Moment (M22) ton.m**


moment capacity is :

****

mm moment capacity is :

****

### 10.2.wall design

****

1. **M max under critical load combination on wall 1 (ton.m)**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **TABLE: Element Forces - Area Shells** | | | | | | | | | |
| **Area** | **AreaElem** | **ShellType** | **Joint** | **OutputCase** | **M11** | **M22** | **M12** | **V13** | **V23** |
| Text | Text | Text | Text | Text | Tonf-m/m | Tonf-m/m | Tonf-m/m | Tonf/m | Tonf/m |
| 1931 | 1931 | Shell-Thin | 8 | S.D.1-NL | -0.04466 | -0.00375 | -0.14475 | -0.804 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.1-NL | -0.46406 | -0.01547 | -0.42044 | -0.804 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.1-NL | -0.35724 | 0.00389 | -0.40461 | 0.277 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.1-NL | -0.47179 | 0.01561 | -0.12893 | 0.277 | -0.503 |
| 1931 | 1931 | Shell-Thin | 8 | S.D.1-NL | -0.04466 | -0.00375 | -0.14475 | -0.804 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.1-NL | -0.46406 | -0.01547 | -0.42044 | -0.804 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.1-NL | -0.35724 | 0.00389 | -0.40461 | 0.277 | -0.503 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.1-NL | -0.47179 | 0.01561 | -0.12893 | 0.277 | -0.503 |
| 1931 | 1931 | Shell-Thin | 8 | S.D.2.1-NL | -21.35425 | -1.2566 | 1.11635 | 30.213 | -5.851 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.2.1-NL | -5.58549 | 0.37231 | 2.49516 | 30.213 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.2.1-NL | -6.29904 | -1.43379 | 1.90026 | 25.96 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.2.1-NL | -19.96602 | -4.28106 | 0.52145 | 25.96 | -5.851 |
| 1931 | 1931 | Shell-Thin | 8 | S.D.2.1-NL | -21.35425 | -1.2566 | 1.11635 | 30.213 | -5.851 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.2.1-NL | -5.58549 | 0.37231 | 2.49516 | 30.213 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.2.1-NL | -6.29904 | -1.43379 | 1.90026 | 25.96 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.2.1-NL | -19.96602 | -4.28106 | 0.52145 | 25.96 | -5.851 |
| 1931 | 1931 | Shell-Thin | 8 | S.D.2.2-NL | -21.35425 | -1.2566 | 1.11635 | 30.213 | -5.851 |
| 1931 | 1931 | Shell-Thin | 1647 | S.D.2.2-NL | -5.58549 | 0.37231 | 2.49516 | 30.213 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1648 | S.D.2.2-NL | -6.29904 | -1.43379 | 1.90026 | 25.96 | -2.37 |
| 1931 | 1931 | Shell-Thin | 1635 | S.D.2.2-NL | -19.96602 | -4.28106 | 0.52145 | 25.96 | -5.851 |
|  |  |  |  | Max | -5.58549 | 0.37231 | 2.49516 | 30.213 | -2.37 |
|  |  |  |  | Min | -21.35425 | -4.28106 | -0.42044 | -0.804 | -5.851 |

### 10.3.TEMPRATURE AND SHRINKAGE REINFORCEMENT CONTROL

Therefore at lower part of walls used


### 10.4.DISTRIBUTION OF FLEXTURAL REINFORCEMENT

According to code 123 section 4-6-1 part 3 :

According to ACI-350-10.6.5 Maximum allowable reinforcement space is:

=min

According to code 123 section



1. **-Allowable Width Crack (code 123)**
2. **Shear Control Under walls :**

According to sap analysis result maximum shear on wall is under critical load combination is a follows :

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Area** | **AreaElem** | **OutputCase** | **F11** | **F22** | **F12** | **M11** | **M22** | **M12** | **V13** | **V23** |
| Text | Text | Text | Kgf/m | Kgf/m | Kgf/m | Kgf-m/m | Kgf-m/m | Kgf-m/m | Kgf/m | Kgf/m |
| 1931 | 1931 | S.D.2.1.3-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.1.3-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.1.3-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.1.3-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.1.3-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.1.3-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.1.3-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.1.3-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.3.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.2.3.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.2.3.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.2.3.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.2.3.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.2.3.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.2.3.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.2.3.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.2.3.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.2.3.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.2.3.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.2.3.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.2.3.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.2.3.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.2.3.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.2.3.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.2.3.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.2.3.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.2.3.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.2.3.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.2.3.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.2.3.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.2.3.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.2.3.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.2.3.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.3.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.3.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.3.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.3.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.3.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.3.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.3.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.4.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.2.4.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.2.4.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.2.4.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.2.4.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.2.4.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.2.4.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.2.4.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.2.4.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.2.4.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.2.4.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.2.4.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.2.4.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.2.4.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.2.4.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.2.4.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.2.4.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.2.4.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.2.4.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.2.4.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.2.4.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.2.4.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.2.4.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.2.4.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.2.4.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.4.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.4.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.4.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.2.4.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.2.4.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.2.4.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.2.4.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.3.1.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.3.1.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.3.1.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.3.1.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.3.1.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.3.1.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.3.1.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.3.1.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.3.1.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.3.1.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.3.1.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.3.1.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.3.1.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.3.1.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.3.1.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.3.1.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.3.1.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.3.1.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.3.1.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.3.1.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.3.1.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.3.1.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.3.1.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.3.1.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.3.1.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.3.1.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.3.1.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.3.1.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.3.1.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.3.1.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.3.1.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.3.1.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.3.2.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.3.2.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.3.2.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.3.2.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.3.2.1-NL | -81786.75 | -5047.82 | -6829.11 | -21354.25 | -1256.6 | 1116.35 | 30213.24 | -5850.88 |
| 1931 | 1931 | S.D.3.2.1-NL | -81302.37 | -2625.92 | 2484.04 | -5585.49 | 372.31 | 2495.16 | 30213.24 | -2369.82 |
| 1931 | 1931 | S.D.3.2.1-NL | -47775.92 | 4079.37 | -6541.57 | -6299.04 | -1433.79 | 1900.26 | 25959.65 | -2369.82 |
| 1931 | 1931 | S.D.3.2.1-NL | -48260.3 | 1657.47 | -15854.72 | -19966.02 | -4281.06 | 521.45 | 25959.65 | -5850.88 |
| 1931 | 1931 | S.D.3.2.2-NL | -82003.09 | -5111.97 | -6897.75 | -21300.2 | -1255.57 | 1086.24 | 30084.76 | -5808.89 |
| 1931 | 1931 | S.D.3.2.2-NL | -81515.19 | -2672.49 | 2396.83 | -5598 | 371.71 | 2460.91 | 30084.76 | -2373.82 |
| 1931 | 1931 | S.D.3.2.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.3.2.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.3.2.2-NL | -47754.7 | 4079.61 | -6584.61 | -6306.84 | -1432.86 | 1868.19 | 25852.42 | -2373.82 |
| 1931 | 1931 | S.D.3.2.2-NL | -48242.6 | 1640.12 | -15879.19 | -19917.77 | -4262.41 | 493.51 | 25852.42 | -5808.89 |
| 1931 | 1931 | S.D.3.2.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.3.2.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.3.2.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.3.2.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.3.2.3-NL | -81842.08 | -5093.28 | -6875.28 | -21282.78 | -1254.2 | 1090.08 | 30068.16 | -5809.36 |
| 1931 | 1931 | S.D.3.2.3-NL | -81355 | -2657.87 | 2408.09 | -5589.34 | 371.33 | 2463.4 | 30068.16 | -2370.75 |
| 1931 | 1931 | S.D.3.2.3-NL | -47686.8 | 4075.77 | -6575.12 | -6297.95 | -1431.21 | 1871.07 | 25838.9 | -2370.75 |
| 1931 | 1931 | S.D.3.2.3-NL | -48173.88 | 1640.36 | -15858.49 | -19901.64 | -4260.24 | 497.75 | 25838.9 | -5809.36 |
| 1931 | 1931 | S.D.3.2.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
| 1931 | 1931 | S.D.3.2.4-NL | -81462.56 | -2640.54 | 2472.78 | -5594.15 | 372.69 | 2492.67 | 30229.83 | -2372.89 |
| 1931 | 1931 | S.D.3.2.4-NL | -47843.82 | 4083.21 | -6551.06 | -6307.94 | -1435.44 | 1897.38 | 25973.16 | -2372.89 |
| 1931 | 1931 | S.D.3.2.4-NL | -48329.01 | 1657.24 | -15875.42 | -19982.15 | -4283.23 | 517.21 | 25973.16 | -5850.41 |
| 1931 | 1931 | S.D.3.2.4-NL | -81947.76 | -5066.51 | -6851.58 | -21371.66 | -1257.97 | 1112.51 | 30229.83 | -5850.41 |
|  |  | Max: | -47686.8 | 4083.21 | 2484.04 | -5585.49 | 372.69 | 2495.16 | 30229.83 | -2369.82 |
|  |  | min: | -82003.09 | -5111.97 | -15879.19 | -21371.66 | -4283.23 | 493.51 | 25838.9 | -5850.88 |

Maximum shear load is less than shear capacity of wall that is acceptable.

1. **Uplift Control Under Foundation :**

Weight of walls =

Weight of Soil on Foundation=

Operating weights=

Weight of Foundation=

Pedestal weights=

Slab weight =