## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-PR-LI-0006 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1819 |  |  | Transmital Date: 1/23/2023
Document Title: Utility Consumption List |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-PR-TR-1819 |  |  | Transmital Date: 1/23/2023
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-PR-LI-0006_D03 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | میزان Fuel Oil Consumption مصرفی جهت رقیق سازی ماده بازدارنده خوردگی در فاز گاز میبایست بروز رسانی گردد. |  | 1402-2294-228175 | 1402/06/08 | اصلاح گردید.
2 | میزان نیتروژن مورد نیاز جهت هر ردیف کمپرسور می بایست با استعلامات سازنده یکسان باشد. |  | 1402-2294-228175 | 1402/06/08 | میزان مصرف نیتروژن مطابق با مدرک UTILITY CONSUMPTION LIST سازنده کمپرسور به شماره مدرک "BK-GCS-HY-120-PR-LI-0001" در نظر گرفته شده است.
3 | میزان مصرف آب آشامیدنی مصرفی مطابق نامه 171774 تنظیم گردد. |  | 1402-2294-228175 | 1402/06/08 | مطابق توافق صورت گرفته با آن کارفرمای محترم میزان مصرف آب آشامیدنی برابر با 100 lit./day per person در نظر گرفته شده است که مورد تایید قرار گرفت. لازم به ذکر است نامه شماره 171774 در خصوص عدم حذف تانک آب آشامیدنی به این پیمانکار ارسال شده است.
4 | مبنای مصرف هوای ابزار دقیق جهت هر ردیف کمپرسور بیان گردد. |  | 1402-2294-228175 | 1402/06/08 | رجوع شود به پاسخ بند 2 فوق
5 | مبنای مصرف هوای ابزار دقیق جهت Air Cooler بیان گردد. |  | 1402-2294-228175 | 1402/06/08 | میزان مصرف هوای ابزار دقیق بر اساس آخرین اطلاعات دریافتی از سازندگان تجهیز مذکور در نظر گرفته شده است که پس از مشخص شدن سازنده منتخب نهایی خواهد شد.
6 | مبنای مصرف گاز مصرفی برای Ignation Panel بیان گردد. |  | 1402-2294-228175 | 1402/06/08 | میزان مصرف هوای ابزار دقیق بر اساس آخرین اطلاعات دریافتی از سازندگان تجهیز مذکور در نظر گرفته شده است که پس از مشخص شدن سازنده منتخب نهایی خواهد شد.
.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: 24/08/2021

## Sheet3
33.99