## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-W007S-PEDCO-110-PR-DP-0001 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1860 |  |  | Transmital Date: 2/13/2023
Document Title: Process Description - Extension of Binak B/C Manifold |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-PR-TR-1860 |  |  | Transmital Date: 2/13/2023
[5 empty] | CRS No: PEDCO-CRS-BK-W007S-PEDCO-110-PR-DP-0001_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | لازم است در بخش 5 (Utility Descreaption) توضیحات مربوط به گاز مورد استفاده (Instrument Air) جهت کنترل شیرهای کنترلی و ESDV چندراهه مدرک اضافه گردد. |  | 1401-2294-489461 | 1401/12/22 | اعمال گردید.
2 | توضیحات مربوط به نحوه کارکرد شیرهای کنترلی و ESDV در مدرک اضافه گردد. |  | 1401-2294-489461 | 1401/12/22 | اعمال گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: