## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No:BK-GCS-PEDCO-120-AR-DW-0004 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2380 |  |  | Transmital Date:2023/09/20
Document Title: Architectural Drawing For Chemical Inj. Packages/Chemical Storage Shelter |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-AR-T-2380 |  |  | Transmital Date: 2023/09/20
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-AR-DW-0004_D05 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | نامگذاری و شماره گذاری فضاهای موجود- فضای پکیج تجهیز فضای سکو- درج گردد. |  | 1402-2294-304220 | 1402/08/02 | نامگذاری و شماره گذاری درج گردید.
2 | محل نصب پکیج تزریق در پلان به همراه ترنچ ها / داکت بانکهای مربوطه لحاظ گردد. |  | 1402-2294-304220 | 1402/08/02 | طبق نظر بخش برق هیچگونه ترنچ و داکت بانک به داخل لحاظ نمی گردد.
22 | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
23
24 | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
25 | Commented By: | Signature |  |  |  | Clarified By: | Signature
26
Legend | Date: |  |  |  |  | Date:
Signature