| طرح نگهداشت و افزایش تولید 27 مخزن |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| DATA SHEET FOR SAFETY SIGN نگهداشت و افزایش تولید میدان نفتی بینک |  |  |  |  |  |  |
| D02 | NOV. 2023 | AFC | A.Saber | M.Fakharian | S.Faramarzpour |  |
| D01 | OCT. 2022 | IFA | A.Saber | M.Fakharian | Sh.Ghalikar |  |
| D00 | SEP. 2021 | IFC | M.Asgharnejad | M.Fakharian | Sh.Ghalikar |  |
| Rev. | Date | Purpose of Issue/Status | Prepared by: | Checked by: | Approved by: | CLIENT Approval |
| Class:1 |  | CLIENT Doc. Number: F0Z-708993 |  |  |  |  |
| Status: | IDC: Inter-Discipline Check IFC: Issued For Comment IFA: Issued For Approval AFD: Approved For Design AFC: Approved For Construction AFP: Approved For Purchase AFQ: Approved For Quotation IFI: Issued For Information AB-R: As-Built for COMPANY Review AB-A: As-Built –Approved |  |  |  |  |  |

REVISION RECORD SHEET

| PAGE | D00 | D01 | D02 | D03 | D04 |  | PAGE | D00 | D01 | D02 | D03 | D04 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | X | X | X |  |  |  | 66 |  |  |  |  |  |
| 2 | X | X | X |  |  |  | 67 |  |  |  |  |  |
| 3 | X | X |  |  |  |  | 68 |  |  |  |  |  |
| 4 | X | X |  |  |  |  | 69 |  |  |  |  |  |
| 5 | X | X |  |  |  |  | 70 |  |  |  |  |  |
| 6 | X | X |  |  |  |  | 71 |  |  |  |  |  |
| 7 | X | X |  |  |  |  | 72 |  |  |  |  |  |
| 8 | X | X |  |  |  |  | 73 |  |  |  |  |  |
| 9 | X | X |  |  |  |  | 74 |  |  |  |  |  |
| 10 | X | X |  |  |  |  | 75 |  |  |  |  |  |
| 11 | X | X |  |  |  |  | 76 |  |  |  |  |  |
| 12 | X | X |  |  |  |  | 77 |  |  |  |  |  |
| 13 | X | X |  |  |  |  | 78 |  |  |  |  |  |
| 14 | X | X |  |  |  |  | 79 |  |  |  |  |  |
| 15 | X | X |  |  |  |  | 80 |  |  |  |  |  |
| 16 | X | X |  |  |  |  | 81 |  |  |  |  |  |
| 17 | X | X |  |  |  |  | 82 |  |  |  |  |  |
| 18 | X | X |  |  |  |  | 83 |  |  |  |  |  |
| 19 | X | X |  |  |  |  | 84 |  |  |  |  |  |
| 20 | X | X |  |  |  |  | 85 |  |  |  |  |  |
| 21 | X | X |  |  |  |  | 86 |  |  |  |  |  |
| 22 | X | X |  |  |  |  | 87 |  |  |  |  |  |
| 23 | X | X |  |  |  |  | 88 |  |  |  |  |  |
| 24 | X | X |  |  |  |  | 89 |  |  |  |  |  |
| 25 | X | X |  |  |  |  | 90 |  |  |  |  |  |
| 26 | X | X |  |  |  |  | 91 |  |  |  |  |  |
| 27 | X | X |  |  |  |  | 92 |  |  |  |  |  |
| 28 | X | X |  |  |  |  | 93 |  |  |  |  |  |
| 29 | X | X |  |  |  |  | 94 |  |  |  |  |  |
| 30 | X | X |  |  |  |  | 95 |  |  |  |  |  |
| 31 | X | X |  |  |  |  | 96 |  |  |  |  |  |
| 32 | X | X |  |  |  |  | 97 |  |  |  |  |  |
| 33 | X | X |  |  |  |  | 98 |  |  |  |  |  |
| 34 | X | X |  |  |  |  | 99 |  |  |  |  |  |
| 35 | X | X |  |  |  |  | 100 |  |  |  |  |  |
| 36 | X | X |  |  |  |  | 101 |  |  |  |  |  |
| 37 | X | X |  |  |  |  | 102 |  |  |  |  |  |
| 38 | X | X |  |  |  |  | 103 |  |  |  |  |  |
| 39 |  | X |  |  |  |  | 104 |  |  |  |  |  |
| 40 |  | X |  |  |  |  | 105 |  |  |  |  |  |
| 41 |  | X |  |  |  |  | 106 |  |  |  |  |  |
| 42 |  | X |  |  |  |  | 107 |  |  |  |  |  |
| 43 |  | X |  |  |  |  | 108 |  |  |  |  |  |
| 44 |  | X |  |  |  |  | 109 |  |  |  |  |  |
| 45 |  | X |  |  |  |  | 110 |  |  |  |  |  |
| 46 |  |  |  |  |  |  | 111 |  |  |  |  |  |
| 47 |  |  |  |  |  |  | 112 |  |  |  |  |  |
| 48 |  |  |  |  |  |  | 113 |  |  |  |  |  |
| 49 |  |  |  |  |  |  | 114 |  |  |  |  |  |
| 50 |  |  |  |  |  |  | 115 |  |  |  |  |  |
| 51 |  |  |  |  |  |  | 116 |  |  |  |  |  |
| 52 |  |  |  |  |  |  | 117 |  |  |  |  |  |
| 53 |  |  |  |  |  |  | 118 |  |  |  |  |  |
| 54 |  |  |  |  |  |  | 119 |  |  |  |  |  |
| 55 |  |  |  |  |  |  | 120 |  |  |  |  |  |
| 56 |  |  |  |  |  |  | 121 |  |  |  |  |  |
| 57 |  |  |  |  |  |  | 122 |  |  |  |  |  |
| 58 |  |  |  |  |  |  | 123 |  |  |  |  |  |
| 59 |  |  |  |  |  |  | 124 |  |  |  |  |  |
| 60 |  |  |  |  |  |  | 125 |  |  |  |  |  |
| 61 |  |  |  |  |  |  | 126 |  |  |  |  |  |
| 62 |  |  |  |  |  |  | 127 |  |  |  |  |  |
| 63 |  |  |  |  |  |  | 128 |  |  |  |  |  |
| 64 |  |  |  |  |  |  | 129 |  |  |  |  |  |
| 65 |  |  |  |  |  |  | 130 |  |  |  |  |  |

CONTENTS

1.0	INTRODUCTION	4

2.0	Scope	4

2.1	Codes and Standards	5

2.2	The Project Documents	5

2.3	ENVIRONMENTAL DATA	5

3.0	SAFETY SIGNS	6

4.0	CERTIICATION	40

5.0	NAME PLATE	45

6.0	INSPECTION AND TESTING	45

- INTRODUCTION

Binak oilfield in Bushehr province is a part of the southern oilfields of Iran, is located 20 km northwest of Genaveh city.

With the aim of increasing production of oil from Binak oilfield, an EPC/EPD Project has been defined by NIOC/NISOC and awarded to Petro Iran Development Company (PEDCO). Also PEDCO (as General Contractor) has assigned the EPC-packages of the Project to "Hirgan Energy - Design and Inspection" JV.

As a part of the Project, a New Gas Compressor Station (adjacent to existing Binak GCS) shall be constructed to gather of 15 MMSCFD (approx.) associated gases and compress & transfer them to Siahmakan GIS.

GENERAL DEFINITION

The following terms shall be used in this document.

| CLIENT: | National Iranian South Oilfields CLIENT (NISOC) |
| --- | --- |
| PROJECT: | Binak Oilfield Development – Surface Fcilities; New Gas Compressor Station |
| EPD/EPC CONTRACTOR (GC): | Petro Iran Development Company (PEDCO) |
| EPC CONTRACTOR: | Joint Venture of : Hirgan Energy – Design & Inspection (D&I) Companies |
| VENDOR: | The firm or person who will fabricate the equipment or material. |
| EXECUTOR: | Executor is the party which carries out all or part of construction and/or commissioning for the project. |
| THIRD PARTY INSPECTOR (TPI): | The firm appointed by EPD/EPC CONTRACTOR (GC) and approved by COMPANY (in writing) for the inspection of goods. |
| SHALL: | Is used where a provision is mandatory. |
| SHOULD: | Is used where a provision is advisory only. |
| WILL: | Is normally used in connection with the action by COMPANY rather than by an EPC/EPD CONTRACTOR, supplier or VENDOR. |
| MAY: | Is used where a provision is completely discretionary. |

- Scope

This document covers minimum necessary requirements for the design, selection, manufacture, 
inspection, testing and delivery of safety sign.

It shall be used in conjunction with data/requisition sheets for present document subject.

NORMATIVE REFERENCES

## Codes and Standards

- NFPA 170                  	Standard for Fire Safety & emergency Symbols

- BS 5378-2	Safety Signs and Colours

## The Project Documents

- BK-GNRL-PEDCO-000-PR-DB-0001	       Process Basis of Design

- BK-GNRAL-PEDCO-000-SA-SP-0008	       Specification for Safety Sign

## ENVIRONMENTAL DATA

Refer to "Process Basis of Design; Doc. No. BK-GNRL-PECO-000-PR-DB-0001".

- SAFETY SIGNS

| استفاده از عینک ایمنی الزامیست |  |  |  |
| --- | --- | --- | --- |
|  | PARAMETER | REQUIREMENT |  |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Wear Eye Protection |  |
| 3 | Description in Farsi | استفاده از عینک ایمنی الزامیست |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight(g): BY VENDOR |  | Color : Blue |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

| استفاده از گوشی ایمنی الزامیست |  |  |  |
| --- | --- | --- | --- |
|  | PARAMETER | REQUIREMENT |  |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Wear Ear Protection |  |
| 3 | Description in Farsi | استفاده از گوشی ایمنی الزامیست |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Blue |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Wear Head protection |  |
| 3 | Description in Farsi | استفاده از کلاه ایمنی الزامیست |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Blue |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | CO2 TOTAL FLOODING SYSTEM |  |
| 3 | Description in Farsi | گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود،در صورت شنیدن زنگ خطر، فورا این مکان را ترک کنید. |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : white |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

This sign will be provided by Total flooding vendor.

گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود،
در صورت شنیدن زنگ خطر، فورا این مکان را ترک کنید.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | CO2 TOTAL FLOODING SYSTEM |  |
| 3 | Description in Farsi | گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود، در صورت شنیدن زنگ خطر،تا قبل از تخلیه کامل گاز وارد نشوید. |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : white |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

This sign will be provided by Total flooding vendor.

گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود،
در صورت شنیدن زنگ خطر،تا قبل از تخلیه کامل گاز وارد نشوید.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | CO2 TOTAL FLOODING SYSTEM |  |
| 3 | Description in Farsi | گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود، در صورت شنیدن زنگ خطر یا استشمام بوی گاز،تا قبل از تخلیه کامل گاز وارد نشوید. |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : white |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

This sign will be provided by Total flooding vendor.

گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود،
در صورت شنیدن زنگ خطر یا استشمام بوی گاز،تا قبل از تخلیه کامل گاز وارد نشوید.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | CO2 TOTAL FLOODING SYSTEM |  |
| 3 | Description in Farsi | تخلیه گازکربن دی اکسید در نزدیکی می تواند منجر به آلوده شدن این مکان شود. در صورت شنیدن زنگ خطر،تا قبل از تخلیه کامل گاز وارد نشوید.گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود، |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : white |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

This sign will be provided by Total flooding vendor.

تخلیه گازکربن دی اکسید در نزدیکی می تواند منجر به آلوده شدن این مکان شود. در صورت شنیدن زنگ خطر،تا قبل از تخلیه کامل گاز وارد نشوید.گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود،

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | CO2 TOTAL FLOODING SYSTEM |  |
| 3 | Description in Farsi | گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود. قبل از ورود ،گاز را تخلیه کنید. این محل پتانسیل تجمع بالای گاز کربن دی اکسید را دارد و می تواند باعث خفگی شود. |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : white |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

This sign will be provided by Total flooding vendor.

گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود.  قبل از ورود ،گاز را  تخلیه کنید. این محل پتانسیل تجمع بالای گاز کربن دی اکسید را دارد و می تواند باعث خفگی شود.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | CO2 TOTAL FLOODING SYSTEM |  |
| 3 | Description in Farsi | گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود. فعال شدن این دستگاه باعث تخلیه گاز کربن دی اکسید می شود. قبل از فعال شدن سیستم ، مطمئن شوید پرسنل از این ناحیه خارج شده اند. |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : white |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

This sign will be provided by Total flooding vendor.

گازکربن دی اکسید ممکن است باعث آسیب یا مرگ شود.  فعال شدن این دستگاه باعث تخلیه گاز کربن دی اکسید می شود. قبل از فعال شدن سیستم ، مطمئن شوید پرسنل از این ناحیه خارج شده اند.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | DANGER HIGH VOLTAGE |  |
| 3 | Description in Farsi | خطر برق فشار قوی |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Yellow |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Fire Hose Box |  |
| 3 | Description in Farsi | محفظه شلنگ آتش نشانی |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Red |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

محفظه شلنگ آتش نشانی

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | FIRE HYDRANT |  |
| 3 | Description in Farsi | شیر آتش نشانی |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Red |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

شیرآتش نشانی

|  | PARAMETER | REQUIREMENT |
| --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |
| 2 | Description in English | FIRE HYDRANT MONITOR |
| 3 | Description in Farsi | مانیتور آتش نشانی |
| 4 | Pictogram | Yes |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |
| 6 | Quantity Total : As Per MTO |  |
| 7 | Weight (g): BY VENDOR VENDOR VENDOR VENDOR | Color : Red |
| 8 | Material: Aluminum 3mm |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

مانیتورآتش نشانی

|  | PARAMETER | REQUIREMENT |
| --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |
| 2 | Description in English | Fire EXTINGUISHER |
| 3 | Description in Farsi | کپسول آتش نشانی |
| 4 | Pictogram | Yes |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |
| 6 | Quantity Total : As Per MTO |  |
| 7 | Weight (g): BY VENDOR | Color : Red |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |
| --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |
| 2 | Description in English | PORTABLE DRY CHEMICAL EXTINGUISHER |
| 3 | Description in Farsi | خاموش کننده مواد شیمیایی خشک |
| 4 | Pictogram | Yes |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |
| 6 | Quantity Total : As Per MTO |  |
| 7 | Weight (g): BY VENDOR | Color : Red |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |
| --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |
| 2 | Description in English | PORTABLE CO2 EXTINGUISHER |
| 3 | Description in Farsi | کپسول کربن دی اکسید قابل حمل |
| 4 | Pictogram | Yes |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |
| 6 | Quantity Total : As Per MTO |  |
| 7 | Weight (g): BY VENDOR | Color : Red |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Wheeled Dry Chemical Extinguisher (PET) |  |
| 3 | Description in Farsi | خاموش کننده پودر خشک چرخدار |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Red |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Fire Alarm call Station |  |
| 3 | Description in Farsi | شاسی اعلام حریق |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Red |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Wheeled CO2 Extinguisher (CET) |  |
| 3 | Description in Farsi | خاموش کننده CO2 چرخدار |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Red |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Exit - Right |  |
| 3 | Description in Farsi | خروج - راست |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Green |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Exit - Left |  |
| 3 | Description in Farsi | خروج - چپ |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Green |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Emergency Exit |  |
| 3 | Description in Farsi | درب خروج اضطراری |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Green |
| 8 | Material: rigid PVC plastic 3 mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Way to Muster point |  |
| 3 | Description in Farsi | به طرف محل تجمع ایمن |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Green |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Assembly point |  |
| 3 | Description in Farsi | محل تجمع ایمن |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Green |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Breathing Apparatus |  |
| 3 | Description in Farsi | تجهیزات تنفسی |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Green |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |  |
| --- | --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |  |
| 2 | Description in English | First Aid Kit |  |  |
| 3 | Description in Farsi | کمک های اولیه |  |  |
| 4 | Pictogram | Yes |  |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |  |
| 6 | Quantity Total : As Per MTO |  |  |  |
| 7 | Weight (g): BY VENDOR |  |  | Color : Green |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Emergency Shower |  |
| 3 | Description in Farsi | دوش اضطراری |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Green |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | No Smoking Matches or Open Flames |  |
| 3 | Description in Farsi | روشن کردن آتش ممنوع |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : White/Red |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

روشن کردن آتش ممنوع

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Hazardous Chemicals |  |
| 3 | Description in Farsi | مواد شیمیایی خطرناک |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : RED/BLACK |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

مواد شیمیایی خطرناک

|  | PARMETER | REQUIREMENT |
| --- | --- | --- |
| 1 | Code/ Equipment name | P1 / Authorized Personnel Only |
| 2 | Make/ Code : | VTA |
| 3 | Description in English | No Unauthorized entry |
| 4 | Description in Farsi | ورود غیر مجاز ممنوع |
| 5 | Pictogram | No |
| 6 | Dimensions ( cm ) | 25x35 - VTC |
| 7 | Quantity Total : As Per MTO |  |
| 8 | Weight (g) : VTA | Color : RED |
| 9 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARMETER | REQUIREMENT |
| --- | --- | --- |
| 1 | Code/ Eqipment name | F02/ Fireman’s Cabinet |
| 2 | Make/ Code : | VTA |
| 3 | Description in English | Fireman’s Cabinet |
| 4 | Description in Farsi | كابینت مامور آتش نشاني |
| 5 | Pictogram | Yes |
| 6 | Dimensions ( cm ) | 25x35 - VTC |
| 7 | Quantity Total : As Per MTO |  |
| 8 | Weight (g) : VTA | Color : Red |
| 9 | Material: rigid PVC plastic 3 mm |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Fire Shed |  |
| 3 | Description in Farsi | سایبان آتش نشانی |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Red |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

سایبان آتـــش نشـانی

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Allowable Speed |  |
| 3 | Description in Farsi | سرعت مجاز |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color :Yellow |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

- Allowable speed (up to 20 kilometers inside the factory)

سرعت بالای 20 کیلومتر بر ساعت ممنوع

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Emergency Eye Wash |  |
| 3 | Description in Farsi | چشم شوی اضطراری |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Green |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Fire Shed List |  |
| 3 | Description in Farsi | لیست اقلام سایبان آتش نشانی |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | VTA |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Red |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

لیست اقلام:

| List of equipment inside Fire Shed |  |
| --- | --- |
| Item | QTY |
| 2 ½ “Hoses 25 m. in length | 10 |
| Foam Container Wrench | 1 |
| pick up tube + in line inductor (450LPM) | 2 |
| Nozzles 10x ,(foam maker nozzle) | 2 |
| Concentrate Foam (FP 3%) containers -PVC (100 lit.) | 5 |
| Dry chemical powder wheeled extinguisher 75 kg | 2 |
| Dry chemical powder portable extinguisher 12 kg | 6 |
| CO2 wheeled extinguisher 5 kg | 2 |
| Foam Barrel Trailer | 1 |
| Portable fire water monitor(2000LPM) | 1 |
| Water nozzles with three status (fog/jet/stop) | 2 |

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Wear Personal Safety Equipment |  |
| 3 | Description in Farsi | استفاده از تجهیزات حفاظت فردی الزامیست |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 40x30 - VTC |  |
| 6 | Quantity Total : As per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Blue |
| 8 | Material: Aluminum 3mm (outdoor), rigid PVC plastic 3 mm (indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Toxic Gas- H2S |  |
| 3 | Description in Farsi | خطر وجود گاز سمی سولفید هیدروژن |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Yellow |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

خطر وجود گاز سمی سولفید هیدروژن

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Station Bill |  |
| 3 | Description in Farsi | تابلوی ایمنی ورود سایت |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 80x100 - VTC |  |
| 6 | Quantity Total : As per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : VTA |
| 8 | Material: Aluminum 3mm |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

|  | PARAMETER | REQUIREMENT |  |
| --- | --- | --- | --- |
| 1 | Make/ Code : | VTA / TBA |  |
| 2 | Description in English | Safety Data Sheet |  |
| 3 | Description in Farsi | برگه فنی مواد خطرناک |  |
| 4 | Pictogram | Yes |  |
| 5 | Dimensions ( Cm ) | 25x35 - VTC |  |
| 6 | Quantity Total : As Per MTO |  |  |
| 7 | Weight (g): BY VENDOR |  | Color : Yellow |
| 8 | Material: Galvanized plate with color-resistible sunlight(outdoor), rigid luminous(indoor) |  |  |

NOTE: ALL SIGNS SHALL BE FLUORESCENT TYPE.

برگه فنی مواد خطرناک

- CERTIICATION

The VENDOR shall provide quality records appropriate to all inspection and test activities.

The records shall be referenced against appropriate activities within the inspection and test plan.

- NAME PLATE

Safety sign items shall be supplied fitted with a stainless steel nameplate. The VENDOR shall submit Nameplate Drawings for approval. The drawings shall show the proposed material, dimensions, thickness, and content.

- INSPECTION AND TESTING

The equipment shall be subject to inspection at all stages of manufacture by the CONTRACTOR'S inspector.

Access shall be made available to the CONTRACTOR'S representatives at any time during the manufacture of the equipment. For all witnessed tests VENDOR shall give the CONTRACTOR the agreed notice period.

Inspection and witnessed tests by the CONTRACTOR and third parties shall not relieve VENDOR of any guarantees, responsibilities or obligations to provide satisfactory equipment.