## TBE for Tube & Fitting
NISOC |  | نگهداشت و افزایش تولید میدان نفتی بینک فعالیتهای رو زمینی در بستههای کاری تحتالارض ساخت موقعیت چاه، تأسیسات سرچاهی، خطوط جرياني و مربوط به موقعیت W028
TBE/TBA FOR INSTRUMENT BULK ITEMS - W028
شماره پیمان: |  | پروژه | بسته کاری | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال | نسخه | شماره صفحه: 1 از 1
9184 – 073 - 053 |  | BK | W028 | PEDCO | 110 | IN | TB | 0003 | D02
TBE FOR INSTRUMENT TUBE & FITTINGS
ITEM | DESCRIPTION | REQUIREMENT |  |  | VENDORS
[5 empty] | پارس رگولاتور |  | سیحان سیال |  | کارن تجهیز کارا
GENERAL
1 | Quotation Reference/Date | According to vendor's proposal |  |  | MT-001-D00 Dated 00-10-12 |  | 14010108 dated 1401/01/27 |  | 0128809َ28 dated 1401/07/24
2 | Vendor (Manufaturer) | In compliance with AVL |  |  | Yes |  | No |  | No
3 | Supply of 2 Years Spares Parts | 20% Spare Part |  |  | NA |  | NA |  | NA
4 | Subvendor List | In compliance with AVL |  |  | Not Submitted |  | Not Submitted |  | Not Submitted
5 | Quantity for Items | As Requested |  |  | Yes |  | Yes |  | Yes
6 | Guarantee Terms | The guarantee period shall be eighteen (18) months from the date of delivery or twelve (12) months from the installation date of each equipment/packages at site. Vendor shall be able to provide spares back up and support for the plant life of at least 20 years. |  |  | 12 Months after delivery |  | 12 Months after delivery |  | 12 Months after delivery
7 | Technical Exception/Deviation List | As Requested |  |  | Not Submitted |  | Not Submitted |  | Not Submitted
8 | Equipment Catalouge | As Requested |  |  | Submitted |  | Submitted |  | Submitted
9 | Reference List | Requested |  |  | Not Submitted |  | Not Submitted |  | Not Submitted
TECHNICAL SPECIFICATION
10 | Technical Specification | As Requested |  |  | Yes |  | Yes |  | NO
11 | Quantity | As Requested |  |  | Yes (Items regarding WHCP vednor to be removed from vendor proposal.) |  | Yes (Items regarding WHCP vednor to be removed from vendor proposal.) |  | Yes (Items regarding WHCP vednor to be removed from vendor proposal.)
13 | Material | As Requested |  |  | Yes |  | Yes, Nace is not specified |  | Yes, Nace is not specified
14 | Size | As Requested |  |  | Yes |  | Yes |  | Yes
PROPOSAL DOCUMENTATION
15 | Quality plan / ITP | According to the project Requirement |  |  | Not Submitted |  | Not Submitted |  | Not Submitted
16 | Standard certificates | According to the project Requirement |  |  | Not Submitted |  | Not Submitted |  | Not Submitted
VENDOR DOCUMENTATION
17 | VENDOR DOCUMENTATION Requested AS PER MR | As Requested |  |  | Not Specified |  | Not Specified |  | Not Specified
GENERAL TECHNICAL ACCEPTANCE OF QUOTATION |  |  |  |  | ACCEPTED |  | CONDITIONALLY ACCEPTED; DUE TO AVL |  | CONDITIONALLY ACCEPTED; DUE TO AVL