|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **طرح نگهداشت و افزایش تولید 27 مخزن** | | | | | | |
| **MTO FOR POWER & CONTROL CABLES**  **نگهداشت و افزایش تولید میدان نفتی بینک** | | | | | | |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
| D01 | Dec. 2023 | IFI | H.Shakiba | M.Fakharian | S.Faramarzpour |  |
| D00 | May. 2023 | IFI | H.Shakiba | M.Fakharian | A.M.Mohseni |  |
| **Rev.** | **Date** | **Purpose of Issue/Status** | **Prepared by:** | **Checked by:** | **Approved by:** | **Client Approval** |
| **Class:3** | | **Client Doc. Number: F8Z-709075** | | | | |
| **Status:** | **IDC: Inter-Discipline Check**  **IFC: Issued For Comment**  **IFA: Issued For Approval**  **AFD: Approved For Design**  **AFC: Approved For Construction**  **AFP: Approved For Purchase**  **AFQ: Approved For Quotation**  **IFI: Issued For Information**  **AB-R: As-Built for CLIENT Review**  **AB-A: As-Built –Approved** | | | | | |

**REVISION RECORD SHEET**

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |  | **PAGE** | **D00** | **D01** | **D02** | **D03** | **D04** |
| **1** | X | X |  |  |  | **51** |  |  |  |  |  |
| **2** | X | X |  |  |  | **52** |  |  |  |  |  |
| **3** | X | X |  |  |  | **53** |  |  |  |  |  |
| **4** | X | X |  |  |  | **54** |  |  |  |  |  |
| **5** | X | X |  |  |  | **55** |  |  |  |  |  |
| **6** | X | X |  |  |  | **56** |  |  |  |  |  |
| **7** | X | X |  |  |  | **57** |  |  |  |  |  |
| **8** | X | X |  |  |  | **58** |  |  |  |  |  |
| **9** |  | X |  |  |  | **59** |  |  |  |  |  |
| **10** |  | X |  |  |  | **60** |  |  |  |  |  |
| **11** |  | X |  |  |  | **61** |  |  |  |  |  |
| **12** |  |  |  |  |  | **62** |  |  |  |  |  |
| **13** |  |  |  |  |  | **63** |  |  |  |  |  |
| **14** |  |  |  |  |  | **64** |  |  |  |  |  |
| **15** |  |  |  |  |  | **65** |  |  |  |  |  |
| **16** |  |  |  |  |  | **66** |  |  |  |  |  |
| **17** |  |  |  |  |  | **67** |  |  |  |  |  |
| **18** |  |  |  |  |  | **68** |  |  |  |  |  |
| **19** |  |  |  |  |  | **69** |  |  |  |  |  |
| **20** |  |  |  |  |  | **70** |  |  |  |  |  |
| **21** |  |  |  |  |  | **71** |  |  |  |  |  |
| **22** |  |  |  |  |  | **72** |  |  |  |  |  |
| **23** |  |  |  |  |  | **73** |  |  |  |  |  |
| **24** |  |  |  |  |  | **74** |  |  |  |  |  |
| **25** |  |  |  |  |  | **75** |  |  |  |  |  |
| **26** |  |  |  |  |  | **76** |  |  |  |  |  |
| **27** |  |  |  |  |  | **77** |  |  |  |  |  |
| **28** |  |  |  |  |  | **78** |  |  |  |  |  |
| **29** |  |  |  |  |  | **79** |  |  |  |  |  |
| **30** |  |  |  |  |  | **80** |  |  |  |  |  |
| **31** |  |  |  |  |  | **81** |  |  |  |  |  |
| **32** |  |  |  |  |  | **82** |  |  |  |  |  |
| **33** |  |  |  |  |  | **83** |  |  |  |  |  |
| **34** |  |  |  |  |  | **84** |  |  |  |  |  |
| **35** |  |  |  |  |  | **85** |  |  |  |  |  |
| **36** |  |  |  |  |  | **86** |  |  |  |  |  |
| **37** |  |  |  |  |  | **87** |  |  |  |  |  |
| **38** |  |  |  |  |  | **88** |  |  |  |  |  |
| **39** |  |  |  |  |  | **89** |  |  |  |  |  |
| **40** |  |  |  |  |  | **90** |  |  |  |  |  |
| **41** |  |  |  |  |  | **91** |  |  |  |  |  |
| **42** |  |  |  |  |  | **92** |  |  |  |  |  |
| **43** |  |  |  |  |  | **93** |  |  |  |  |  |
| **44** |  |  |  |  |  | **94** |  |  |  |  |  |
| **45** |  |  |  |  |  | **95** |  |  |  |  |  |
| **46** |  |  |  |  |  | **96** |  |  |  |  |  |
| **47** |  |  |  |  |  | **97** |  |  |  |  |  |
| **48** |  |  |  |  |  | **98** |  |  |  |  |  |
| **49** |  |  |  |  |  | **99** |  |  |  |  |  |
| **50** |  |  |  |  |  | **100** |  |  |  |  |  |

**Electrical Cable Type**

A: Cu/XLPE/Bd/Lsh/Bd/SWA/PVC - N2XKYRY (LV Multi-Core with Lead Sheath)

B: Cu/XLPE/Bd/SWA/PVC - N2XRY (LV Multi-Core)

C: Cu/XLPE/Bd/AWA/PVC - N2XRY (LV Single-Core)

D: Cu/PVC/Bd/Lsh/Bd/SWA/PVC - NYKYRY (Control Multi-Core with Lead Sheath)

E: Cu/PVC/Bd/SWA/PVC - NYRY (Control Multi-Core)

F: Cu/SC/XLPE/SC/SCT/Lsh/Bd/SWA/PVC - N2XSEYKYRY (MV Multi-Core with Lead Sheath)

G: Cu/SC/XLPE/SC/SCT/Lsh/Bd/AWA/PVC - N2XSYKYRY (MV Single-Core with Lead Sheath)

H: Cu/SC/XLPE /SC/SCT/CWS/Bd/AWA/PVC - N2XSYRY (MV Single-Core)

I: Cu/SC/XLPE/SC/SCT/ICWS/Bd/SWA/PVC - N2XSEYRY (MV Multi-Core)

J: CU/SM/XLPE/SM/SC/PVC/SWA/PVC - N2XSEYRY (HV Multi-Core)

K: CU/SM/XLPE/SM/SC/PVC/AWA/PVC - N2XSYRY (HV Single-Core)

R: Cu/PVC/OSCR/Bd/LSH/Bd/SWA/PVC (RTD Cable)

S: CU/XLPE/PVC - N2XY (LV Single-Core Flexible)

Z: Fire Resistant or MICC Lighting Cable

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **11 KV POWER CABLE** | | | | | |
| Insulation Grade - Service Voltage: 6/10 (12) KV  D01 | | | | | |
| Conductor: Plain Annealed Stranded Copper (Class 2) | | | | | |
| Insulation: XLPE Insulation (Color Coding as per IEC) | | | | | |
| Semiconducting Material: Yes | | | | | |
| Screening : Semi-Conductor | | | | | |
| Binder Tape: Yes | | | | | |
| Fillers : PVC | | | | | |
| Bedding: Extruded PVC | | | | | |
| Armor: Multi-Core Cables : Galvanized Steel Wire Armor (SWA)  Single-Core Cables : Aluminum Wire Armor (AWA) | | | | | |
| Other Sheath: PVC | | | | | |
| Color of Core:   1. 1Core Cables= Black 2. 3Cores Cables= Red, Yellow, Blue | | | | | |
| **Item** | **Description** | **Type** | **Quantity (m)** | **Spare**  **(m)** | **Total**  **(m)** |
|  | Cu/SC/XLPE/SC/SCT/ICWS/Bd/SWA/PVC | | | | |
|  | 3C×95 mm2 | I | 405 | 45 | 450 |
|  | Cu/SC/XLPE/SC/SCT/Lsh/Bd/SWA/PVC | | | | |
|  | 3C×95 mm2 | F | 900 | 50 | 950 |
| **Total Cable** | | | | | **1400** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **3.3 KV POWER CABLE** | | | | | |
| Insulation Grade - Service Voltage: 1.8/3 (3.6) KV  D01 | | | | | |
| Conductor: Plain Annealed Stranded Copper (Class 2) | | | | | |
| Insulation: XLPE Insulation (Color coding as per IEC) | | | | | |
| Semiconducting Material: Yes | | | | | |
| Screening : Semi-Conductor | | | | | |
| Binder Tape: Yes | | | | | |
| Fillers : PVC | | | | | |
| Bedding: Extruded PVC | | | | | |
| Armor: Multi-Core Cables : Galvanized Steel Wire Armor (SWA)  Single-Core Cables : Aluminum Wire Armor (AWA) | | | | | |
| Other Sheath: PVC | | | | | |
| Color of Core:   1. 1Core Cables= Black 2. 3Cores Cables= Red, Yellow, Blue | | | | | |
| **Item** | **Description** | **Type** | **Quantity (m)** | **Spare**  **(m)** | **Total**  **(m)** |
|  | C/SC/XLPE/SC/SCT/ICWS/Bd/SWA/PVC | | | | |
|  | 3C×95 mm2 | I | 320 | 30 | 350 |
|  | Cu/SC/XLPE /SC/SCT/CWS/Bd/AWA/PVC | | | | |
|  | 1C×95 mm2 | H | 5 | - | 5 |
| **Total Cable** | | | | | **355** |

| **LV POWER CABLE (3PAHSE SYSTEM)** | | | | | | |
| --- | --- | --- | --- | --- | --- | --- |
| Insulation Grade - Service Voltage: 600/1000 V  D01 | | | | | | |
| Conductor: Plain Annealed Stranded Copper (Class 2) | | | | | | |
| Insulation: XLPE | | | | | | |
| Binder Tape: If Required | | | | | | |
| Fillers : PVC | | | | | | |
| Bedding: Extruded PVC | | | | | | |
| Armor: Multi-Core Cables : Galvanized Steel Wire Armor (SWA)  Single Core Cables : Aluminum Wire Armor (AWA) | | | | | | |
| Other Sheath: PVC | | | | | | |
| Color of Core:   1. 3Cores Cables = Red, Yellow, Blue (3 Phases) 2. 3Cores + Neutral = Red, Yellow, Blue, Black 3. 3Cores + Earth = Red, Yellow, Blue, G/Y 4. 3Cores + Neutral + Earth = Red, Yellow, Blue, Black & G/Y | | | | | | |
| **Item** | **Description** | **Type** | **Color Code** | **Quantity (m)** | **Spare**  **(m)** | **Total**  **(m)** |
|  | Cu/XLPE/Bd/Lsh/Bd/SWA/PVC - N2XKYRY (LV Multi-Core with Lead Sheath) | | | | | |
|  | 3C×4 mm2 | A | (1) | 1980 | 220 | 2200 |
|  | 3C×6 mm2 | A | (1) | 1500 | 150 | 1650 |
|  | 3C×10 mm2 | A | (1) | 6560 | 640 | 7200 |
|  | 3C×16 mm2 | A | (1) | 3780 | 420 | 4200 |
|  | 3C×25 mm2 | A | (1) | 820 | 80 | 900 |
|  | 4C×10 mm2 | A | (2) | 675 | 75 | 750 |
|  | 4C×25 mm2 | A | (2) | 250 | 50 | 300 |
|  | 4C×50 mm2 | A | (2) | 250 | 50 | 300 |
|  | 3C×25+16 mm2 | A | (2) | 260 | 40 | 300 |
|  | 3C×50+25 mm2 | A | (2) | 745 | 85 | 830 |
|  | 3C×70+35 mm2 | A | (2) | 840 | 110 | 950 |
|  | 3C×95+50 mm2 | A | (2) | 250 | 50 | 300 |
|  | 3C×120+70 mm2 | A | (2) | 1080 | 170 | 1250 |
|  | Cu/XLPE/Bd/SWA/PVC - N2XRY (LV Multi-Core) | | | | | |
|  | 3C×4 mm2 | B | (1) | 305 | 45 | 350 |
|  | 3C×35 mm2 | B | (1) | 430 | 40 | 470 |
|  | 3C×185 mm2 | B | (1) | 120 | 30 | 150 |
|  | 4C×4 mm2 | B | (2) | 260 | 40 | 300 |
|  | 4C×10 mm2 | B | (2) | 480 | 50 | 530 |
|  | 4C×16 mm2 | B | (2) | 165 | 25 | 190 |
|  | 4C×25 mm2 | B | (2) | 295 | 35 | 330 |
|  | 3C×25 + 16 mm2 | B | (2) | 55 | 51 | 70 |
|  | 3C×35 + 16 mm2 | B | (2) | 375 | 45 | 420 |
|  | 3C×50 + 25 mm2 | B | (2) | 500 | 50 | 550 |
|  | 3C×70 + 35 mm2 | B | (2) | 560 | 60 | 620 |
|  | Cu/XLPE/Bd/AWA/PVC - N2XRY (LV Single-Core) | | | | | |
|  | 1C×300 mm2 | C | Black | 770 | 80 | 850 |
|  | Fire Resistant or MICC Lighting Cable | | | | | |
|  | 3C×120+70 mm2 | Z | - | 400 | 30 | 430 |
| **Total Cable** | | | | | | **26390** |

| **LV POWER CABLE (1PAHSE SYSTEM)** | | | | | | |
| --- | --- | --- | --- | --- | --- | --- |
| Insulation Grade - Service Voltage: 600/1000 V | | | | | | |
| Conductor: Plain Annealed Stranded Copper (Class 2)  D01 | | | | | | |
| Insulation: XLPE | | | | | | |
| Binder Tape: If Required | | | | | | |
| Fillers : PVC | | | | | | |
| Bedding: Extruded PVC | | | | | | |
| Armor: Multi-Core Cables : Galvanized Steel Wire Armor (SWA)  Single Core Cables : Aluminum Wire Armor (AWA) | | | | | | |
| Other Sheath: PVC | | | | | | |
| Color of Core:   1. 1Core Cables = Black 2. 1Core + Neutral = Blue & Black 3. 1Core + Neutral + Earth = Blue, Black & G/Y 4. 2Cores Cables (for DC Cable)= Red & Black | | | | | | |
| **Item** | **Description** | **Type** | **Color Code** | **Quantity (m)** | **Spare**  **(m)** | **Total**  **(m)** |
|  | **Cu/XLPE/Bd/Lsh/Bd/SWA/PVC - N2XKYRY (LV Multi-Core with Lead Sheath)** | | | | | |
|  | 2C×4 mm2 | A | (2) | 1740 | 260 | 2000 |
|  | 2C×16 mm2 | A | (2) | 840 | 110 | 950 |
|  | 3C×4 mm2 | A | (2) | 10 | 10 | 20 |
|  | **Cu/XLPE/Bd/SWA/PVC - N2XRY (LV Multi-Core)** | | | | | |
|  | 3C×2.5 mm2 | B | (3) | 162 | 38 | 200 |
|  | 3C×4 mm2 | B | (3) | 909 | 91 | 1000 |
|  | 3C×6 mm2 | B | (3) | 105 | 25 | 130 |
|  | 3C×10 mm2 | B | (3) | 205 | 45 | 250 |
|  | 3C×50 mm2 | B | (3) | 1200 | 150 | 1350 |
|  | 2C×6 mm2 | B | (4) | 145 | 25 | 75 |
|  | 2C×50 mm2 | B | (4) | 140 | 30 | 170 |
|  | 2C×95 mm2 | B | (4) | 120 | 30 | 150 |
|  | 2C×120 mm2 | B | (4) | 160 | 40 | 200 |
|  | 2C×150 mm2 | B | (4) | 60 | 20 | 80 |
|  | 2C×185 mm2 | B | (4) | 70 | 30 | 100 |
| **Total Cable** | | | | | | **6675** |

**Note: Only cables of items 2.6 to 2.11 of this table shall be class 5.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **LV CONTROL CABLE** | | | | | |
| Insulation Grade - Service Voltage: 600/1000 V | | | | | |
| Conductor: Plain Annealed Stranded Copper (Class 2) | | | | | |
| Insulation: PVC | | | | | |
| Binder Tape: If Required  D01 | | | | | |
| Fillers : PVC | | | | | |
| Bedding: Extruded PVC | | | | | |
| Armor: Galvanized Steel Wire Armor (SWA) | | | | | |
| Other Sheath: PVC | | | | | |
| Color of Core: Black with White Identification Numbers | | | | | |
| **Item** | **Description** | **Type** | **Quantity (m)** | **Spare**  **(m)** | **Total**  **(m)** |
|  | **Cu/PVC/Bd/Lsh/Bd/SWA/PVC - NYKYRY (Control Multi-Core with Lead Sheath)** | | | | |
|  | 3C×4 mm2 | D | 6780 | 720 | 7500 |
|  | 3C×6 mm2 | D | 900 | 100 | 1000 |
|  | 7C×2.5 mm2 | D | 1940 | 260 | 2200 |
|  | 10C×2.5 mm2 | D | 6820 | 680 | 7500 |
|  | **Cu/PVC/Bd/SWA/PVC - NYRY (Control Multi-Core)** | | | | |
|  | 3C×4 mm2 | E | 110 | 20 | 130 |
|  | 7C×2.5 mm2 | E | 195 | 25 | 220 |
|  | 12C×2.5 mm2 | E | 775 | 125 | 900 |
|  | 16C×2.5 mm2 | E | 625 | 75 | 700 |
| **Total Cable** | | | | | **20150** |

| **LV LIGHTING SYSTEM** | | | | | | |
| --- | --- | --- | --- | --- | --- | --- |
| Insulation Grade - Service Voltage: 600/1000 V | | | | | | |
| Conductor: Plain Annealed Stranded Copper (Class 2)  D01 | | | | | | |
| Insulation: XLPE | | | | | | |
| Binder Tape: If Required | | | | | | |
| Fillers : PVC | | | | | | |
| Bedding: Extruded PVC | | | | | | |
| Armor: Multi-Core Cables : Galvanized Steel Wire Armor (SWA)  Single Core Cables : Aluminum Wire Armor (AWA) | | | | | | |
| Other Sheath: PVC | | | | | | |
| Color of Core:   1. 1Core Cables = Black 2. 1Core + Neutral = Blue & Black 3. 1Core + Neutral + Earth = Blue, Black & G/Y 4. 3Cores Cables = Red, Yellow, Blue (3 Phases) 5. 3Cores + Neutral = Red, Yellow, Blue, Black 6. 3Cores + Earth = Red, Yellow, Blue, G/Y 7. 3Cores + Neutral + Earth = Red, Yellow, Blue, Black & G/Y | | | | | | |
| **Item** | **Description** | **Type** | **Color Code** | **Quantity (m)** | **Spare**  **(m)** | **Total**  **(m)** |
|  | **Cu/XLPE/Bd/Lsh/Bd/SWA/PVC - N2XKYRY (LV Multi-Core with Lead Sheath)** | | | | | |
|  | 3C×6 mm2 | A | (3) | 2430 | 570 | 3000 |
|  | 5C×10 mm2 | A | (7) | 530 | 120 | 650 |
|  | **Cu/XLPE/Bd/SWA/PVC - N2XRY (LV Multi-Core)** | | | | | |
|  | 3C×2.5 mm2 | B | (3) | 1115 | 385 | 1500 |
|  | 3C×6 mm2 | B | (3) | 505 | 95 | 600 |
|  | 5C×10 mm2 | B | (7) | 210 | 40 | 250 |
| **Total Cable** | | | | | | **6000** |

|  |  |  |
| --- | --- | --- |
| Required Power Cable for GCS | | |
| **Item** | **Cable Type** | **Quantity (m)** |
| 1 | 11 KV Power Cable | 1400 |
| 2 | 3.3 KV Power Cable | 355 |
| 3 | LV Power Cable (3pahse System) | 26390 |
| 4 | LV Power Cable (1pahse System) | 6675 |
| 5 | LV Control Cable | 20150 |
| 6 | LV Lighting System | 6000 |
| **Total** | | **60970** |

Notes:

1. This document shall be Based on below references:

Document Title: “Specification for Power & Control Cables”

Document No.: “BK-GNRAL-PEDCO-000-EL-SP-0014”

Document Title: “Data Sheets for Power & Control Cables”

Document No.: “BK-GCS-PEDCO-120-EL-DT-0010”

Document Title: “Electrical Power & Control Cable Schedule”

Document No.: “BK-GCS-PEDCO-120-EL-LI-0002”