## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-GT-RT-0001 |  |  |  |  | EPC Contractor Tr. No.:BK-HD-PEDCO-T-1539 |  |  | Transmital Date:10/24/2022
Document Title: GEOTECHNICAL INVESTIGATION REPORT FOR COMPRESSOR STATION |  |  |  |  | PEDCO Tr. No.:BK-PEDCO-NISOC-0005-GT-T-1539 |  |  | Transmital Date:10/24/2022
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-GT-RT-0001_D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 |  |  | 1401-2294-315918 | 1401/08/26 | گزارش بررسی منابع قرضه در پیوست 8 و پارامترهای اساس و زیر اساس در بخش 2-8 توصیه فنی
2 |  |  | 1401-2294-315918 | 1401/08/26 | آزمایش CBR در پیوست 4-11
3 |  |  | 1401-2294-315918 | 1401/08/26 | به گزارش اضافه گردید
4 |  |  | 1401-2294-315918 | 1401/08/26 | ردیف 6-3 گزارش هیدرولوژی
5 |  |  | 1401-2294-315918 | 1401/08/26 | گزارش فوق حذف گردید
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: | Signature
| Date: |  |  |  |  | Date: