## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No:BK-GCS-PEDCO-120-AR-DW-0009 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2297 |  |  | Transmital Date:8/12/2023
Document Title:Architectural Drawing For CCTV Control Room- Binak DU |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-AR-T-2297 |  |  | Transmital Date:8/12/2023
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-AR-DW-0009_D02 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | مختصات محل مندرج در قسمت نوت نهایی گردد. |  | 1402-2294-228108 | 1402/06/08 | در جنرال نوت نقشه ها اضافه گردید.
2 | کامنت های مندرج در بندهای شماره 30،9،5 نامه کارفرما در خصوص ویرایش قبلی این مدرک بطور کامل لحاظ نشده لذا اعمال گردد.در خصوص بند 5 هماهنگی با بخشهای مربوطه صورت پذیرد. در خصوص بند 9 در جدول نازک کاری لایه پلاستر سیمان در قسمت دیوار مربوط به فضای 100 در زیر پوشش MDF اضافه گردد.در خصوص بند 30 عرض درب ورودی با توجه به بزرگتر شدن عرض راهرو بازنگری و اصلاح گردد. |  | 1402-2294-228108 | 1402/06/08 | کامنت5: طبق هماهنگی با بخش مربوطه، ارتباط کابلهای مابین فضای اتاق رک و مانیتورینگ از طریق سقف کاذب انجام میگیرد و اسلیوهای مربوطه در دیوارمشترک اضافه گردید. کامنت 9: لایه پلاستر سیمان در قسمت دیوار فضای 100 در جدول نازک کاری اضافه گردید. کامنت 30: عرض درب ورودی اصلاح گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: