## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-HV-PY-0013 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2545 |  |  | Transmital Date: 1/31/2024
Document Title: Plumbing & Sewage Piping Layout For CCTV Control Room – BINAK DU |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-HV-TR-2545 |  |  | Transmital Date: 1/31/2024
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-HV-PY-0013_D00 |  |  | CRS Status:
| Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | نقشه و علائم نقشه کشی سیستم فاضلاب باید مطابق فرمت استاندارد IPS و یا NISOC-D-00120 باشد. |  | 1402-2294-535557 | 1402/12/26 | نقشه و علائم نقشه کشی سیستم فاضلاب مطابق فرمت مدارک پروژه (Standard Drawing For HVAC & Plumbing و Symbol & Legend For HVAC & Plumbing) که منطبق بر استاندارد های معمول و مرسوم بوده و مورد تایید قرار گرفته شده است، می باشد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: