## Cover
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض احداث رديف تراكم گاز در ايستگاه جمع آوري بينك
MTO FOR HVAC & PLUMBING FOR EXTENSION OF EXISTING ELECT. BUILDING
شماره پیمان: |  |  | پروژه |  | بسته کاری | صادرکننده | تسهیلات |  | رشته | نوع مدرک | سریال | نسخه |  | شماره صفحه: 1 از 4
9184 – 073 - 053 |  |  | BK |  | GCS | PEDCO | 120 |  | HV | MT | 0002 | D00
طرح نگهداشت و افزایش تولید 27 مخزن
MTO FOR HVAC & PLUMBING FOR EXTENSION OF EXISTING ELECT. BUILDING نگهداشت و افزایش تولید میدان نفتی بینک
D00 |  | APR.2024 |  | IFI |  |  |  | K.Ahmadi |  |  | M.Fakharian |  | S.Faramarzpour
Rev. |  | Date |  | Purpose of Issue / Status |  |  |  | Prepared by: |  |  | Checked by: |  | Approved by: |  | CLIENT Approval
Class: 3 |  |  |  | CLIENT Doc. Number: F8Z-708882
status: | IDC: Inter-Discipline Check
IFC: Issued For Comment
IFA: Issued For Approval
AFD: Approved For Design
AFC: Approved For Construction
AFP: Approved For Purchase
AFQ: Approved For Quotation
IFI: Issued For Information
AB-R: As-Built for CLIENT Review
AB-A: As-Built –Approved

## REVISION
NISOC |  |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض احداث رديف تراكم گاز در ايستگاه جمع آوري بينك
MTO FOR HVAC & PLUMBING FOR EXTENSION OF EXISTING ELECT. BUILDING
شماره پیمان: |  |  | پروژه | بسته کاری |  | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه |  | شماره صفحه: 2 از4
9184 – 073 - 053 |  |  | BK | GCS |  | PEDCO | 120 | HV | MT | 0002 |  | D00
REVISION RECORD SHEET
Page | D00 | D01 | D02 |  | D03 |  | D04 |  | Page |  | D00 |  | D01 |  | D02 | D03 | D04
1 | X | [7 empty] | 65
2 | X | [7 empty] | 66
3 | X | [7 empty] | 67
4 | X | [7 empty] | 68
5 | [8 empty] | 69
6 | [8 empty] | 70
7 | [8 empty] | 71
8 | [8 empty] | 72
9 | [8 empty] | 73
10 | [8 empty] | 74
11 | [8 empty] | 75
12 | [8 empty] | 76
13 | [8 empty] | 77
14 | [8 empty] | 78
15 | [8 empty] | 79
16 | [8 empty] | 80
17 | [8 empty] | 81
18 | [8 empty] | 82
19 | [8 empty] | 83
20 | [8 empty] | 84
21 | [8 empty] | 85
22 | [8 empty] | 86
23 | [8 empty] | 87
24 | [8 empty] | 88
25 | [8 empty] | 89
26 | [8 empty] | 90
27 | [8 empty] | 91
28 | [8 empty] | 92
29 | [8 empty] | 93
30 | [8 empty] | 94
31 | [8 empty] | 95
32 | [8 empty] | 96
33 | [8 empty] | 97
34 | [8 empty] | 98
35 | [8 empty] | 99
36 | [8 empty] | 100
37 | [8 empty] | 101
38 | [8 empty] | 102
39 | [8 empty] | 103
40 | [8 empty] | 104
41 | [8 empty] | 105
42 | [8 empty] | 106
43 | [8 empty] | 107
44 | [8 empty] | 108
45 | [8 empty] | 109
46 | [8 empty] | 110
47 | [8 empty] | 111
48 | [8 empty] | 112
49 | [8 empty] | 113
50 | [8 empty] | 114
51 | [8 empty] | 115
52 | [8 empty] | 116
53 | [8 empty] | 117
54 | [8 empty] | 118
55 | [8 empty] | 119
56 | [8 empty] | 120
57 | [8 empty] | 121
58 | [8 empty] | 122
59 | [8 empty] | 123
60 | [8 empty] | 124
61 | [8 empty] | 125
62 | [8 empty] | 126
63 | [8 empty] | 127
64 | [8 empty] | 128

## 1
NISOC |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض احداث رديف تراكم گاز در ايستگاه جمع آوري بينك
MTO FOR HVAC & PLUMBING FOR EXTENSION OF EXISTING ELECT. BUILDING
شماره پیمان: |  | پروژه | بسته کاری | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه | شماره صفحه:3 از4
9184 – 073 - 053 |  | BK | GCS | PEDCO | 120 | HV | MT | 0002 |  | D00
NON PAINTABLE GALVANIZED SHEET
Item | Description | [5 empty] | Unit |  | Size |  | Qty. | Remark
1 | Noun paintable Galvanized sheet with 0.5 mm thickness. | [5 empty] | M2 |  | - |  | 15 | -
2 | Noun paintable Galvanized sheet with 0.6 mm thickness. | [5 empty] | M2 |  | - |  | 12 | -
SUPPLY AIR DIFFUSER
Item | Description | [5 empty] | Unit |  | Size |  | Qty. | Remark
1 | Square four-way ceiling diffuser from extruded aluminum profile with 1.25mm thickness and anodized finish. | [5 empty] | Piece |  | 150*150 MM |  | 1 | -
2 | Square four-way ceiling diffuser from extruded aluminum profile with 1.25mm thickness and anodized finish. | [5 empty] | Piece |  | 300*300 MM |  | 1 | -
EXHAUST AIR GRILL
Item | Description | [5 empty] | Unit |  | Size |  | Qty. | Remark
1 | Square egg crate grill from extruded aluminum profile with 1.25mm thickness and anodized finish. | [5 empty] | Piece |  | 150*150 MM |  | 1 | -
2 | Square egg crate grill from extruded aluminum profile with 1.25mm thickness and anodized finish. | [5 empty] | Piece |  | 400*400 MM |  | 1 | -
OPPOSED BLADE MANUAL VOLUME DAMPER
Item | Description | [5 empty] | Unit |  | Size |  | Qty. | Remark
1 | Duct mounted opposed blade volume damper with 1.5mm thikness galvanized steel sheet for frames and blades. | [5 empty] | Piece |  | 150*100 MM |  | 1 | -
2 | Duct mounted opposed blade volume damper with 1.5mm thikness galvanized steel sheet for frames and blades. | [5 empty] | Piece |  | 150*150 MM |  | 1 | -
3 | Duct mounted opposed blade volume damper with 1.5mm thikness galvanized steel sheet for frames and blades. | [5 empty] | Piece |  | 300*200 MM |  | 1 | -
4 | Duct mounted opposed blade volume damper with 1.5mm thikness galvanized steel sheet for frames and blades. | [5 empty] | Piece |  | 400*150 MM |  | 1 | -
BLAST PROTECTION DAMPER
Item | Description | [5 empty] | Unit |  | Size |  | Qty. | Remark
1 | Blast protection damper with 2mm thikness galvanized steel sheet for frames and blades. | [5 empty] | Piece |  | 300*250 MM |  | 1 | -
2 | Blast protection damper with 2mm thikness galvanized steel sheet for frames and blades. | [5 empty] | Piece |  | 400*150 MM |  | 1 | -
FIRE DAMPER
Item | Description | [5 empty] | Unit |  | Size |  | Qty. | Remark
1 | Fusible link fire damper with 2mm thikness galvanized steel sheet for frames and blades. | [5 empty] | Piece |  | 300*250 MM |  | 1 | -
2 | Fusible link fire damper with 2mm thikness galvanized steel sheet for frames and blades. | [5 empty] | Piece |  | 400*150 MM |  | 2 | -

## 2
NISOC |  | نگهداشت و افزایش تولید میدان نفتی بینک سطح الارض احداث رديف تراكم گاز در ايستگاه جمع آوري بينك
MTO FOR HVAC & PLUMBING FOR EXTENSION OF EXISTING ELECT. BUILDING
شماره پیمان: |  | پروژه | بسته کاری | صادرکننده | تسهیلات | رشته | نوع مدرک | سریال |  | نسخه | شماره صفحه:4 از4
9184 – 073 - 053 |  | BK | GCS | PEDCO | 120 | HV | MT | 0002 |  | D00
POLYPROPYLENE (PP) PIPE ACCORDING TO ASTM F2389 OR ISIRI 6314-1,2 AND FITTINGS FOR CONDENSATE PIPES
Item | Description | [5 empty] | Unit |  | Size |  | Qty. | Remark
1 | Polypropylene (pp) pipe. | [5 empty] | M (length) |  | 25 MM |  | 40 | -
2 | Polypropylene (pp) pipe. | [5 empty] | M (length) |  | 20 MM |  | 16 | -
3 | Polypropylene (pp) elbow 90°. | [5 empty] | Piece |  | 25 MM |  | 7
4 | Polypropylene (pp) equal Tee 90°. | [5 empty] | Piece |  | 25 MM |  | 3
5 | Polypropylene (pp) unequal Tee 90°. | [5 empty] | Piece |  | 25*20*25 MM |  | 2
6 | Polypropylene (pp) concentric reducer | [5 empty] | Piece |  | 25*20 MM |  | 3
7 | Polypropylene (pp) elbow 90°. | [5 empty] | Piece |  | 20 MM |  | 2
8 | Polypropylene (pp) equal Tee 90°. | [5 empty] | Piece |  | 20 MM |  | 1