## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-TE-MT-0003 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-1864 |  |  | Transmital Date:2/14/2023
Document Title: MTO For PABX System |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0103-TE-TR-1864 |  |  | Transmital Date:2/14/2023
[5 empty] | CRS No: PEDCO-CRS-BK-GCS-PEDCO-120-TE-MT-0003_D02 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | بازگشت به مدارك مطالعات مهندسي پايه – پيوست 18 پيمان في مابين - در خصوص بلاك دياگرام سيستم هاي Telephone & Paging & Radio كه به شماره مدرك 1560-BK-NCS-TL-DIA-0001-04 ارائه شده است، تعداد اقلام مخابراتي در زيرسيستم هاي مورد اشاره در ترانسميتال TR-1004 با حداقل هاي بيان شده در مدرك مهندسي پايه متناسب نيست. علي ايحال باتوجه به تاييد مدرك BK-GCS-PEDCO-120-TE-BD-0004_D03 (Block Diagram For PABX) توسط ذينفع اصلي پروژه، تعداد اقلام مخابراتي در مدرك MTO For PABX System متفاوت از تعداد اقلام تاييد شده در مدرك Block Diagram ميباشد. از اين رو ضروريست تا پيمانكار دلايل فني و كارشناسي خودر را در خصوص كاهش تعداد اقلام مخابراتي مورد نياز ذينفع اصلي پروژه بيان نمايد. |  | BK-SUR-ENG-TEL-01-06935 | 2023-02-14 | تعداد تجهیزات در Block Diagram بیسیک پروژه، به صورت تیپیکال می باشد. لذا بعد از تولید مدرک Layout و تعیین دقیق تعداد تجهیزات، این مدرک تولید شده است، همچنین در صورت وجود تغییرات آتی در مدرک layout، این مدرک به روزرسانی خواهد شد. در حال حاضر مدرک Layout و Block Diagram و MTO همخوانی با هم دارند.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: