## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-IN-TB-0006 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2665 |  |  | Transmital Date: 4/21/2024
Document Title: TBE For Pressure Safety Valves (PSV) |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-IN-TR-2665 |  |  | Transmital Date: 4/21/2024
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-IN-TB-0006_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | در جدول TBE لازم است Fire Case گنجانده شود. |  | 1403-2294-87005 | 1403/03/06 | انجام شد.
2 | لازم است اقلام Spare Part علاوه بر دو سالانه برای راه اندازی نیز در نظر گرفته شود. |  | 1403-2294-87005 | 1403/03/06 | لیست Spare Part بر اساس پیشنهادات سازندگان ارائه شده است.
3 | لازم است تمامی شرکت ها لیست انحرافات را ارائه نمایند. |  | 1403-2294-87005 | 1403/03/06 | ارائه شد.
4 | لازم است شرکت ها مدارک حضور در لیست بلند وزارت نفت و محصولات مورد تایید در این لیست را ارائه نمایند. به نظر می رسد شرکت FAFCO در لیست بلند، تنها تا سایز 4 اینچ مجاز به تولید PSV می باشد. |  | 1403-2294-87005 | 1403/03/06 | لطفا به مستندات ارائه شده مراجعه شود.
5 | در مورد جنس بدنه و Seat & Disk و ... سایر موارد پس از عقد قرارداد و در جلسه PIM & KOM نهایی سازی خواهد گرفت. |  | 1403-2294-87005 | 1403/03/06 | مورد تایید می باشد.
6 | در مورد اندازه Orifice، پس از عقد قرارداد و در غالب مدارک ارائه شده نهایی سازی صورت خواهد گرفت. |  | 1403-2294-87005 | 1403/03/06 | مورد تایید می باشد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: