## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-SA-PY-0002 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2494 |  |  | Transmital Date: 11/19/2023
Document Title: Hazardous Area Classification Layout |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-SA-TR-2494 |  |  | Transmital Date: 11/19/2023
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-SA-PY-0002_D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | در قسمت Notes بند 5، شکل شماره 96 استاندارد ذکر گردد. |  | 1402-2294-404675 | 1402/10/05 | انجام شد.
2 | پیشنهاد می شود شماره اشکال استاندارد در کنار هر تجهیز در نقشه اضافه شود |  | 1402-2294-404675 | 1402/10/05 | تمامی اشکال مورد استفاده از استاندارد در کنار نقشه موجود میباشد
3 | نقطه نظرات این امور در خصوص مدرک Hazardous Source List در این مدرک اعمال گردد. |  | 1402-2294-404675 | 1402/10/05 | تمامی موارد استفاده شده در نقشه برگرفته از مدرک Hazardous Source List می باشد
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: