## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-EL-MR-0002 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2524 |  |  | Transmital Date: 12/27/2023
Document Title: PMR For LV Switchgear, MCC & LV Capacitor Bank |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-EL-TR-2524 |  |  | Transmital Date: 12/27/2023
[5 empty] | CRS No: PEDCO-CRS-BK-GCS-PEDCO-120-EL-MR-0002_D01 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | No Comment. Note: -"Spare Part List and Interchangeability Record" form shall be added to this document as attachement. -Following documents shall be added as reference documents in section 11.1, LIST OF REFERENCE / APPLICABLE DOCUMENTS: -Electrical I/O Signal List -Electrical design criteria -Specification For Painting -Document Numbering Procedure |  | BK-SUR-ENG-ELE-01-05692 | 2022-09-13 | مدارک مورد نیاز آن کارفرمای محترم اضافه گردید. |  |  | Noted and Closed.
2 | No Comment. Note: -Attachments shall be added to this document based on list of reference\applicable documents. |  | BK-SUR-ENG-ELE-02-08935 | 2024-01-10 | پیوستها بر اساس آخرین تغییرات طراحی مورد ویرایش قرار گرفت و به مدرک اضافه گردید و ارسال شد.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: