## Sheet1
N.I.S.O.C |  | Binak Project
COMMENT REPLY SHEET
Document No: BK-GCS-PEDCO-120-IN-TB-0013 |  |  |  |  | EPC Contractor Tr. No.: BK-HD-PEDCO-T-2713 |  |  | Transmital Date: 6/18/2024
Document Title: TBE For Temperature Gauge |  |  |  |  | PEDCO Tr. No.: BK-PEDCO-NISOC-0005-IN-TR-2713 |  |  | Transmital Date: 6/18/2024
[5 empty] | CRS No: NISOC-CRS-BK-GCS-PEDCO-120-IN-TB-0013_D00 |  |  | CRS Status:
Item | Comments (NISOC/PEDCO) |  | Email/letter No. | Comment Date | Clarification (By EPC Contractor) |  |  | Client Conclusion
1 | لازم است تمامی سازندگان Deviation List، Reference List و کاتالوگ های مرتبط را ارسال نمایند. همچنین ITP و Spare Part List مطابق با مدارک پروژه تهیه و ارائه گردد. |  | 1403-2294-215026 | 1403/06/07 | پاسخ سازندگان در TCL بروز شده هر شرکت بیان شده است.
2 | در مواردی که در Deviation List سازندگان به آن اشاره ای نشده است تمامی موارد دیتاشیت و Spec پروژه مورد تایید تلقی می گردد. |  | 1403-2294-215026 | 1403/06/07 | پاسخ سازندگان در TCL بروز شده هر شرکت بیان شده است.
3 | شرکت Asia Instrument: استفاده از Dial 160 mm بلامانع است. |  | 1403-2294-215026 | 1403/06/07 | -
4 | Instrument Range مطابق دیتاشیت پروژه اصلاح گردد. (بعنوان مثال تگ های 2124A/B/C). |  | 1403-2294-215026 | 1403/06/07 | پاسخ سازندگان در TCL و نیز مدارک بروز شده هر شرکت بیان شده است.
5 | شرکت PARS JAHD:'مورد ذکر شده در Deviation List مورد تایید است. |  | 1403-2294-215026 | 1403/06/07 | -
6 | شرکت SANGAN SANAT:'مورد گفته شده در Deviation List غیرقابل قبول است |  | 1403-2294-215026 | 1403/06/07 | پاسخ سازنده در این مورد در TCL بروز شده شرکت SANGAN SANAT بیان شده است.
7 | دمای کاری و طراحی در دیتاشیت ذکر گردد. SANGAN SANAT: |  | 1403-2294-215026 | 1403/06/07 | مدرک شرکت SANGAN SANAT اصلاح گردید.
Legend | Comment Sheet Status: (By Client) C1: Reviewed with no comment (No Response required) C2: Reviewed with minor comment ( work may proceed and comments to be addressed and incorpated prior to issue) C3: Reviewed with major comment (Revise and resubmit. Work may not be proceeded until the document is returned with code C1 &C2) C4: Rejected ( Deviated from the project requirement. Resubmit for Review) C5: Issued for information (No Response required)
Signature | CLIENT (NISOC/PEDCO) |  |  |  |  | EPC Contractor
| Commented By: | Signature |  |  |  | Clarified By: M.Fakharian | Signature
| Date: |  |  |  |  | Date: